## Client Information
Company and Contact Information: | Details:
Company Name:
Street:
City, State, Zip Code:
Contact Name:
Office Number:
Mobile Number:
E-mail Address
Project Location (If different than contact information)
On-site and Remote Training Requirements: | Details:
Are there any training requirements in order to perform work at this site? If so, please describe. Additional feedback for duration such as hours/days…etc. would be appreciated.
TimeLine: | Details:
Project on-site start date:
Required completion date:
Will we be allowed to qualify multiple units simutlaneously?

## Documentation
Protocol Information
Options | Description | Selection (Mark which one you would like)
1 | Ellab will be generating protocols from a generic template for this project. Minor changes to the format will be accepted. The Client must approve the protocols in writing prior to work being performed on-site. ►Major alterations will be charged at an hourly rate. Client: Please forward protocol for review
2 | Ellab will be utilizing the Manufacturer’s protocols for this project. The protocols must be submitted to Ellab for review prior to work being performed on-site.
3 | Ellab will be utilizing the Client’s protocols for this project. The protocols must be submitted to Ellab for review prior to work being performed on-site.
4 | Ellab will be generating a commissioning document from a generic template for this project. Minor changes to the format will be accepted. The Client must approve the commissioning document in writing prior to work being performed on-site. ►Major alterations will be charged at an hourly rate.
Summary Report Information
Options | Description | Selection (Mark which one you would like)
1 | Final Summary Reports will be completed by Ellab, from a generic template. Minor changes to the format will be accepted. ►Major alterations will be charged at an hourly rate. ►Final Summary Report Packages typically include: ● Executed protocols or SOPs ● Hard and/or soft copies of mapping data ● Ellab to provide applicable ValSuite reports o ValSuite reports generated may include the following: Statistics reports, limit reports, MKT reports, validation reports, calibration verifications, channel overview, lethality report ● Summary results ● Calibration certificates for all mapping equipment used ● Sensor calibration reports ● Validation personnel training records
2 | Final Summary Reports and Protocol Pages to be completed by the Client. ● Ellab to provide digital copy of data and ValSuite backup ● Ellab to provide applicable ValSuite reports in order to assist the Client in generating their own reports. ● ValSuite reports generated may include the following: Statistics reports, limit reports, MKT reports, validation reports, calibration verifications, channel overview, lethality report
3 | Final Summary Reports to be completed by the Client. ● Major alterations will be charged at an hourly rate. ● Ellab to provide copy of executed protocol ● Ellab to provide digital copy of data and ValSuite backup ● Ellab to provide applicable ValSuite reports in order to assist the Client in generating their own reports. o ValSuite reports generated may include the following: Statistics reports, limit reports, MKT reports, validation reports, calibration verifications, channel overview, lethality report ● Calibration certificates for all mapping equipment used ● Sensor calibration reports ● Validation personnel training records
4 | Commissioning Reports will be completed by Ellab, from a generic template. Minor changes to the format will be accepted. ● Major alterations will be charged at an hourly rate. ● Commissioning Report Packages typically include: ● Executed commissioning document ● Ellab to provide digital copy of data and ValSuite backup ● Ellab to provide applicable ValSuite reports o ValSuite reports generated may include the following: Statistics reports, limit reports, MKT reports, validation reports, calibration verifications, channel overview, lethality report

## Pre & Post Verifications
Pre-Calibration / Verification of Mapping Sensors | Acceptable (yes/no), or describe your requirements
Calibration certificates for all calibrated temperature mapping equipment will be provided and utilized as the pre-verification unless otherwise specified. | Ellab Recommended
Other: Please describe your requirements
Prost-Calibration / Verification of Mapping Sensors | Acceptable (yes/no), or describe your requirements
Post verifications of all calibrated mapping equipment are at a single point, point of use, unless otherwise specified. | Ellab Recommended
Other: Please describe your requirements

## Execution SOW
Check off the boxes that you require. Add additional rows if equipment is not represented.
| Quantity | Calibration: | IQ | Controller OQ |  | OQ Mapping |  |  | Quantity of Sensors |  |  | PQ Mapping |  |  | Requalification | Notes:
Reach-in Controlled Temperature Unit and Controlled Environmental Unit Set Points | How many of each unit | (1 point, point of use) Yes/No | IQ | Controller OQ | Controller Power Interruption | 24-hour Empty | Open Door Test | Power Loss Mapping | Temp 12 | RH 3 (If Applicable) | CO2 1 (If Applicable) | 24-hour "Loaded" | Open Door Test | Power Loss Mapping | 24-hour "As-Is" | Things such as listing multiple set points..etc.
LN2 / Cryo: | [9 empty] | N/A | N/A
(-150C) | [9 empty] | N/A | N/A
(-80C) | [9 empty] | N/A | N/A
(-40C) | [9 empty] | N/A | N/A
(-30C) | [9 empty] | N/A | N/A
(-20C) | [9 empty] | N/A | N/A
5C (2-8C) | [10 empty] | N/A
Incubator (Temp Only) | [9 empty] | N/A | N/A
Incubator/Shaker (Temp Only) | [9 empty] | N/A | N/A
Temp/RH Chamber (E.g., Stability Chambers) | [10 empty] | N/A
Temp/RH/Shaker Chamber (E.g., Stability Chambers) | [10 empty] | N/A
Temp/CO2 Chamber (E.g., Cell Growth Chambers) | [9 empty] | N/A
Temp/RH/CO2 Chamber (E.g., Cell Growth Chambers)
Temp/RH/CO2/ Shaker Chamber (E.g., Cell Growth Chambers)
Photostability: Temperature/RH/Light (Please note number of shelves) | [10 empty] | N/A
| Quantity | Calibration: | IQ | Controller OQ |  | OQ Mapping |  |  | Quantity of Sensors |  |  | PQ Mapping |  |  | Requalification | Notes:
Walk-in Set Points | How many of each unit | (1 point, point of use) Yes/No | IQ | Controller OQ | Controller Power Interruption | 24-hour Empty | Open Door Test | Power Loss Mapping | Temp 12 | RH 3 (If Applicable) | CO2 1 (If Applicable) | 24-hour "Loaded" | Open Door Test | Power Loss Mapping | 24-hour "As-Is" | Things such as listing multiple set points..etc.
(-80C) (Provide L x W x H) | [9 empty] | N/A | N/A
(-40C) (Provide L x W x H) | [9 empty] | N/A | N/A
(-30C) (Provide L x W x H) | [9 empty] | N/A | N/A
(-20C) (Provide L x W x H) | [9 empty] | N/A | N/A
5C (2-8C) (Provide L x W x H) | [10 empty] | N/A
Incubator (Temp Only) (Provide L x W x H) | [10 empty] | N/A
Temp/RH Chamber (E.g., Stability Chambers) (Provide L x W x H) | [10 empty] | N/A
| Quantity | Calibration: | IQ | Controller OQ |  | OQ Mapping |  |  | Quantity of Sensors |  |  | PQ Mapping |  |  | Requalification | Notes:
Ovens | How many of each unit | (1 point, point of use) Yes/No | IQ | Controller OQ | Controller Power Interruption | Duration of Mapping |  |  | Ambient Temp | Shelf Temp | Vacuum Sensors 1 | Duration of Mapping |  |  | Duration of Mapping | Things such as listing multiple set points..etc.
Set Point(s): Temp / Vacuum / Pressure
Note on J2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note below if suggested quantities are OK, or if alternative quantity is desired.
Note on F3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Typically power is removed for 5 minutes
Note on G3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If longer duration is required please note
Note on M3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If longer duration is required please note
Note on J19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note below if suggested quantities are OK, or if alternative quantity is desired.
Note on F20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Typically power is removed for 5 minutes
Note on G20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If longer duration is required please note
Note on M20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If longer duration is required please note
Note on J29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note below if suggested quantities are OK, or if alternative quantity is desired.
Note on F30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Typically power is removed for 5 minutes
Note on G30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: What is the total cycle duration from start to finish.
Note on J30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please note if applicable and the number of sensors required.
Note on K30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please note if applicable and the number of sensors required.
Note on L30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please note if applicable.
Note on M30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: What is the total cycle duration from start to finish.
Note on P30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: What is the total cycle duration from start to finish. Also note whether empty, 'loaded', or both.

## Details for Protocol
[9 empty] | Required |  |  | Required | Required | Required |  | Required
Unit | Location Building Name / Number: | Location Room Name / Number: | Category (Freezer, Incubator, etc.) | Make: | Model: | Serial # | Asset # (Equipment ID) | Number of Shelves: | Setpoint (Temp/RH /CO2) If applicable | Tolerance for Each Setpoint(s) (+/-) | Continuously Monitored?: | Full IOPQ | Requal / Continuous qual | Calibration Required? | Calibration Tolerances (If Applicable) | Due Date | Notes:
Sample | Building 12 | Room 2 | Freezer
1
2
3
4
5
6
7
8
9
10
Add more rows if necessary
Note on J2: Operational Setpoint is necessary in for quoting. If we can also get the quantity or sensors they need for reach parameter that is an added bonus
Note on M2: Full IOPQ: Protocol Generation Installation Qualification Operational Qualification -Alarm testing -Power interruption test (5 min) -24 hour 'empty' mapping w/ as applicable: 12 temp sensors, 3 RH sensors, 1 CO2 sensor -Open door test Performance Qualification -24 hour 'loaded' mapping Final report completion
Note on N2: Requalification / Continuous Qual Protocol Generation Performance Qualification -24 hour 'As-is'/'Loaded' mapping w/ as applicable: 12 temp sensors, 3 RH sensors, 1 CO2 sensor Final report completion
Note on O2: Controller only, or controller & monitoring system
Note on Q2: Month or specific day that equipment is due
Note on R2: Anything special we need to know