## Version Control
Exchange Rates
Version | Release Date | DKK/€ | DKK/£ | DKK/$ | DKK/CHF | DKK/Japan US
18 | 2026-01-01 | 7.43 | 8.6 | 6 | 7.7 | 5.5
17 | 2025-01-01 | 7.43 | 8.6 | 6 | 7.7 | 5.5
16 | 2024-07-01 | 7.43 | 8.6 | 6 | 7.7 | 5.5

## EMS
Ellab Monitoring Solutions
Parts List: EMS and Accessories
Items and Services provided by Ellab DK | [5 empty] | EU | DKK/£ | USD | CHF | Japan USD
Effective from 1st January 2026 | [5 empty] | 7.43 | 8.6 | 6 | 7.7 | 5.5
Category | Stock Code | Ellab Order Code | Description | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Character Count
EMS Software: On-Premise
Standard Unvalidatable Software: Includes 2 sites, 2 sensor groups, and 10 users.
Software | W900A | 33619005 | Standard EMS software (W900A). Ellab provided SQL Express | 1761 | 35% | 237 | 205 | 294 | 229 | 320 | New part number, Price | 57
Software | W900B | 33619002 | Standard EMS software (W900B). Customer provided SQL | 1761 | 35% | 237 | 205 | 294 | 229 | 320 | New Price | 52
Validatable Software: Requires W901 to turn on Part 11 functionalities Includes 2 sites, 2 sensor groups and 10 users
Software | W906A | 33619063 | Validatable EMS software (W906A). Ellab provided SQL Express. Requires W901 to unlock Part 11 | 8866 | 35% | 1193 | 1031 | 1478 | 1151 | 1612 | New part number, Price | 93
Software | W906B | 33619062 | Validatable EMS software (W906B). Customer provided SQL. Requires W901 to unlock Part 11 | 8866 | 35% | 1193 | 1031 | 1478 | 1151 | 1612 | New Price | 88
EMS Software Installation: On-Premise
Required software installation: Except for New Hosted Customers.
Software Install - Remote | SSC127 | 33777127 | EMS Remote Software install (A/B Version) | 4748 | 22% | 639 | 552 | 791 | 617 | 863 | New Price | 41
Software Install - Remote | SSC128 | 33777130 | EMS Remote Validated Software install (A/B Version) | 5705 | 22% | 768 | 663 | 951 | 741 | 1037 | New part number, Price | 51
EMS Software Accessories: On-Premise & Cloud
W901 Includes: W904 Unlimited Sites and Zones, digital copies of IQ/OQ documentation
Software | W901 | 33619011 | EMS 21 CFR Part 11 compliance unlock code (W901). Works with W906. Includes digital IQ/OQ docs | 19165 | 35% | 2579 | 2228 | 3194 | 2489 | 3485 | New part number, Price | 94
Additional Users
Software | W902 | 33619026 | EMS Additional 5 users. Works with W900 (A/B) & W906 (A/B) | 5813 | 35% | 782 | 676 | 969 | 755 | 1057 | New part number, Price | 58
Software | W903 | 33619019 | EMS Additional 10 users. Works with W900 (A/B) & W906 (A/B) | 6964 | 35% | 937 | 810 | 1161 | 904 | 1266 | New part number, Price | 59
For those without W901, if they want to have unlimited sites and zones
Software | W904 | 33619040 | EMS unlimited sites and sensor groups unlock code | 3835 | 35% | 516 | 446 | 639 | 498 | 697 | New Price | 50
OPC UA Options: On-Premise only
Software | W955 | 33619551 | EMS OPC UA capability with perpetual license | 35171 | 35% | 4734 | 4090 | 5862 | 4568 | 6395 | New part number, Price | 44
Software | W955-R5 | 33619556 | EMS OPC UA upgrade to perpetual license | 11684 | 35% | 1573 | 1359 | 1947 | 1517 | 2124 | New part number, Price | 39
Mobile APP: On-Premise & Cloud
Initial Mobile APP
Mobile APP | W950-300V | 33619531 | 1-yr EMS Mobile App access: Initial year for up to 300 Sensors. | 4642 | 35% | 625 | 540 | 774 | 603 | 844 | New part number, Price | 63
Mobile APP | W950-600V | 33619561 | 1-yr EMS Mobile App access: Initial year for up to 600 Sensors. | 7638 | 35% | 1028 | 888 | 1273 | 992 | 1389 | New part number, Price | 64
Mobile APP | W950-900V | 33619592 | 1-yr EMS Mobile App access: Initial year for up to 900 Sensors. | 10516 | 35% | 1415 | 1223 | 1753 | 1366 | 1912 | New part number, Price | 63
Mobile APP | W950-1100V | 33619511 | 1-yr EMS Mobile APP access: Initial year for up to 1100 Sensors. | 13610 | 35% | 1832 | 1583 | 2268 | 1768 | 2475 |  | 64
Renewal of Mobile APP
Mobile APP | W950-300V-R | 33619531R | 1-yr EMS Mobile App access: Annual renewal for up to 300 Sensors. | 4642 | 35% | 625 | 540 | 774 | 603 | 844 | New part number, Price | 65
Mobile APP | W950-600V-R | 33619561R | 1-yr EMS Mobile App access: Annual renewal for up to 600 Sensors. | 7638 | 35% | 1028 | 888 | 1273 | 992 | 1389 | New part number, Price | 66
Mobile APP | W950-900V-R | 33619592R | 1-yr EMS Mobile App access: Annual renewal for up to 900 Sensors. | 10516 | 35% | 1415 | 1223 | 1753 | 1366 | 1912 | New part number, Price | 65
Mobile APP | W950-1100V-R | 33619511R | 1-yr EMS Mobile APP access: Annual renewal for up 1100 Sensors. | 13610 | 35% | 1832 | 1583 | 2268 | 1768 | 2475 | New Price | 63
Software Support
Software Service | SSC107 | 33777107 | EMS Remote monitoring support by the hour, or part thereof | 1310 | 35% | 176 | 152 | 218 | 170 | 238 | New Price | 59
Software Service | SSC121 | 33777121 | EMS Remote Modbus/OPC integration assistance day rate | 14528 | 0% | 1955 | 1689 | 2421 | 1887 | 2641 | New Price | 53
Software Upgrades
RadioLog: Not available. Will need to purchase EMS and start fresh
Notion Pro / Synergy / EMS to Latest EMS: Notion Pro / Synergy Notes: ►System settings and users will be imported. Database from Notion Pro and Synergy will be an available archive within EMS. Notion Pro / Synergy / Upgrade from EMS Standard to EMS Validatable ►Most previous Licenses will transfer (Users / Mobile APP) ►W901 Required for Notion Pro / Synergy / Standard to Validatable Upgrades
Remote Upgrade: Notion Pro/Synergy/existing EMS W900 to latest standard EMS W900 (A/B)
Remote Software Upgrade | SSC180 | 33619180 | Remote Upgrade: Notion Pro/Synergy/existing W900 to latest standard EMS W900 (A/B) | 5242 | 22% | 706 | 610 | 874 | 681 | 953 | New Price | 82
Remote Upgrade: Notion Pro/Synergy/standard EMS/existing W906 to latest validatable EMS W906 (A/B)
►Notion Pro/Synergy/Standard EMS will need to purchase W901. ►Existing W906 customers, if W901 was already purchased it can be applied to new version
Remote Software Upgrade | SSC180V | 33619180V | Remote Upgrade: Notion Pro/Synergy/standard EMS/existing W906 to latest validatable EMS W906 (A/B) | 10483 | 22% | 1411 | 1219 | 1747 | 1361 | 1906 | New Price | 99
Download Link to update EMS to EMS:
Software Upgrade | W900-U | 33619005U | Upgrade download link: For clients to upgrade existing W900/W906 to the latest version of W900/W906 | 1209 | 22% | 163 | 141 | 202 | 157 | 220 | New part number, Price | 99
Software Migration with Upgrades
Radiolog: Not available. Will need to purchase EMS and start fresh
Notion Pro / Synergy / EMS to Latest EMS: Notion Pro / Synergy Notes: ►System settings and users will be imported. ►Database from Notion Pro and Synergy will be an available archive within EMS. Notion Pro / Synergy / Upgrade from EMS Standard to EMS Validatable ►Most previous Licenses will transfer (Users / Mobile APP) ►W901 Required for Notion Pro / Synergy / Standard to Validatable Upgrades
Remote Migration & Upgrade: Notion Pro/Synergy/existing W900 to latest standard EMS W900 (A/B)
Remote Software Migration & Upgrade | SSC132 | 33777132 | Remote Migration & Upgrade: Notion Pro/Synergy/existing W900 to latest standard EMS W900 (A/B) | 7862 | 22% | 1058 | 914 | 1310 | 1021 | 1429 | New Price | 94
Remote Migration & Upgrade: Notion Pro/Synergy/existing W906 to latest validatable EMS W906 (A/B)
►Notion Pro/Synergy/Standard EMS will need to purchase W901. ►Existing W906 customers, if W901 was already purchased it can be applied to new version
Remote Software Migration & Upgrade | SSC132V | 33777132V | Remote Migration & Upgrade: Notion Pro/Synergy/existing W906 to latest validatable EMS W906 (A/B) | 13104 | 22% | 1764 | 1524 | 2184 | 1702 | 2383 | New Price | 97
Hosted Servers
Does not include W901. Customer needs to purchase this if they want Part 11 features.
Initial Hosted Server
Hosted Server | W952 | 33619521 | 1-yr EMS Cloud: EMS & hosted server for up to 50 sensors. Initial Year | 19994 | 22% | 2691 | 2325 | 3332 | 2597 | 3635 | New part number, Description, Price | 70
Hosted Server | W937 | 33619370 | 1-yr EMS Cloud: EMS & hosted server for up to 200 sensors. Initial Year | 36876 | 22% | 4963 | 4288 | 6146 | 4789 | 6705 | New Description, Price | 71
Hosted Server | W941 | 33619410 | 1-yr EMS Cloud: EMS & hosted server for up to 400 sensors. Initial Year | 45632 | 22% | 6142 | 5306 | 7605 | 5926 | 8297 | New Description, Price | 71
Hosted Server | W945 | 33619451 | 1-yr EMS Cloud: EMS & hosted server for up to 600 sensors. Initial Year | 47427 | 22% | 6383 | 5515 | 7905 | 6159 | 8623 | New part number, Description, Price | 71
Hosted Server | W949 | 33619491 | 1-yr EMS Cloud: EMS & hosted server for up to 1000 sensors. Initial Year | 54812 | 22% | 7377 | 6373 | 9135 | 7118 | 9966 | New part number, Description, Price | 72
Hosted Server Renewal
Hosted Server | W952-R | 33619521R | 1-yr EMS Cloud: EMS & hosted server for up to 50 sensors. Renewal | 19994 | 22% | 2691 | 2325 | 3332 | 2597 | 3635 | New part number, Description, Price | 65
Hosted Server | W937-R | 33619370R | 1-yr EMS Cloud: EMS & hosted server for up to 200 sensors. Renweal | 36876 | 22% | 4963 | 4288 | 6146 | 4789 | 6705 | New Description, Price | 66
Hosted Server | W941-R | 33619410R | 1-yr EMS Cloud: EMS & hosted server for up to 400 sensors. Renewal | 45632 | 22% | 6142 | 5306 | 7605 | 5926 | 8297 | New Description, Price | 66
Hosted Server | W945-R | 33619451R | 1-yr EMS Cloud: EMS & hosted server for up to 600 sensors. Renewal | 47427 | 22% | 6383 | 5515 | 7905 | 6159 | 8623 | New part number, Description, Price | 66
Hosted Server | W949-R | 33619491R | 1-yr EMS Cloud: EMS & hosted server for up to 1000 sensors. Renewal | 54812 | 22% | 7377 | 6373 | 9135 | 7118 | 9966 | New part number, Description, Price | 67
Hosted Server: Options
Hosted Server | W961 | 33619610 | 1-yr EMS Hosted server backups: Backed up to a customer specified 3rd party site. | 9337 | 22% | 1257 | 1086 | 1556 | 1213 | 1698 | New Price | 82
Hosted Server: Rental
Cloud EMS service for up to 200 sensors. Monthly Rate Includes: ►Setting up server, installation of EMS and completion of software IQ. ►Part 11 Unlock Code ►Electronic copies of software OQ ►Electronic copies of hardware IQ/OQ (as applicable) ►Use of Hanwell's Mobile APP (Google Play Store / Apple APP Store) ►Up to 40 unique Usernames/passwords can be configured ►Closedown of server at completion of rental. ►At closedown of rental server, a backup of SQL and Archive from EMS will be provided to the Client
Hosted Server | W937M | 33619370M | 1-mo Rental: EMS & hosted server for systems up to 200 sensors Monthly Rental | 3072 | 22% | 413 | 357 | 512 | 399 | 559 | New Description, Price | 77
Note on D8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619001
Note on D11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619061
Note on D17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33777128
Note on D21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619010
Note on D23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619020
Note on D24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619030
Note on D28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619550
Note on D29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619555
Note on D33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619530
Note on D34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619560
Note on D35: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619590
Note on D38: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was 33619530R
Note on D39: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was 33619560R
Note on D40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was 33619590R
Note on D57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was 33619001U
Note on D71: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619520
Note on D74: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619450
Note on D75: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33619490
Note on D77: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was 33619520R
Note on D80: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was 33619450R
Note on D81: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was 33619490R

## IceSpy HW Purchase
Ellab Monitoring Solutions | [12 empty] | old Description
Parts List: IceSpy Hardware Purchase
Items continued to be produced by Ellab DK | [5 empty] | EU | DKK/£ | USD | CHF | Japan USD
Effective from 1st January 2026 | [5 empty] | 7.43 | 8.6 | 6 | 7.7 | 5.5
Category | Stock Code | Ellab Order Code | Description | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Character Count
IceSpy SSM
IceSpy SSM | IN-RTK01F0-KIT | 33408531K | IN-RTK01F0-KIT: IceSpy range testing kit. SSM Transmitter, SSM meter, & Case, F1* | 4796 | 35% | 645 | 558 | 799 | 623 | 872 | New Price | 81 | leave as current as IN # is included
IceSpy SSM | IN-RTK01F2 | 33408532 | IN-RTK01F2: IceSpy FCC range testing Kit. SSM Transmitter, SSM meter, F2* | 4233 | 0% | 570 | 492 | 706 | 550 | 770 | New Price | 73 | leave as current as IN # is included
IceSpy Calibration Kit
IceSpy Calibration Kit is no longer available. For those that already have the kit, the Calibration Transmitter is available.
Calibration Transmitter
IceSpy Transmitter | IN-PT001F1-CAL | 33429135 | IN-PT001F1-CAL: IceSpy Calibration transmitter. Single PT100. (Sensor sold separately) | 4668 | 22% | 628 | 543 | 778 | 606 | 849 | New Price | 86
IceSpy Probe | IN-PT143-CAL | 33467903 | IN-PT143-CAL: IceSpy PT100 probe for calibration transmitter. 100mm x 4mm tip. 3 meters of cable | 1117 | 35% | 150 | 130 | 186 | 145 | 203 | New Price | 96
Calibration - IceSpy | CC650 | 33772650 | IceSpy ISO17025 Calibration. Single PT100 IceSPy Reference Probe. 13 point Cal from -90 to 140°C | 2945 | 22% | 396 | 342 | 491 | 382 | 535 | New Price | 96
IceSpy Receiver
IceSpy Receiver | IN-NR001F1 | 33406731 | IN-NR001F1: IceSpy Network Receiver F1 | 6042 | 35% | 813 | 703 | 1007 | 785 | 1099 | New Price | 39
IceSpy Receiver | IN-NR001F2 | 33426732 | IN-NR001F2: IceSpy FCC Network Receiver F2 915MHz | 6683 | 35% | 899 | 777 | 1114 | 868 | 1215 | New Price | 49
IceSpy Repeater
IceSpy Repeater | IN-RP002F1 | 33407731 | IN-RP002F1: IceSpy Echo repeater. F1 | 3187 | 35% | 429 | 371 | 531 | 414 | 579 | New Price | 36
IceSpy / HWPro ARB
IceSpy ARB | IN-NA002 | 33406202 | IN-NA002: IceSpy network alarm module | 6042 | 35% | 813 | 703 | 1007 | 785 | 1099 | New Price | 37
IceSpy / HWPro SMS
IceSpy / HWPro SMS | IN-TA002 | 33608200 | IN-TA002: Network Text Alert (SMS module) (Australia only) | 8112 | 35% | 1092 | 943 | 1352 | 1054 | 1475 | New Price | 58
IceSpy / HWPro SMS | IN-TA003 | 33608203 | IN-TA003: Network Text Alert (SMS module) 4G Version - EU Version | 8112 | 35% | 1092 | 943 | 1352 | 1054 | 1475 | New Price | 65
IceSpy / HWPro SMS | IN-TA004 | 33608204 | IN-TA004: Network Text Alert (SMS module) 4G North America Version | 8112 | 35% | 1092 | 943 | 1352 | 1054 | 1475 | New Price | 66
IceSpy Transmitters
Thermistor Transmitters
Internal Thermistor
IceSpy Transmitter | IN-TH001F1 | 33424131 | IN-TH001F1: IceSpy transmitter with included internal temperature sensor | 1394 | 35% | 188 | 162 | 232 | 181 | 253 | New Price | 73
IceSpy Transmitter | IN-TH001F2 | 33424132 | IN-TH001F2: IceSpy transmitter with included internal temperature sensor | 1434 | 35% | 193 | 167 | 239 | 186 | 261 | New Price | 73
Internal Thermistor + Door
IceSpy Transmitter | IN-THD01F1 | 33423131 | IN-THD01F1: IceSpy transmitter w/ int temp sensor (incl) + door alarm sensor. Sensor sold separately | 1687 | 35% | 227 | 196 | 281 | 219 | 307 | New Price | 100 | IN-THD01F1: IceSpy transmitter w/ int temp sensor (incl) + door alarm sensor. Sensor sold separately
Internal Thermistor + External Thermistor
IceSpy Transmitter | IN-TH003F1 | 33424331 | IN-TH003F1: IceSpy transmitter. Internal temp sensor (incl), external thermistor sold separately | 1687 | 35% | 227 | 196 | 281 | 219 | 307 | New Price | 96
External Thermistor
IceSpy Transmitter | IN-TH002F1 | 33424231 | IN-TH002F1: IceSpy transmitter for single external thermistor sensor. (Sensor sold separately) | 1687 | 35% | 227 | 196 | 281 | 219 | 307 | New Price | 94
Dual External Thermistor
IceSpy Transmitter | IN-TH004F1 | 33424431 | IN-TH004F1: IceSpy transmitter for two external thermistor sensors. (Sensors sold separately) | 1881 | 35% | 253 | 219 | 314 | 244 | 342 | New Price | 93
Single Ext Thermistor & Door
IceSpy Transmitter | IN-THD02F1 | 33423231 | IN-THD02F1: IceSpy transmitter for single ext thermistor + door sensor (Sensors sold separately) | 1881 | 35% | 253 | 219 | 314 | 244 | 342 | New Price | 96
PT100 Transmitters
External PT100
IceSpy Transmitter | IN-PT001F1 | 33429131 | IN-PT001F1: IceSpy transmitter for single PT100 sensor. (Sensor sold separately) | 2181 | 35% | 294 | 254 | 364 | 283 | 397 | New Price | 80
Dual External PT100
IceSpy Transmitter | IN-PT002F1 | 33429231 | IN-PT002F1: IceSpy transmitter for two external PT100 sensors. (Sensors sold separately) | 2422 | 35% | 326 | 282 | 404 | 315 | 440 | New Price | 88
External PT100 + Door
IceSpy Transmitter | IN-PTD01F1 | 33428131 | IN-PTD01F1: IceSpy transmitter for single PT100 + door alarm sensor (Sensors sold separately) | 2422 | 35% | 326 | 282 | 404 | 315 | 440 | New Price | 94
Thermocouple Transmitters
External Thermocouple
IceSpy Transmitter | IN-TT001F1 | 33428731 | IN-TT001F1: IceSpy transmitter for single Type-T thermocouple sensor. (Sensor sold separately) | 1804 | 35% | 243 | 210 | 301 | 234 | 328 | New Price | 94
IceSpy Transmitter | IN-TT001F2 | 33428732 | IN-TT001F2: IceSpy transmitter for single Type-T thermocouple sensor. (Sensor sold separately) | 1816 | 35% | 244 | 211 | 303 | 236 | 330 | New Price | 94
Dual External Thermocouple
IceSpy Transmitter | IN-TT002F1 | 33428831 | IN-TT002F1: IceSpy transmitter for dual Type-T thermocouple sensors. (Sensors sold separately) | 2052 | 35% | 276 | 239 | 342 | 266 | 373 | New Price | 94
IceSpy Transmitter | IN-TT002F2 | 33428832 | IN-TT002F2: IceSpy transmitter for dual Type-T thermocouple sensors. (Sensors sold separatley) | 2052 | 35% | 276 | 239 | 342 | 266 | 373 | New Price | 94
External Thermocouple + Door
IceSpy Transmitter | IN-TTD01F1 | 33428331 | IN-TTD01F1: IceSpy transmitter for single Type-T thermocouple + door sensor. Sensors sold separately | 2052 | 35% | 276 | 239 | 342 | 266 | 373 | New Price | 100
IceSpy Transmitter | IN-TTD01F2 | 33428332 | IN-TTD01F2: IceSpy transmitter for single Type-T thermocouple + door sensor. Sensors sold separately | 2052 | 35% | 276 | 239 | 342 | 266 | 373 | New Price | 100
Relative Humidity (RH) Transmitters
IceSpy Transmitter | IN-RH001F1 | 33427131 | IN-RH001F1: IceSpy transmitter for single RH/T sensor (Sensor and extension cable sold separately) | 1804 | 35% | 243 | 210 | 301 | 234 | 328 | New Price | 98
IceSpy Transmitter | IN-RH001F2 | 33427132 | IN-RH001F2: IceSpy transmitter for single RH/T sensor (Sensor and extension cable sold separately) | 1816 | 35% | 244 | 211 | 303 | 236 | 330 | New Price | 98
Differential Pressure
IceSpy Transmitter | IN-DP-62-F1 | 33423731 | IN-DP-62-F1: ICESPY DP TRANSMITTER +/- 62PA | 8548 | 35% | 1150 | 994 | 1425 | 1110 | 1554 | New Price | 43 | IN-DP-62-F1: ICESPY DP TRANSMITTER +/- 62PA
IceSpy Transmitter | IN-DP-62-F2 | 33423762 | IN-DP-62-F2: ICESPY DP TRANSMITTER +/- 62PA | 8548 | 35% | 1150 | 994 | 1425 | 1110 | 1554 | New Price | 43 | IN-DP-62-F2: ICESPY DP TRANSMITTER +/- 62PA
IceSpy Transmitter | IN-DP-125-F1 | 33423732 | IN-DP-125-F1: ICESPY DP TRANSMITTER +/- 125PA | 12329 | 35% | 1659 | 1434 | 2055 | 1601 | 2242 | New Price | 45 | IN-DP-125-F1: ICESPY DP TRANSMITTER +/- 125PA
IceSpy Transmitter | IN-DP-125-F2 | 33423763 | IN-DP-125-F2: ICESPY DP TRANSMITTER +/- 125PA | 12329 | 35% | 1659 | 1434 | 2055 | 1601 | 2242 | New Price | 45 | IN-DP-125-F2: ICESPY DP TRANSMITTER +/- 125PA
Analog Transmitters: Current or Voltage
Dual 4-20mA
IceSpy Transmitter | IN-MA001F1 | 33426231 | IN-MA001F1: IceSpy transmitter for two 4-20mA sensors (Sensors sold separately) | 2181 | 35% | 294 | 254 | 364 | 283 | 397 | New Price | 79
IceSpy Transmitter | IN-MA001F2 | 33426232 | IN-MA001F2: IceSpy transmitter for two 4-20mA sensors (Sensors sold separately) | 2205 | 35% | 297 | 256 | 368 | 286 | 401 | New Price | 79
Dual 0-5V
IceSpy Transmitter | IN-VT002F1 | 33428531 | IN-VT002F1: IceSpy transmitter for dual 0-5V voltage sensors (Sensors sold separately) | 2181 | 35% | 294 | 254 | 364 | 283 | 397 | New Price | 86
IceSpy Transmitter | IN-VT002F2 | 33428535 | IN-VT002F2: IceSpy transmitter for dual 0-5V voltage sensors. (Sensors sold separately) | 2205 | 35% | 297 | 256 | 368 | 286 | 401 | New Price | 87
Dual 0-10V
IceSpy Transmitter | IN-VT003F1 | 33428631 | IN-VT003F1: IceSpy transmitter for dual 0-10V voltage sensors. (Sensors sold separately) | 2181 | 35% | 294 | 254 | 364 | 283 | 397 | New Price | 88
IceSpy Transport
IceSpy Transport Receiver | IN-TB001F4 | 33408234 | IN-TB001F4: IceSpy Transport base. Frequency A | 4644 | 35% | 625 | 540 | 774 | 603 | 844 | New Price | 46
IceSpy Transport Transmitter | IN-TH006FV | 33424639 | IN-TH006FV: IceSpy Transport Transmitter. Internal temperature sensor. 4 day memory | 1152 | 35% | 155 | 134 | 192 | 150 | 209 | New Price | 83
IceSpy Transport Transmitter | IN-TH010FV | 33425039 | IN-TH010FV: IceSpy Transport Transmitter. External thermistor. 4 day memory (Sensor sold Separately) | 1704 | 35% | 229 | 198 | 284 | 221 | 310 | New Price | 100
IceSpy Accessories
IceSpy / HWPro / TVP Accessory | G204 | 33184204 | G204: IceSpy / TVP NIMH 7 AAA cell replacement battery pack | 249 | 35% | 34 | 29 | 42 | 32 | 45 | New Price | 59 | G204: IceSpy / TVP NIMH 7 AAA cell replacement battery pack
IceSpy / HWPro / TVP Accessory | IN-RC | 33484672 | Access Point / Receiver alarm relay cable. Digital Output to 3rd party Digital Input | 931 | 35% | 125 | 108 | 155 | 121 | 169 | New Price | 84
IceSpy Accessory | IN-WBE | 33480923 | IN-WBE: IceSpy Base/ Repeater wall bracket extender kit | 294 | 22% | 40 | 34 | 49 | 38 | 53 | New Price | 55
IceSpy Accessory | N494 | 33485001 | N494: IceSpy Transmitter Replacement Bracket | 56 | 35% | 8 | 7 | 9 | 7 | 10 | New Price | 44
IceSpy / HWPro Accessory | P106 | 33287106 | TVP/IceSpy Differential Pressure Wall Plate | 1489 | 22% | 200 | 173 | 248 | 193 | 271 |  | 43
IceSpy Alarm Beacons
IceSpy Accessory | IN-ABR12/24 | 33402724 | TVP / IceSpy Alarm beacon kit. Red. External power supply included. | 2205 | 22% | 297 | 256 | 368 | 286 | 401 | New Price | 67
IceSpy Accessory | IN-ABSR9/30 | 33402730 | TVP / IceSpy Alarm beacon kit w/sounder. Red. External power supply included. | 2770 | 22% | 373 | 322 | 462 | 360 | 504 | New Price | 77
IceSpy Sensors
Thermistor
IceSpy Probe | IN-TH | 33468400 | IN-TH: IceSpy Thermistor probe. Air Temperature probe. | 488 | 35% | 66 | 57 | 81 | 63 | 89 | New Price | 55
IceSpy Probe | IN-TH1000 | 33468410 | IN-TH1000: IceSpy Thermistor probe. 100mm x 4mm tip. 10.0 meters of cable. Waterproof | 946 | 35% | 127 | 110 | 158 | 123 | 172 | New Price | 85
IceSpy Probe | IN-TH150 | 33468415 | IN-TH150: IceSpy Thermistor probe. 100mm x 4mm tip. 1.5 meters of cable. | 647 | 35% | 87 | 75 | 108 | 84 | 118 | New Price | 73
IceSpy Probe | IN-TH150-P | 33468150 | IN-TH150-P: IceSpy Thermistor probe. 150mm with pointed tip. 1.5 meters of cable. | 647 | 35% | 87 | 75 | 108 | 84 | 118 | New Price | 82
IceSpy Probe | IN-TH300 | 33468420 | IN-TH300: IceSpy Thermistor probe. 100mm x 4mm tip. 3 meters of cable. | 700 | 35% | 94 | 81 | 117 | 91 | 127 | New Price | 71
IceSpy Probe | IN-TH300-3 | 33463003 | IN-TH300-3: IceSpy thermistor probe. 50mm x 3mm tip. 3 meters of cable. | 700 | 35% | 94 | 81 | 117 | 91 | 127 | New Price | 72
IceSpy Probe | IN-TH500 | 33468405 | IN-TH500: IceSpy Thermistor probe. 100mm x 4mm tip. 5 meters of cable. | 770 | 35% | 104 | 90 | 128 | 100 | 140 | New Price | 71
IceSpy Probe | IN-TH500-3 | 33468505 | IN-TH500-3: IceSpy thermistor probe. 50mm x 3mm tip. 5 meters of cable. | 770 | 35% | 104 | 90 | 128 | 100 | 140 | New Price | 73
IceSpy Probe | IN-TH150-P-WP | 33468150W | IN-TH150-P-WP: IceSpy Thermistor probe. 150mm with pointed tip. 1.5 meters of cable. Waterproof. | 823 | 35% | 111 | 96 | 137 | 107 | 150 | New Price | 96
IceSpy Probe | IN-TH150-WP | 33469701W | IN-TH150-WP: IceSpy Thermistor probe. 100mm x 4mm tip. 1.5 meters of cable. | 823 | 35% | 111 | 96 | 137 | 107 | 150 | New Price | 76
IceSpy Probe | IN-TH300-WP | 33469703W | IN-TH300-WP: IceSpy Thermistor probe. 100mm x 4mm tip. 3.0 meters of cable. Waterproof | 876 | 35% | 118 | 102 | 146 | 114 | 159 | New Price | 87
IceSpy Probe | IN-TH500-WP | 33469705W | IN-TH500-WP: IceSpy Thermistor probe. 100mm x 4mm tip. 5 meters of cable. Waterproof. | 946 | 35% | 127 | 110 | 158 | 123 | 172 | New Price | 86
PT100
IceSpy Probe | IN-PT143 | 33467803 | IN-PT143: IceSpy PT100 probe. 70mm x 4mm tip. 3 meters of cable | 1005 | 35% | 135 | 117 | 168 | 131 | 183 | New Price | 63
IceSpy Probe | IN-PT1430 | 33467830 | IN-PT1430: Icespy PT100 probe. 70mm tip. 30 meters of cable. Waterproof. | 1957 | 35% | 263 | 228 | 326 | 254 | 356 | New Price | 72
IceSpy Probe | IN-PT145 | 33467805 | IN-PT145: IceSpy PT100 probe. 100mm x 4mm tip. 5 meters of cable. Waterproof. | 1076 | 35% | 145 | 125 | 179 | 140 | 196 | New Price | 78
IceSpy Probe | IN-PT1415 | 33467815 | IN-PT1415: IceSpy 70MM PT100 Temperature Probe. 15 meters of cable. | 1605 | 35% | 216 | 187 | 268 | 208 | 292 | New Price | 68
IceSpy Probe | IN-PT143-WP | 33467803W | IN-PT143-WP: IceSpy PT100 probe. 100mm x 4mm tip. 3 meters of cable. Waterproof | 1241 | 35% | 167 | 144 | 207 | 161 | 226 | New Price | 79
Thermocouple
FEP coated (Teflon)
IceSpy / HWPro Probe | J043-3-09 | 33465903 | J043-3-09: HWPro / IceSpy TC with mini-TC connector. Ultra Premium 22awg FEP Type T TC. 3m length. | 1359 | 22% | 183 | 158 | 227 | 176 | 247 | New Price | 99
IceSpy / HWPro Probe | J043-5-09 | 33465905 | J043-5-09: HWPro / IceSpy TC with mini-TC connector. Ultra Premium 22awg FEP Type T TC. 5m length. | 1542 | 22% | 208 | 179 | 257 | 200 | 280 | New Price | 98
Mineral Insulated (semi-flex material)
IceSpy / HWPro Probe | J044-3-09 | 33465403 | J044-3-09: HWPro / IceSpy TC with mini-TC connector. Mineral insulated Type T TC. 3mm x 3m length. | 814 | 22% | 110 | 95 | 136 | 106 | 148 | New Price | 99
IceSpy / HWPro Probe | J044-5-09 | 33465405 | J044-5-09: HWPro / IceSpy TC with mini-TC connector. Mineral insulated Type T TC. 3mm x 5m length. | 1074 | 22% | 145 | 125 | 179 | 139 | 195 | New Price | 99
Relative Humidity
IceSpy Probe | IN-HUM-V2 | 33467401 | IN-HUM-V2: IceSpy Temperature & Humidity sensor V2 | 985 | 35% | 133 | 115 | 164 | 128 | 179 | New Price | 50
IceSpy Accessory | IN-EXT150 | 33483150 | IN-EXT150: 150cm extension cable for IceSpy IN-HUM-V2 RH & T sensor | 605 | 35% | 81 | 70 | 101 | 79 | 110 | New Price | 67
CO2
IceSpy Probe | IN-CO2-10 | 33462210 | IN-CO2-10: IceSpy CO2 10% Assembly with 1.5m cable. W/ Vaisala factory cal certificate | 8527 | 10% | 1148 | 992 | 1421 | 1107 | 1550 | New Price | 86
IceSpy Probe | IN-CO2-10-3 | 33462210A | IN-CO2-10-3: IceSpy CO2 10% Assembly with 3 meters of cable. W/ Vaisala factory cal certificate | 8527 | 10% | 1148 | 992 | 1421 | 1107 | 1550 | New Price | 95
Door
IceSpy Probe | IN-DC001 | 33483213 | IN-DC001: IceSpy light-weight door sensor with 3 meters cable | 652 | 35% | 88 | 76 | 109 | 85 | 119 | New Price | 61
IceSpy Probe | IN-DC002 | 33483223 | IN-DC002: IceSpy medium duty door sensor with 3 meters of cable | 882 | 35% | 119 | 103 | 147 | 115 | 160 | New Price | 63
Analog: Current or Voltage
IceSpy Probe | IN-LSC0.5 | 33485720 | IN-LSC0.5: IceSpy 0.5 meter analogue connection cable | 193 | 35% | 26 | 22 | 32 | 25 | 35 | New Price | 53
IceSpy Probe | IN-LSC3.0 | 33485723 | IN-LSC3.0: IceSpy 3 meter analogue connection cable | 277 | 35% | 37 | 32 | 46 | 36 | 50 | New Price | 51
Airflow Requires IceSpy Transmitter with 0-5V capabilities Requires IceSpy IN-LSC0.5 or IN-LSC3.0 connection cables
IceSpy Probe | IN-AF05MS | 33466705 | IN-AF05MS: Airflow sensor. 0-5m/s, w/external AC/DC power supply | 4395 | 22% | 592 | 511 | 733 | 571 | 799 | New Price | 64
IceSpy Probe | IN-AF10MS | 33466710 | IN-AF10MS: IceSpy airflow sensor. 0-10m/s, w/external AC/DC power supply | 4395 | 22% | 592 | 511 | 733 | 571 | 799 | New Price | 72
IceSpy Probe | IN-AF20MS | 33466720 | IN-AF20MS: IceSpy airflow sensor. 0-20m/s, w/external AC/DC power supply | 4395 | 22% | 592 | 511 | 733 | 571 | 799 | New Price | 72
Other Requires IceSpy Transmitter with 0-5V capabilities Requires IceSpy IN-LSC0.5 or IN-LSC3.0 connection cables
IceSpy / HWPro Probe | J091 | 33265091 | J091: Power Sensor. CT Split Core 3 Range 0-30, 0-60 & 0-120A Sensor | 1129 | 22% | 152 | 131 | 188 | 147 | 205 | New Price | 68
Frequencies*:
* F1 is 433-434MHz- Rest of the World (ROW)
* F2 is 902-928MHz for USA, Canada
Note on E86: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Includes: Mounting bracket. 4m cable to connect to AP. External power supply.
Note on E87: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Includes: Mounting bracket. 4m cable to connect to AP. External power supply.

## HWPro HW Purchase
Ellab Monitoring Solutions
Parts List: HWPro Hardware Purchase
Items continued to be produced by Ellab DK | [5 empty] | EU | DKK/£ | USD | CHF | Japan USD
Effective from 1st January 2026 | [5 empty] | 7.43 | 8.6 | 6 | 7.7 | 5.5
Category | Stock Code | Ellab Order Code | Description | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Character Count
HWPro SSM
HWPro Receiver
HWPro Repeater
IceSpy / HWPro ARB
IceSpy ARB | IN-NA002 | 33406202 | IN-NA002: IceSpy network alarm module | 6042 | 35% | 813 | 703 | 1007 | 785 | 1099 | New Price | 37
IceSpy / HWPro SMS
IceSpy / HWPro SMS | IN-TA002 | 33608200 | IN-TA002: Network Text Alert (SMS module) (Australia only) | 8112 | 35% | 1092 | 943 | 1352 | 1054 | 1475 | New Price | 58
IceSpy / HWPro SMS | IN-TA003 | 33608203 | IN-TA003: Network Text Alert (SMS module) 4G Version - EU Version | 8112 | 35% | 1092 | 943 | 1352 | 1054 | 1475 | New Price | 65
IceSpy / HWPro SMS | IN-TA004 | 33608204 | IN-TA004: Network Text Alert (SMS module) 4G North America Version | 8112 | 35% | 1092 | 943 | 1352 | 1054 | 1475 | New Price | 66
HWPro Transmitters
HWPro Accessories
IceSpy / HWPro / TVP Accessory | G204 | 33184204 | NIMH 7 AAA cell replacement battery pack. TVP Access Point, IceSpy Receiver, SMS Uni | 249 | 35% | 34 | 29 | 42 | 32 | 45 | New Price | 84
IceSpy Accessory | IN-RC | 33484672 | Access Point / Receiver alarm relay cable. Digital Output to 3rd party Digital Input | 931 | 35% | 125 | 108 | 155 | 121 | 169 | New Price | 84
IceSpy Accessory | IN-WBE | 33480923 | IN-WBE: IceSpy Base/ Repeater wall bracket extender kit | 294 | 22% | 40 | 34 | 49 | 38 | 53 | New Price | 55
IceSpy Accessory | N494 | 33485001 | N494: IceSpy Transmitter Replacement Bracket | 56 | 35% | 8 | 7 | 9 | 7 | 10 | New Price | 44
IceSpy / HWPro Accessory | P106 | 33287106 | TVP/IceSpy Differential Pressure Wall Plate | 1489 | 22% | 200 | 173 | 248 | 193 | 271 |  | 43
HWPro Sensors
Thermistor
HWPro Probe | Y300 | 33263025 | Y300: Thermistor Probe 25 MM Mounted IN 2 PIN LEMO | 717 | 35% | 97 | 83 | 120 | 93 | 130 | New Price | 50
HWPro Probe | Y300-80 | 33263080 | Y300-80: Thermistor Probe 80 MM Mounted IN 2 PIN LEMO | 835 | 35% | 112 | 97 | 139 | 108 | 152 | New Price | 53
HWPro Probe | J095-10-05 | 33269510 | J095-10-05: HWPro Thermistor probe. 100mm X 4mm tip. 10 meters of cable. 2 PIN LEMO connector. | 1684 | 35% | 227 | 196 | 281 | 219 | 306 | New Price | 95
HWPro Probe | J095-15-05 | 33269515 | J095-15-05: HWPro Thermistor probe. 100mm X 4mm tip. 15 meters of cable. 2 PIN LEMO connector. | 2197 | 35% | 296 | 255 | 366 | 285 | 399 | New Price | 95
HWPro Probe | J095-3-05 | 33269503 | J095-3-05: HWPro Thermistor probe 100mm X 4mm tip. 3 meters of cable. 2 PIN LEMO connector. | 1015 | 35% | 137 | 118 | 169 | 132 | 185 | New Price | 93
HWPro Probe | J095-5-05 | 33269504 | J095-5-05: HWPro Thermistor probe. 100mm X 4mm. 5 meters of cable. 2 PIN LEMO connector. | 1088 | 35% | 146 | 127 | 181 | 141 | 198 | New Price | 89
HWPro Probe | J254-3-05 | 33262403 | J254-3-05: HWPro Thermistor probe. 50mm X 3mm tip. 3 meters of cable. 2 PIN LEMO connector. | 967 | 35% | 130 | 112 | 161 | 126 | 176 | New Price | 91
HWPro Probe | J254-5-05 | 33265405 | J254-5-05: HWPro Thermistor probe. 50mm X 5mm tip. 3 meters of cable. 2 PIN LEMO connector. | 1036 | 35% | 139 | 120 | 173 | 135 | 188 | New Price | 92
PT100
HWPro Probe | J094-10-01 | 33269410 | J094-10-01: HWPro PT100 probe. TF Class A PT100 sensor. 70mm X 4mm tip. 10m cable. 5 pin LEMO. | 1837 | 35% | 247 | 214 | 306 | 239 | 334 | New Price | 95
HWPro Probe | J094-15-01 | 33269415 | J094-15-01: HWPro PT100 probe. TF Class A PT100 sensor. 70mm X 4mm tip. 15m cable. 5 pin LEMO. | 2189 | 35% | 295 | 255 | 365 | 284 | 398 | New Price | 95
HWPro Probe | J237-3-01 | 33262703 | J237-3-01: HWPro PT100 probe. WW Probe. 70mm X 4mm tip. 3 meters of cable. 5 PIN Lemo connector. | 1437 | 35% | 193 | 167 | 240 | 187 | 261 | New Price | 97
HWPro Probe | J237-5-01 | 33263705 | J237-5-01: HWPro PT100 probe. WW Probe. 70mm X 4mm tip. 5 meters of cable. 5 PIN LEMO connector. | 1519 | 35% | 204 | 177 | 253 | 197 | 276 | New Price | 97
HWPro Probe | J237-5-01-WP | 33262705W | J237-5-01-WP: HWPro PT100 probe. WW Probe. 70mm X 4mm. 5 meters of cable. 5 pin LEMO. Waterproof | 1727 | 35% | 232 | 201 | 288 | 224 | 314 | New Price | 96
PT1000
HWPro Probe | J182-3-03 | 33268233 | J182-3-03: HWPro PT1000 probe. TF Class A 70mm X 4mm tip. 3 meters of cable. Bare ends connector. | 722 | 35% | 97 | 84 | 120 | 94 | 131 | New Price | 98
Thermocouple
IceSpy / HWPro Probe | J043-3-09 | 33465903 | J043-3-09: HWPro / IceSpy TC with mini-TC connector. Ultra Premium 22awg FEP Type T TC. 3m length. | 1359 | 22% | 183 | 158 | 227 | 176 | 247 | New Price | 99
IceSpy / HWPro Probe | J043-5-09 | 33465905 | J043-5-09: HWPro / IceSpy TC with mini-TC connector. Ultra Premium 22awg FEP Type T TC. 5m length. | 1542 | 22% | 208 | 179 | 257 | 200 | 280 | New Price | 98
IceSpy / HWPro Probe | J044-3-09 | 33465403 | J044-3-09: HWPro / IceSpy TC with mini-TC connector. Mineral insulated Type T TC. 3mm x 3m length. | 814 | 22% | 110 | 95 | 136 | 106 | 148 | New Price | 99
IceSpy / HWPro Probe | J044-5-09 | 33465405 | J044-5-09: HWPro / IceSpy TC with mini-TC connector. Mineral insulated Type T TC. 3mm x 5m length. | 1074 | 22% | 145 | 125 | 179 | 139 | 195 | New Price | 99
Relative Humidity
HWPro Probe | J223 | 33262230 | J223: HWPro Humdity probe. EE07 RH/T Probe Suitable For Outdoor Use. | 3274 | 22% | 441 | 381 | 546 | 425 | 595 | New Price | 69
HWPro Probe | J140 | 33261400 | J140: HWPro Humidity probe. EE07 RH/T Probe | 1913 | 22% | 257 | 222 | 319 | 248 | 348 | New Price | 43
HWPro Probe | Y421-1 | 33284201 | Y421-1: HWPro extension cable for EE07 probes. 1 meter cable length. | 649 | 35% | 87 | 75 | 108 | 84 | 118 | New Price | 69
HWPro Probe | Y421-3 | 33284203 | Y421-3: HWPro extension cable for EE07 Probe. 3 meters of cable. | 649 | 35% | 87 | 75 | 108 | 84 | 118 | New Price | 65
HWPro Probe | Y421-5 | 33284205 | Y421-5: HWPro extension cable for EE07 probe. 5 meters of cable. | 649 | 35% | 87 | 75 | 108 | 84 | 118 | New Price | 65
CO2
HWPro Probe | J247-10-02 | 33262710 | J247-10-02: HWPro CO2 probe. 0-10% 1.5M Cable for use with RL4512 - Includes Calibration Certificate | 8946 | 10% | 1204 | 1040 | 1491 | 1162 | 1627 | New Price | 100
HWPro Accessory | J247-CAB-3 | 33265347 | 3-meter cable for Vaisala CO2 sensor. To be used with Hanwell Pro transmitters. | 2345 | 10% | 316 | 273 | 391 | 305 | 426 | New Price | 81
HWPro Accessory | J247-CAB-5 | 33265547 | 5-meter cable for Vaisala CO2 sensor. To be used with Hanwell Pro transmitters. | 2575 | 10% | 347 | 299 | 429 | 334 | 468 | New Price | 81
Door
HWPro Probe | DC001 | 33283213 | DC001: HWPro light-weight door sensor with 3 meters of cable | 878 | 22% | 118 | 102 | 146 | 114 | 160 | New Price | 60
HWPro Probe | DC002 | 33283223 | DC002: HWPro medium duty door sensor with 3 meters of cable. | 1153 | 22% | 155 | 134 | 192 | 150 | 210 | New Price | 60
Analog: Current or Voltage
Airflow
Other
IceSpy / HWPro Probe | J091 | 33265091 | J091: Power Sensor. CT Split Core 3 Range 0-30, 0-60 & 0-120A Sensor | 1129 | 22% | 152 | 131 | 188 | 147 | 205 | New Price | 68
Note on E35: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not suitable for use with LN2

## Calibrations
Ellab Monitoring Solutions
Parts List: In-House Calibrations
IceSpy Calibrations: Performed in Denmark (If accredited, accredited to DANAK)
HWPro Calibrations: Performed in Italy (If accredited, accredited to ACCREDIA)
*Some calibration points may vary depending on where the calibration is taking place. | [5 empty] | EU | DKK/£ | USD | CHF | Japan USD
Effective from 1st January 2026 | [5 empty] | 7.43 | 8.6 | 6 | 7.7 | 5.5
Category | Stock Code | Ellab Order Code | Description | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Character Count
IceSpy Calibrations
Thermistor
Applies To: IN-TH001/IN-THD01
Calibration - IceSpy | CC713 | 33772743 | IceSpy Calibration. Internal Thermistor. Std Points: -25, 0, 45C | 672 | 22% | 90 | 78 | 112 | 87 | 122 | New Part Number | 64
Calibration - IceSpy | CC813 | 33772813 | IceSpy ISO17025 Calibration. Internal Thermistor. Std Points: -25, 0, 45C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 |  | 73
Applies To: IN-TH002
Calibration - IceSpy | CC715 | 33772745 | IceSpy Calibration. Single Thermistor. Std Points: -35, -10, 5, 45, 90C | 672 | 22% | 90 | 78 | 112 | 87 | 122 | New Part Number | 71
Calibration - IceSpy | CC815 | 33772845 | IceSpy ISO17025 Calibration. Single Thermistor. Std Points: -35, -10, 5, 45, 90C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Part Number | 80
Applies To: IN-TH003
Calibration - IceSpy | CC717 | 33772747 | IceSpy Cal. Int Temp Std Points: -25, 0, 45C. Ext Temp Std Points: -35, -10, 0, 45, 90C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Part Number | 88
Calibration - IceSpy | CC817 | 33772847 | IceSpy ISO17025 Cal. Int Temp Std Pts: -25, 0, 45C. Ext Temp Std Pts: -35, -10, 0, 45, 90C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Part Number | 90
Applies To: IN-TH004
Calibration - IceSpy | CC727 | 33772727 | IceSpy Calibration. Dual Thermistor. Std Points: -35, -10, 5, 45, 90C | 1023 | 22% | 138 | 119 | 171 | 133 | 186 |  | 69
Calibration - IceSpy | CC827 | 33772827 | IceSpy ISO17025 Calibration. Dual Thermistor. Std Points: -35, -10, 5, 45, 90C | 1813 | 22% | 244 | 211 | 302 | 235 | 330 |  | 78
PT100
Applies To: IN-PT001 / IN-PTD01
Calibration - IceSpy / HWPro | CC711 | 33772711 | IceSpy / HWPro Calibration. Single PT100. Std Points: -85, -35, 5, 45, 90C | 672 | 22% | 90 | 78 | 112 | 87 | 122 |  | 74
Calibration - IceSpy / HWPro | CC811 | 33772811 | IceSpy / HWPro ISO17025 Calibration. Single PT100. Std Points: -85, -35, 5, 45, 90C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 |  | 83
Applies To: IN-PT002
Calibration - IceSpy / HWPro | CC721 | 33772750 | IceSpy / HWPro Calibration. Dual PT100. Std Points: -85, -35, 5, 45, 90C | 1023 | 22% | 138 | 119 | 171 | 133 | 186 | New Part Number | 72
Calibration - IceSpy / HWPro | CC821 | 33772842 | IceSpy/HWPro ISO17025 Calibration. Dual PT100. Std Points: -85, -35, 5, 45, 90C | 1813 | 22% | 244 | 211 | 302 | 235 | 330 | New Part Number | 79
Thermocouple
Applies To: IN-TT001 / IN-TTD01
Calibration - IceSpy | CC786 | 33772786 | IceSpy Calibration. Single thermocouple process calibration. Std Points: -200, -100, 0, 125, 300C | 661 | 22% | 89 | 77 | 110 | 86 | 120 |  | 98
Applies To: IN-TT002
Calibration - IceSpy | CC787 | 33772797 | IceSpy Calibration. Dual thermocouple process calibration. Std Points: -200, -100, 0, 125, 300C | 970 | 22% | 131 | 113 | 162 | 126 | 176 |  | 96
Relative Humidity (RH)
Applies To: IN-RH001
Calibration - IceSpy | CC723 | 33772751 | IceSpy Calibration. Temp/RH. Std temp Pts: -25, 10, 45C. Sts RH Pts: 10, 50, & 90% (at Ambient) | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Part Number | 95
Calibration - IceSpy | CC823 | 33772843 | IceSpy ISO17025 Cal. Temp/RH. Std temp Pts: -25, 10, 45C. Std RH Pts: 10, 50, & 90% (at Ambient) | 2164 | 22% | 291 | 252 | 361 | 281 | 393 | New Part Number | 96
Differential Pressure
Applies To: IN-DP-62
Calibration - IceSpy / HWPro | CC763 | 33772763 | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -50, 0, +50 Pascal | 853 | 22% | 115 | 99 | 142 | 111 | 155 |  | 86
Analog: Current or Voltage
Applies To: IN-MA001
Calibration - IceSpy / HWPro | CC759 | 33772759 | IceSpy / HWPro Calibration. Dual 4-20 Milliamp (mA). Std Points: 4, 12, 20mA | 650 | 22% | 87 | 76 | 108 | 84 | 118 |  | 76
Applies To: IN-VT001
Calibration - IceSpy / HWPro | CC760 | 33772760 | IceSpy / HWPro Calibration. Dual 0-1 Volts (V). Std Points: 0, 500, 1000mV | 650 | 22% | 87 | 76 | 108 | 84 | 118 |  | 74
Applies To: IN-VT002
Calibration - IceSpy / HWPro | CC761 | 33772766 | IceSpy / HWPro Calibration. Dual 0-5 Volts (V). Std Points: 0, 2500, 5000mV | 650 | 22% | 87 | 76 | 108 | 84 | 118 | New Part Number | 75
Applies To: IN-VT003
Calibration - IceSpy / HWPro | CC762 | 33772762 | IceSpy / HWPro Calibration. Dual 0-10 Volts (V). Std Points: 0, 5000, 10000mV | 650 | 22% | 87 | 76 | 108 | 84 | 118 |  | 77
HWPro Calibrations
Thermistor
Applies To: RL1001 / RL4007
Calibration - HWPro | CC726 | 33771726 | HWPro Calibration. Single Temp Channel. Std Points: -15, 15, 55C | 711 | 22% | 96 | 83 | 119 | 92 | 129 |  | 64
Calibration - HWPro | CC826 | 33771826 | HWPro ISO17025 Calibration. RL1001/2 Temp Single Channel. Std Points: -15, 15, 55C | 1353 | 22% | 182 | 157 | 226 | 176 | 246 |  | 82
Applies To: RL4001 / RL4012 / RL4116 / RL4413-DU
Calibration - HWPro | CC710 | 33772740 | HWPro Calibration. Single Thermistor. Std Points: -35, -10, 10, 30, 55C | 711 | 22% | 96 | 83 | 119 | 92 | 129 | New Part Number | 71
Calibration - HWPro | CC810 | 33772840 | HWPro ISO17025 Calibration. Single Thermistor. Std Points: -35, -10, 10, 30, 55C | 1353 | 22% | 182 | 157 | 226 | 176 | 246 | New Part Number | 80
Applies To: RL4002
Calibration - HWPro | CC720 | 33772720 | HWPro Calibration. Dual Thermistor. Std Points: -35, -10, 10, 30, 55C | 1082 | 22% | 146 | 126 | 180 | 141 | 197 |  | 69
Calibration - HWPro | CC820 | 33772820 | HWPro ISO17025 Calibration. Dual Thermistor. Std Points: -35, -10, 10, 30, 55C | 1917 | 22% | 258 | 223 | 320 | 249 | 349 |  | 78
PT100
Applies To: RL4021-DU / RL4401 / RL4410 /
Calibration - IceSpy / HWPro | CC711 | 33772741 | IceSpy / HWPro Calibration. Single PT100. Std Points: -85, -35, 5, 45, 90C | 672 | 22% | 90 | 78 | 112 | 87 | 122 | New Part Number | 74
Calibration - IceSpy / HWPro | CC811 | 33772841 | IceSpy / HWPro ISO17025 Calibration. Single PT100. Std Points: -85, -35, 5, 45, 90C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Part Number | 83
Applies To: RL4402
Calibration - IceSpy / HWPro | CC721 | 33772721 | IceSpy / HWPro Calibration. Dual PT100. Std Points: -85, -35, 5, 45, 90C | 1023 | 22% | 138 | 119 | 171 | 133 | 186 |  | 72
Calibration - IceSpy / HWPro | CC821 | 33772821 | IceSpy/HWPro ISO17025 Calibration. Dual PT100. Std Points: -85, -35, 5, 45, 90C | 1813 | 22% | 244 | 211 | 302 | 235 | 330 |  | 79
PT1000
Calibration - HWPro | CC712 | 33772712 | HWPro Calibration. Single PT1000. Std Points: -85, -35, 5, 45, 90C | 711 | 22% | 96 | 83 | 119 | 92 | 129 |  | 66
Calibration - HWPro | CC812 | 33772812 | HWPro ISO17025 Calibration. Single PT1000. Std Points: -85, -35, 5, 45, 90C | 1353 | 22% | 182 | 157 | 226 | 176 | 246 |  | 75
Calibration - HWPro | CC722 | 33772722 | HWPro Calibration. Dual PT1000. Std Points: -85, -35, 5, 45, 90C | 1082 | 22% | 146 | 126 | 180 | 141 | 197 |  | 64
Calibration - HWPro | CC822 | 33772822 | HWPro ISO17025 Calibration. Dual PT1000. Std Points: -85, -35, 5, 45, 90C | 1917 | 22% | 258 | 223 | 320 | 249 | 349 |  | 73
Thermocouple
Applies To: RL4901 / RL4902 / RL4904
Calibration - HWPro | CC788 | 33772788 | HWPro Calibration. TC process calibration. Std Points: -200, -100, 0, 50, 200C | 700 | 22% | 94 | 81 | 117 | 91 | 127 |  | 78
Applies To: RL4903
Calibration - HWPro | CC789 | 33772789 | HWPro Calibration. High Temp TC process calibration. Std Points: -50, -0, 100, 200, 350C | 700 | 22% | 94 | 81 | 117 | 91 | 127 |  | 88
Relative Humidity (RH)
Applies To: RL4007 / RL4106 / RL4107 / RL4108 / ML4007 / ML4106 / ML4108 / ML4109 Integrated and directly attached Temp/RH sensor
Calibration - HWPro | CC725 | 33772752 | HWPro Calibration. Std temp Pts: -15, 15, 55C. Std RH Pts: 10, 50 & 90% (at Ambient) | 1353 | 22% | 182 | 157 | 226 | 176 | 246 | New Part Number | 84
Calibration - HWPro | CC825 | 33772844 | HWPro ISO17025 Cal. Std temp Pts: -15, 15, 55C. Std RH Pts: 10, 50 & 90% (at Ambient) | 2289 | 22% | 308 | 266 | 382 | 297 | 416 | New Part Number | 85
Applies To: Rotronic RH Units (RL4111 / RL4114 / ML4111 / ML4114) and E&E Units (RL4115 / RL4116 / RL4413-DU / ML4115 / ML4116)
Calibration - HWPro | CC714 | 33772744 | HWPro Cal. Temp/RH. Std Temp Pts: -35, 10, 55C. Std RH Pts: 10, 50 & 90% (at Ambient) | 1353 | 22% | 182 | 157 | 226 | 176 | 246 | New Part Number | 85
Calibration - HWPro | CC814 | 33772814 | HWPro ISO17025 Cal. Temp/RH. Std Temp Pts: -15, 10, 40C. Std RH Pts: 10, 50 & 90% (at Ambient) | 2289 | 22% | 308 | 266 | 382 | 297 | 416 |  | 94
Applies To: RL4112
Calibration - HWPro | CC716 | 33772746 | HWPro Calibration. Temp/RH. Std Temp Pts: -45, 0, 90C. Std RH Pts: 10, 50 & 90% (at Ambient) | 1353 | 22% | 182 | 157 | 226 | 176 | 246 | New Part Number | 92
Calibration - HWPro | CC816 | 33772816 | HWPro ISO17025 Cal. Temp/RH. Std Temp Pts: -45, 0, 90C. Std RH Pts: 10, 50 & 90% (at Ambient) | 2289 | 22% | 308 | 266 | 382 | 297 | 416 |  | 93
Applies To: RL4116. Covers both the Thermistor and the E&E T/RH sensor
Calibration - HWPro | CC736 | 33772736 | HWPro Calibration. Std Temp Pts: -35, 5, 55C. Std RH Pts: 10, 50 & 90% (at Ambient) | 2816 | 22% | 379 | 327 | 469 | 366 | 512 |  | 83
Calibration - HWPro | CC836 | 33772836 | HWPro ISO17025 Calibration. Std Temp Pts: -35, 5, 55C. Std RH Pts: 10, 50 & 90% (at Ambient) | 3337 | 22% | 449 | 388 | 556 | 433 | 607 |  | 92
Carbon Dioxide (CO2)
Applies To: RL4021
Calibration - IceSpy / HWPro | CC782 | 33772782 | IceSpy / HWPro Calibration. Carbon Dioxide (CO2). Std Points: 0, 5, 7.5, 10% CO2 | 1800 | 22% | 242 | 209 | 300 | 234 | 327 |  | 80
Calibration - IceSpy / HWPro | CC793 | 33772828 | IceSpy / HWPro Calibration. Carbon Dioxide (CO2). Std Points: 0, 5, 10, 15, 20% CO2 | 1800 | 22% | 242 | 209 | 300 | 234 | 327 |  | 84
Differential Pressure
Applies To: RL4509 / RL4509-DU
Calibration - IceSpy / HWPro | CC763 | 33772767 | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -50, 0, +50 Pascal | 853 | 22% | 115 | 99 | 142 | 111 | 155 | New Part Number | 86
Calibration - IceSpy / HWPro | CC763-IWG | 33772763W | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -0.20, 0, +0.20 IWG | 828 | 22% | 111 | 96 | 138 | 108 | 151 |  | 87
Calibration - IceSpy / HWPro | CC764 | 33772764 | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -100, 0, +100 Pascal | 853 | 22% | 115 | 99 | 142 | 111 | 155 |  | 88
Calibration - IceSpy / HWPro | CC764-IWG | 33772764W | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -0.40, 0, +0.40 IWG | 828 | 22% | 111 | 96 | 138 | 108 | 151 |  | 87
Applies To: RL4502
Calibration - IceSpy / HWPro | CC765 | 33772765 | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -1250, 0, +1250 Pascal | 853 | 22% | 115 | 99 | 142 | 111 | 155 |  | 90
Calibration - IceSpy / HWPro | CC765-IWG | 33772765W | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -5.0, 0, +5.0 IWG | 828 | 22% | 111 | 96 | 138 | 108 | 151 |  | 85
Analog: Current or Voltage
Applies To: RL4810
Calibration - IceSpy / HWPro | CC761 | 33772761 | IceSpy / HWPro Calibration. Dual 0-5 Volts (V). Std Points: 0, 2500, 5000mV | 650 | 22% | 87 | 76 | 108 | 84 | 118 |  | 75
Applies To: RL4809
Calibration - IceSpy / HWPro | CC759 | 33772753 | IceSpy / HWPro Calibration. Dual 4-20 Milliamp (mA). Std Points: 4, 12, 20mA | 650 | 22% | 87 | 76 | 108 | 84 | 118 |  | 76
Additional Calibrations
Temperature
Calibration - IceSpy / HWPro | CC718 | 33772748 | IceSpy / HWPro Calibration: Extra Temp Point: Between -90 and +150C | 201 | 22% | 27 | 23 | 34 | 26 | 37 | New Part Number | 67
Calibration - IceSpy / HWPro | CC818 | 33772848 | IceSpy / HWPro ISO17025 Calibration. Extra Temp Point: Between -90 and +150C | 278 | 22% | 37 | 32 | 46 | 36 | 51 | New Part Number | 76
Relative Humidity
Calibration - IceSpy / HWPro | CC709 | 33772709 | IceSpy / HWPro Calibration. Relative Humidity (RH). Std RH Pts: 10, 50 & 90% (at Ambient) | 842 | 22% | 113 | 98 | 140 | 109 | 153 |  | 89
Calibration - IceSpy / HWPro | CC809 | 33772809 | IceSpy / HWPro ISO17025 Calibration. Relative Humidity (RH). Std RH Pts: 10, 50 & 90% (at Ambient) | 1620 | 22% | 218 | 188 | 270 | 210 | 295 |  | 98
Calibration - IceSpy / HWPro | CC719 | 33772719 | IceSpy / HWPro Calibration. Extra RH Point: Between 10 and 90% (at Ambient) | 211 | 22% | 28 | 25 | 35 | 27 | 38 |  | 75
Calibration - IceSpy / HWPro | CC819 | 33772819 | IceSpy / HWPro ISO17025 Calibration. Extra RH Point: Between 11 and 85% (at Ambient) | 309 | 22% | 42 | 36 | 52 | 40 | 56 |  | 84
Thermocouple
Calibration - IceSpy / HWPro | CC757 | 33771757 | IceSpy / HWPro Calibration. Single Channel Process Calibration. Standard Point: -196C | 650 | 22% | 87 | 76 | 108 | 84 | 118 |  | 85
What do you get with Accredited Calibration:
- Calibration is conducted by using ISO 17025 accredited process and qualified personnel
- ISO 17025 is a globally recognized certification
- Provides customer with measurement of uncertainty
Note on D11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772713
Note on D14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772715
Note on D15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772815
Note on D17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772717
Note on D18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772817
Note on D27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772721
Note on D28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772821
Note on D33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772787
Note on D36: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772723
Note on D37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772823
Note on D47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772761
Note on D56: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772710
Note on D57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772810
Note on D63: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772711
Note on D64: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772811
Note on D80: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772725
Note on D81: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772825
Note on D83: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772714
Note on D86: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772716
Note on D97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772763
Note on D108: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772759
Note on D111: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772718
Note on D112: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Previously 33772818

## Calibration Points (hidden)
Hanwell Standard Cal Code Date: 3rd April 2022 | Ver 10.0
Part Number | Ellab Part Number | Part Description |  | Bottom |  | Middle |  | Top
CC709 | 33772709 | Humidity 3 points | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC710 | 33772710 | TEMP THERMISTOR 1 CHANNEL 5 POINTS PER CHANNEL | Thermistor Hanwell Pro | -35 | -10 | 10 | 30 | 55
CC715 | 33772715 | TEMP THERMISTOR 1 CHANNEL 5 POINTS PER CHANNEL | Thermistor Icespy | -35 | -10 | 5 | 45 | 90
CC711 | 33772711 | PT100 1 CHANNEL 5 POINTS PER CHANNEL | PT100 Pro/IceSpy | -85 | -35 | 5 | 45 | 90
CC712 | 33772712 | PT1000 1 CHANNEL 5 POINTS PER CHANNEL | PT1000 Pro | -85 | -35 | 5 | 45 | 90
CC713 | 33772713 | IN-TH001xx/IN-THD01 THERM 1 CHANNEL 3 POINTS PER CHANNEL | Icespy IN-TH001 / IN-THD01/ IN-WT001F1 | -25 |  | 0 |  | 45
CC726 | 33772726 | RL1001/2 3 POINT CALIBRATION | RL1001/2 | -15 |  | 15 |  | 55
CC790 | 33772790 | iSense temp calibration 1 channel | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC791 | 33772791 | iSense temp calibration 2 channels | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC792 | 33772792 | iSense temp calibration 2 channels | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC717 | 33772717 | IN-TH003 Themistor IN & Ext | Icespy IN-TH003xx Internal 3 points | -25 |  | 0 |  | 45
|  |  | External 5 points | -35 | -10 | 0 | 45 | 90
CC714 | 33772714 | RL4111/4/5-IS01-BN -TEMP/RH 3 POINTS PER CHANNEL | RL4111/4/5-IS01-BN- Temp | -35 |  | 10 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC716 | 33772716 | RL4112 TEMP/RH 3 POINTS PER CHANNEL | RL4112 Temp - (N.B Cannot Adjust Temp , Humidity Adjustable) | -45 |  | 0 |  | 90
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC725 | 33772725 | RL4106/7/8/9 TEMP/RH 3 POINTS PER CHANNEL | RL4106/7/8/9 | -15 |  | 15 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC718 | 33772718 | TEMP EXTRA POINT Between -90 and +150 ( -200 to +300 for process cal) | Defined by Customer
CC719 | 33772719 | RH EXTRA POINT (Between 11 to 85%, between 0 +60 ) | Defined by Customer Calibrated at 22.5oC +/-2.5
CC720 | 33772720 | TEMP THERMISTOR 2 CHANNEL 5 POINTS PER CHANNEL | Thermistor Hanwell Pro | -35 | -10 | 10 | 30 | 55
CC727 | 33772727 | TEMP THERMISTOR 2 CHANNEL 5 POINTS PER CHANNEL | Thermistor Icespy | -35 | -10 | 5 | 45 | 90
CC721 | 33772721 | PT100 2 CHANNEL 5 POINTS PER CHANNEL | PT100 Pro/IceSpy | -85 | -35 | 5 | 45 | 90
CC722 | 33772722 | PT1000 2 CHANNEL 5 POINTS PER CHANNE | PT1000 Pro | -85 | -35 | 5 | 45 | 90
CC723 | 33772723 | IN-HUM TEMP/RH 3 POINTS | IN-HUM-xx ( IN-RH00x) | -25 |  | 10 |  | 45
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC734 | 33772734 | RF Bug / Humbug THERM 1 CHANNEL 3 POINTS PER CHANNEL | RF Bug /Humbug | -5 |  | 25 |  | 50
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC735 | 33772735 | 43792-H (transport logger int therm) 1 CHANNEL 5 POINTS PER CH' | 43792-TR 43792-H -RL407 RL401 RL410 | -5 | 10 | 25 | 35 | 50
CC736 | 33772736 | RL4116 Themistor IN & Ext | RL4116 External 5 points | -35 |  | 5 |  | 55
|  |  | J140 Humidity Probe External points | -35 |  | 5 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC786 | 33772786 | Thermocuple Process Cal Single Channel | IN-TT001 / IN-TTD01 | -200 | -100 | 0 | 125 | 300
CC787 | 33772787 | Thermocuple Process Cal Dual channel | IN-TT002 | -200 | -100 | 0 | 125 | 300
CC788 | 33772788 | Thermocouple Process cal | RL4901 | -200 | -100 | 0 | 50 | 200
CC789 | 33772789 | Thermocouple Process cal | RL4903 | -50 | 0 | 100 | 200 | 350
CC809 | 33772809 | UKAS Humidity3 Points | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC810 | 33772810 | UKAS TEMP THERM 1 CHANNEL 5 POINTS PER CHANNEL | Thermistor Hanwell Pro | -35 | -10 | 10 | 30 | 55
CC815 | 33772815 | TEMP THERMISTOR 1 CHANNEL 5 POINTS PER CHANNEL | Thermistor Icespy | -35 | -10 | 5 | 45 | 90
CC811 | 33772811 | UKAS PT100 1 CHANNEL 5 POINTS PER CHANNEL | PT100 Pro/IceSpy | -85 | -35 | 5 | 45 | 90
CC812 | 33772812 | UKAS PT1000 1 CHANNEL 5 POINTS PER CHANNEL | PT1000 Pro | -85 | -35 | 5 | 45 | 90
CC813 | 33772813 | UKAS IN-TH001xx THERM 1 CHANNEL 3 POINTS PER CHAN | Icespy IN-TH001 / IN-THD01/ IN-WT001F1 | -25 |  | 0 |  | 45
CC826 | 33772826 | UKAS RL1001/2 3 POINT CALIBRATION | UKAS RL1001/2 | -15 |  | 15 |  | 55
CC890 | 33772890 | UKAS iSense temp calibration 1 channel | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC891 | 33772891 | UKAS iSense temp calibration 2 channels | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC892 | 33772892 | UKAS iSense temp calibration 2 channels | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC817 | 33772817 | UKAS IN-TH003 Themistor In & Ext | Icespy IN-TH003xx Internal | -25 |  | 0 |  | 45
|  |  | External | -35 | -10 | 0 | 45 | 90
CC814 | 33772814 | UKAS RL4111/4/5-IS01-BN - T/RH 3 POINTS PER CHANNEL | RL4111/4/5-IS01-BN Temp | -35 |  | 10 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC816 | 33772816 | UKAS RL4112 TEMP/RH 3 POINTS PER CHANNEL | RL4112 Temp - (N.B Cannot Adjust Temp , Humidity Adjustable) | -45 |  | 0 |  | 90
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC825 | 33772825 | UKAS RL4106/7/8/9 TEMP/RH 3 POINTS PER CHANNEL | RL4106/7/8/9 | -15 |  | 15 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC818 | 33772818 | UKAS TEMP EXTRA POINT Between -90 and +140 | Defined by Customer
CC819 | 33772819 | UKAS RH EXTRA POINT (Between 11% and 85% at Ambient) | Defined by Customer Humidity Calibrated at 22.5oC +/-2.5
CC820 | 33772820 | UKAS TEMP THERM 2 CHANNEL 5 POINTS PER CHANNEL | Thermistor Pro/IceSpy | -35 | -10 | 10 | 30 | 55
CC827 | 33772827 | TEMP THERMISTOR 2CHANNEL 5 POINTS PER CHANNEL | Thermistor Icespy | -35 | -10 | 5 | 45 | 90
CC821 | 33772821 | UKAS PT100 2 CHANNEL 5 POINTS PER CHANNEL | PT100 Pro/IceSpy | -85 | -35 | 5 | 45 | 90
CC822 | 33772822 | UKAS PT1000 2 CHANNEL 5 POINTS PER CHANNEL | PT1000 Pro | -85 | -35 | 5 | 45 | 90
CC823 | 33772823 | UKAS IN-HUM TEMP/RH 3 POINTS | IN-HUM-xx ( IN-RH00x) | -25 |  | 10 |  | 45
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC834 | 33772834 | UKAS RF Bug / Humbug THERM 1 CHANNEL 3 POINTS PER CHANNEL | RF Bug / Humbug | -5 |  | 25 |  | 50
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC835 | 33772835 | UKAS 43792-H (transport logger int therm) 1 CHANNEL 5 POINTS PER CHANNEL | 43792-TR 43792-H -RL407 RL401 RL410 | -5 | 10 | 25 | 35 | 50
CC836 | 33772836 | UKAS RL4116 Themistor IN & Ext | RL4116 External 5 points | -35 |  | 5 |  | 55
|  |  | J140 Humidity Probe External points | -35 |  | 5 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC757 | 33772757 | SINGLE POINT TEMP PROCESS CALIBRATION | -196 oC | -196
CC759 | 33772759 | DUAL CHANNEL 4-20MA | 4-20mA | 4mA |  | 12mA |  | 20mA
CC760 | 33772760 | DUAL CHANNEL VOLTAGE 0-1V | 1V | 0mV |  | 500mV |  | 1000mV
CC761 | 33772761 | DUAL CHANNEL VOLTAGE 0-5V | 5V | 0mV |  | 2500mV |  | 5000mV
CC762 | 33772762 | DUAL CHANNEL VOLTAGE 0-10V | 10V | 0mV |  | 5000mV |  | 10000mV
CC763 | 33772763 | TRACEABLE DP CALIBRATION @ -50, 0 & +50pa | Diff presure+/-50Pa | -50 |  | 0 |  | 50
CC764 | 33772764 | TRACEABLE DP CALIBRATION @ -100, 0 & +100pa | Diff Pressure+/-100pa | -100 |  | 0 |  | 100
CC765 | 33772765 | TRACEABLE DP CALIBRATION @ -1250, 0 & +1250pa | Dif Pressure+/-1250Pa | -1250 |  | 0 |  | 1250
CC763-IWG | 33772763W | TRACEABLE DP CALIBRATION @ -0.20 & 0.20 IWG | Diff presure -0.2 & 0.2 IWG | -0.2 |  | 0 |  | 0.2
CC764-IWG | 33772764W | TRACEABLE DP CALIBRATION @ -0.40 & 0.40 IWG | Diff presure -0.4 & 0.4 IWG | -0.4 |  | 0 |  | 0.4
CC765-IWG | 33772765W | TRACEABLE DP CALIBRATION @ -5.0 & 5.0 IWG | Diff presure -5.0 & 5.0 IWG | -5 |  | 0 |  | 5
CC780 | 33772780 | 0-5% CO2 SENSOR CALIBRATION | Co2 5% ( % or PPM) |  |  | Completed by Vaisala
CC781 | 33772781 | 0-5% CO2 SENSOR CALIBRATION PROBE MATCH | Co2 5% Certficate in % or PPM | 0 |  | 2.5% |  | 5%
CC782 | 33772782 | 0-10% CO2 SENSOR CALIBRATION | Co2 10% ( % or PPM) |  |  | Completed by Vaisala
CC783 | 33772783 | 0-10% CO2 SENSOR CALIBRATION PROBE MATCH | Co2 10% Certficate in % or PPM | 0% |  | 5% |  | 10%
CC793 | 33772793 | 0-20% CO2 SENSOR CALIBRATION | Co2 20% ( % or PPM) |  |  | Completed by Vaisala
CC794 | 33772794 | 0-20% CO2 SENSOR CALIBRATION PROBE MATCH | Co2 20% Certficate in % or PPM | 0% |  | 10% |  | 20%
Note: Humidity Calibrated at 22oC +/-3
.
On Site calibration codes using Euroengle Chamber
CC728 | 33772728 | IN-TH001xx/IN-THD01 THERM 1 CHANNEL 3 POINTS PER CHANNEL | IN-TH001 / IN-THD01/ IN-WT001F1-43792 TR-RL401 RL410 RL407 | -5 |  | 0 |  | 35
CC729 | 33772729 | RL1001/2 3 POINT CALIBRATION | RL1001/2 | -15 |  | 15 |  | 35
CC730 | 33772730 | IN-TH003 Themistor IN & Ext | Icespy IN-TH003xx Internal 3 points | -15 |  | 0 |  | 35
|  |  | External 5 points | -35 | -10 | 0 | 45 | 90
CC731 | 33772731 | RL4111/2/4/5 TEMP/RH 3 POINTS PER CHANNEL | RL4111/2/4/5 | -15 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC732 | 33772732 | RF Bug - Humbug ( 43791-H) Temp | Humbug ( 43791-H) Temp | -5 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC733 | 33772733 | IN-HUM TEMP/RH 3 POINTS | IN-HUM-xx ( IN-RH00x) | -15 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC737 | 33772737 | 43792-H (transport logger int therm) 1 CHANNEL 5 POINTS PER CH' | 43792-H -RL407 | -5 |  | 15 |  | 35
CC738 | 33772738 | RL4116 Themistor IN & Ext | RL4116 External 3 points | -15 |  | 0 |  | 50
|  |  | J140 Humidity Probe External points | -15 |  | 5 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC828 | 33772828 | UKAS IN-TH001xx/IN-THD01 THERM 1 CHAN'3 POINTS PER CHAN' | IN-TH001 / IN-THD01/ IN-WT001F1-43792 TR-RL401 RL410 RL407 | -15 |  | 0 |  | 35
CC829 | 33772829 | UKAS RL1001/2 3 POINT CALIBRATION | RL1001/2 | -15 |  | 15 |  | 35
CC830 | 33772830 | UKAS IN-TH003 Themistor IN & Ext | Icespy IN-TH003xx Internal 3 points | -15 |  | 0 |  | 35
|  |  | External 5 points | -35 | -10 | 0 | 45 | 90
CC831 | 33772831 | UKAS RL4111/2/4/5 TEMP/RH 3 POINTS PER CHANNEL | RL4111/2/4/5 | -15 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC832 | 33772832 | UKAS RF Bug- Humbug ( 43791-H) Temp | Humbug ( 43791-H) Temp | -15 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC833 | 33772833 | UKAS IN-HUM TEMP/RH 3 POINTS | IN-HUM-xx ( IN-RH00x) | -15 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC837 | 33772837 | UKAS 43792-H (transport logger int therm) 1 CHANNEL 5 POINTS PER CH' | 43792-H -RL407 | -5 |  | 15 |  | 35
CC838 | 33772838 | UKAS RL4116 Themistor IN & Ext | RL4116 External 3 points | -15 |  | 0 |  | 50
|  |  | J140 Humidity Probe External points | -15 |  | 5 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%