## Version Control
Exchange Rates
Version | Release Date | DKK/€ | DKK/£ | DKK/$ | DKK/CHF | DKK/Japan US
17 | 2025-01-01 | 7.43 | 8.6 | 6 | 7.7 | 5.5
16 | 2024-07-01 | 7.43 | 8.6 | 6 | 7.7 | 5.5

## EMS
Ellab Monitoring Solutions
Parts List: EMS and Accessories
Items and Services provided by Ellab DK | [5 empty] | EU | DKK/£ | USD | CHF | Japan USD
Effective from 1st January 2025 | [5 empty] | 7.43 | 8.6 | 6 | 7.7 | 5.5
Category | Stock Code | Ellab Order Code | Description | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Character Count
EMS Software: On-Premise
Standard Unvalidatable Software: Includes 2 sites, 2 sensor groups, and 10 users.
Software | W900A | 33619001 | Standard EMS software (W900A). Ellab provided SQL Express | 1646 | 35% | 222 | 191 | 274 | 214 | 299 | New Description | 57
Software | W900B | 33619002 | Standard EMS software (W900B). Customer provided SQL | 1646 | 35% | 222 | 191 | 274 | 214 | 299 | New Description | 52
Validatable Software: Requires W901 to turn on Part 11 functionalities Includes 2 sites, 2 sensor groups and 10 users
Software | W906A | 33619061 | Validatable EMS software (W906A). Ellab provided SQL Express. Requires W901 to unlock Part 11 | 8286 | 35% | 1115 | 963 | 1381 | 1076 | 1507 | New Description | 93
Software | W906B | 33619062 | Validatable EMS software (W906B). Customer provided SQL. Requires W901 to unlock Part 11 | 8286 | 35% | 1115 | 963 | 1381 | 1076 | 1507 | New Description | 88
EMS Software Installation: On-Premise
Required software installation: Except for New Hosted Customers.
Software Install - Remote | SSC127 | 33777127 | EMS Remote Software install (A/B Version) | 4522 | 22% | 609 | 526 | 754 | 587 | 822 | New Description | 41
Software Install - Remote | SSC128 | 33777128 | EMS Remote Validated Software install (A/B Version) | 5433 | 22% | 731 | 632 | 906 | 706 | 988 | New Description | 51
EMS Software Accessories: On-Premise & Cloud
W901 Includes: W904 Unlimited Sites and Zones, digital copies of IQ/OQ documentation
Software | W901 | 33619010 | EMS 21 CFR Part 11 compliance unlock code (W901). Works with W906. Includes digital IQ/OQ docs | 17911 | 35% | 2411 | 2083 | 2985 | 2326 | 3257 | New Description | 94
Additional Users
Software | W902 | 33619020 | EMS Additional 5 users. Works with W900 (A/B) & W906 (A/B) | 5433 | 35% | 731 | 632 | 906 | 706 | 988 | New Description | 58
Software | W903 | 33619030 | EMS Additional 10 users. Works with W900 (A/B) & W906 (A/B) | 6508 | 35% | 876 | 757 | 1085 | 845 | 1183 | New Description | 59
For those without W901, if they want to have unlimited sites and zones
Software | W904 | 33619040 | EMS unlimited sites and sensor groups unlock code | 3584 | 35% | 482 | 417 | 597 | 465 | 652 | New Description | 50
OPC UA Options: On-Premise only
Software | W955 | 33619550 | EMS OPC UA capability with perpetual license | 32870 | 35% | 4424 | 3822 | 5478 | 4269 | 5976 | New Description | 44
Software | W955-R5 | 33619555 | EMS OPC UA upgrade to perpetual license | 10920 | 35% | 1470 | 1270 | 1820 | 1418 | 1985 | New Description | 39
Mobile APP: On-Premise & Cloud
Initial Mobile APP
Mobile APP | W950-300V | 33619530 | 1-yr EMS Mobile App access: Initial year for up to 300 Sensors. | 4338 | 35% | 584 | 504 | 723 | 563 | 789 | New Description | 63
Mobile APP | W950-600V | 33619560 | 1-yr EMS Mobile App access: Initial year for up to 600 Sensors. | 7138 | 35% | 961 | 830 | 1190 | 927 | 1298 | New Description | 64
Mobile APP | W950-900V | 33619590 | 1-yr EMS Mobile App access: Initial year for up to 900 Sensors. | 9828 | 35% | 1323 | 1143 | 1638 | 1276 | 1787 | New Description | 63
Mobile APP | W950-1100V | 33619511 | 1-yr EMS Mobile APP access: Initial year for up to 1100 Sensors. | 12720 | 35% | 1712 | 1479 | 2120 | 1652 | 2313 | New Description | 64
Renewal of Mobile APP
Mobile APP | W950-300V-R | 33619530R | 1-yr EMS Mobile App access: Annual renewal for up to 300 Sensors. | 4338 | 35% | 584 | 504 | 723 | 563 | 789 | New Description | 65
Mobile APP | W950-600V-R | 33619560R | 1-yr EMS Mobile App access: Annual renewal for up to 600 Sensors. | 7138 | 35% | 961 | 830 | 1190 | 927 | 1298 | New Description | 66
Mobile APP | W950-900V-R | 33619590R | 1-yr EMS Mobile App access: Annual renewal for up to 900 Sensors. | 9828 | 35% | 1323 | 1143 | 1638 | 1276 | 1787 | New Description | 65
Mobile APP | W950-1100V-R | 33619511R | 1-yr EMS Mobile APP access: Annual renewal for up 1100 Sensors. | 12720 | 35% | 1712 | 1479 | 2120 | 1652 | 2313 | New Description | 63
Software Support
Software Service | SSC107 | 33777107 | EMS Remote monitoring support by the hour, or part thereof | 1248 | 35% | 168 | 145 | 208 | 162 | 227 | New Description, Price , Discount | 59
Software Service | SSC121 | 33777121 | EMS Remote Modbus/OPC integration assistance day rate | 13836 | 0% | 1862 | 1609 | 2306 | 1797 | 2516 | New Description | 53
Software Upgrades
RadioLog: Not available. Will need to purchase EMS and start fresh
Notion Pro / Synergy / EMS to Latest EMS: Notion Pro / Synergy Notes: ►System settings and users will be imported. Database from Notion Pro and Synergy will be an available archive within EMS. Notion Pro / Synergy / Upgrade from EMS Standard to EMS Validatable ►Most previous Licenses will transfer (Users / Mobile APP) ►W901 Required for Notion Pro / Synergy / Standard to Validatable Upgrades
Remote Upgrade: Notion Pro/Synergy/existing EMS W900 to latest standard EMS W900 (A/B)
Remote Software Upgrade | SSC180 | 33619180 | Remote Upgrade: Notion Pro/Synergy/existing W900 to latest standard EMS W900 (A/B) | 4992 | 22% | 672 | 580 | 832 | 648 | 908 | New Description and Price | 82
Remote Upgrade: Notion Pro/Synergy/standard EMS/existing W906 to latest validatable EMS W906 (A/B)
►Notion Pro/Synergy/Standard EMS will need to purchase W901. ►Existing W906 customers, if W901 was already purchased it can be applied to new version
Remote Software Upgrade | SSC180V | 33619180V | Remote Upgrade: Notion Pro/Synergy/standard EMS/existing W906 to latest validatable EMS W906 (A/B) | 9984 | 22% | 1344 | 1161 | 1664 | 1297 | 1815 | New Item | 99
Download Link to update EMS to EMS:
Software Upgrade | W900-U | 33619001U | Upgrade download link: For clients to upgrade existing W900/W906 to the latest version of W900/W906 | 1130 | 22% | 152 | 131 | 188 | 147 | 205 | New Description | 99
Software Migration with Upgrades
Radiolog: Not available. Will need to purchase EMS and start fresh
Notion Pro / Synergy / EMS to Latest EMS: Notion Pro / Synergy Notes: ►System settings and users will be imported. ►Database from Notion Pro and Synergy will be an available archive within EMS. Notion Pro / Synergy / Upgrade from EMS Standard to EMS Validatable ►Most previous Licenses will transfer (Users / Mobile APP) ►W901 Required for Notion Pro / Synergy / Standard to Validatable Upgrades
Remote Migration & Upgrade: Notion Pro/Synergy/existing W900 to latest standard EMS W900 (A/B)
Remote Software Migration & Upgrade | SSC132 | 33777132 | Remote Migration & Upgrade: Notion Pro/Synergy/existing W900 to latest standard EMS W900 (A/B) | 7488 | 22% | 1008 | 871 | 1248 | 972 | 1361 | New Description & Price | 94
Remote Migration & Upgrade: Notion Pro/Synergy/existing W906 to latest validatable EMS W906 (A/B)
►Notion Pro/Synergy/Standard EMS will need to purchase W901. ►Existing W906 customers, if W901 was already purchased it can be applied to new version
Remote Software Migration & Upgrade | SSC132V | 33777132V | Remote Migration & Upgrade: Notion Pro/Synergy/existing W906 to latest validatable EMS W906 (A/B) | 12480 | 22% | 1680 | 1451 | 2080 | 1621 | 2269 | New Description & Price | 97
Hosted Servers
Initial Hosted Server
Hosted Server | W952 | 33619520 | 1-yr Cloud Hosting: EMS hosted server for systems up to 50 sensors. Initial Year | 18686 | 22% | 2515 | 2173 | 3114 | 2427 | 3397 | New Description | 80
Hosted Server | W937 | 33619370 | 1-yr Cloud Hosting: EMS hosted server for systems up to 200 sensors. Initial Year | 34464 | 22% | 4638 | 4007 | 5744 | 4476 | 6266 | New Description | 81
Hosted Server | W941 | 33619410 | 1-yr Cloud Hosting: EMS hosted server for systems up to 400 sensors. Initial Year | 42647 | 22% | 5740 | 4959 | 7108 | 5539 | 7754 | New Description | 81
Hosted Server | W945 | 33619450 | 1-yr Cloud Hosting: EMS hosted server for systems up to 600 sensors. Initial Year | 44324 | 22% | 5966 | 5154 | 7387 | 5756 | 8059 | New Description | 81
Hosted Server | W949 | 33619490 | 1-yr Cloud Hosting: EMS hosted server for systems up to 1000 sensors. Initial Year | 51226 | 22% | 6894 | 5957 | 8538 | 6653 | 9314 | New Description | 82
Hosted Server Renewal
Hosted Server | W952-R | 33619520R | 1-yr Cloud Hosting: Annual renewal for W952. EMS hosted server for up to 50 sensors. | 18686 | 22% | 2515 | 2173 | 3114 | 2427 | 3397 | New Description | 85
Hosted Server | W937-R | 33619370R | 1-yr Cloud Hosting: Annual renewal for W937. EMS hosted server for up to 200 sensors. | 34464 | 22% | 4638 | 4007 | 5744 | 4476 | 6266 | New Description | 86
Hosted Server | W941-R | 33619410R | 1-yr Cloud Hosting: Annual renewal for W941. EMS hosted server for up to 400 sensors. | 42647 | 22% | 5740 | 4959 | 7108 | 5539 | 7754 | New Description | 86
Hosted Server | W945-R | 33619450R | 1-yr Cloud Hosting: Annual renewal for W945. EMS hosted server for up to 600 sensors. | 44324 | 22% | 5966 | 5154 | 7387 | 5756 | 8059 | New Description | 86
Hosted Server | W949-R | 33619490R | 1-yr Cloud Hosting: Annual renewal for W949. EMS hosted server for up to 1000 sensors. | 51226 | 22% | 6894 | 5957 | 8538 | 6653 | 9314 | New Description | 87
Hosted Server: Rental
Cloud EMS service for up to 200 sensors. Monthly Rate Includes: ►Setting up server, installation of EMS and completion of software IQ. ►Part 11 Unlock Code ►Electronic copies of software OQ ►Electronic copies of hardware IQ/OQ (as applicable) ►Use of Hanwell's Mobile APP (Google Play Store / Apple APP Store) ►Up to 40 unique Usernames/passwords can be configured ►Closedown of server at completion of rental. ►At closedown of rental server, a backup of SQL and Archive from EMS will be provided to the Client
Hosted Server | W937M | 33619370M | 1-mo Rental: EMS hosted server for systems up to 200 sensors Monthly Rental | 2871 | 22% | 386 | 334 | 479 | 373 | 522 | New Description | 75
Hosted Server: Options
Hosted Server | W961 | 33619610 | 1-yr EMS Hosted server backups: Backed up to a customer specified 3rd party site. | 8726 | 22% | 1174 | 1015 | 1454 | 1133 | 1587 | New Description | 82

## IceSpy HW Purchase
Ellab Monitoring Solutions | [12 empty] | old Description
Parts List: IceSpy Hardware Purchase
Items continued to be produced by Ellab DK | [5 empty] | EU | DKK/£ | USD | CHF | Japan USD
Effective from 1st January 2025 | [5 empty] | 7.43 | 8.6 | 6 | 7.7 | 5.5
Category | Stock Code | Ellab Order Code | Description | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Character Count
IceSpy SSM
IceSpy SSM | IN-RTK01F0-KIT | 33408531K | IN-RTK01F0-KIT: IceSpy range testing kit. SSM Transmitter, SSM meter, & Case, F1* | 4612 | 35% | 621 | 536 | 769 | 599 | 839 | New Description | 81 | leave as current as IN # is included
IceSpy SSM | IN-RTK01F2 | 33408532 | IN-RTK01F2: IceSpy FCC range testing Kit. SSM Transmitter, SSM meter, F2* | 4070 | 0% | 548 | 473 | 678 | 529 | 740 | New Description | 73 | leave as current as IN # is included
IceSpy Calibration Kit
IceSpy Calibration Kit is no longer available. For those that already have the kit, the Calibration Transmitter is available.
Calibration Transmitter
IceSpy Transmitter | IN-PT001F1-CAL | 33429135 | IN-PT001F1-CAL: IceSpy Calibration transmitter. Single PT100. (Sensor sold separately) | 4488 | 22% | 604 | 522 | 748 | 583 | 816 |  | 86
IceSpy Probe | IN-PT143-CAL | 33467903 | IN-PT143-CAL: IceSpy PT100 probe for calibration transmitter. 100mm x 4mm tip. 3 meters of cable | 1074 | 35% | 145 | 125 | 179 | 139 | 195 |  | 96
Calibration - IceSpy | CC650 | 33772650 | IceSpy ISO17025 Calibration. Single PT100 IceSPy Reference Probe. 13 point Cal from -90 to 140°C | 2832 | 22% | 381 | 329 | 472 | 368 | 515 |  | 96
IceSpy Receiver
IceSpy Receiver | IN-NR001F1 | 33406731 | IN-NR001F1: IceSpy Network Receiver F1 | 5810 | 35% | 782 | 676 | 968 | 755 | 1056 |  | 39
IceSpy Receiver | IN-NR001F2 | 33426732 | IN-NR001F2: IceSpy FCC Network Receiver F2 915MHz | 6426 | 35% | 865 | 747 | 1071 | 835 | 1168 | New Description | 49
IceSpy Repeater
IceSpy Repeater | IN-RP002F1 | 33407731 | IN-RP002F1: IceSpy Echo repeater. F1 | 3064 | 35% | 412 | 356 | 511 | 398 | 557 |  | 36
IceSpy / HWPro ARB
IceSpy ARB | IN-NA002 | 33406202 | IN-NA002: IceSpy network alarm module | 5810 | 35% | 782 | 676 | 968 | 755 | 1056 |  | 37
IceSpy / HWPro SMS
IceSpy / HWPro SMS | IN-TA002 | 33608200 | IN-TA002: Network Text Alert (SMS module) (Australia only) | 7800 | 35% | 1050 | 907 | 1300 | 1013 | 1418 |  | 58
IceSpy / HWPro SMS | IN-TA003 | 33608203 | IN-TA003: Network Text Alert (SMS module) 4G Version - EU Version | 7800 | 35% | 1050 | 907 | 1300 | 1013 | 1418 |  | 65
IceSpy / HWPro SMS | IN-TA004 | 33608204 | IN-TA004: Network Text Alert (SMS module) 4G North America Version | 7800 | 35% | 1050 | 907 | 1300 | 1013 | 1418 |  | 66
IceSpy Transmitters
Thermistor Transmitters
Internal Thermistor
IceSpy Transmitter | IN-TH001F1 | 33424131 | IN-TH001F1: IceSpy transmitter with included internal temperature sensor | 1340 | 35% | 180 | 156 | 223 | 174 | 244 | New Description | 73
IceSpy Transmitter | IN-TH001F2 | 33424132 | IN-TH001F2: IceSpy transmitter with included internal temperature sensor | 1379 | 35% | 186 | 160 | 230 | 179 | 251 | New Description | 73
Internal Thermistor + Door
IceSpy Transmitter | IN-THD01F1 | 33423131 | IN-THD01F1: IceSpy transmitter w/ int temp sensor (incl) + door alarm sensor. Sensor sold separately | 1622 | 35% | 218 | 189 | 270 | 211 | 295 | New Description | 100 | IN-THD01F1: IceSpy transmitter w/ int temp sensor (incl) + door alarm sensor. Sensor sold separately
Internal Thermistor + External Thermistor
IceSpy Transmitter | IN-TH003F1 | 33424331 | IN-TH003F1: IceSpy transmitter. Internal temp sensor (incl), external thermistor sold separately | 1622 | 35% | 218 | 189 | 270 | 211 | 295 | New Description | 96
External Thermistor
IceSpy Transmitter | IN-TH002F1 | 33424231 | IN-TH002F1: IceSpy transmitter for single external thermistor sensor. (Sensor sold separately) | 1622 | 35% | 218 | 189 | 270 | 211 | 295 | New Description | 94
Dual External Thermistor
IceSpy Transmitter | IN-TH004F1 | 33424431 | IN-TH004F1: IceSpy transmitter for two external thermistor sensors. (Sensors sold separately) | 1809 | 35% | 243 | 210 | 302 | 235 | 329 | New Description | 93
1809
IceSpy Transmitter | IN-THD02F1 | 33423231 | IN-THD02F1: IceSpy transmitter for single ext thermistor + door sensor (Sensors sold separately) | 1809 | 35% | 243 | 210 | 302 | 235 | 329 | New Description | 96
PT100 Transmitters
External PT100
IceSpy Transmitter | IN-PT001F1 | 33429131 | IN-PT001F1: IceSpy transmitter for single PT100 sensor. (Sensor sold separately) | 2097 | 35% | 282 | 244 | 350 | 272 | 381 | New Description | 80
Dual External PT100
IceSpy Transmitter | IN-PT002F1 | 33429231 | IN-PT002F1: IceSpy transmitter for two external PT100 sensors. (Sensors sold separately) | 2329 | 35% | 313 | 271 | 388 | 302 | 423 | New Description | 88
External PT100 + Door
IceSpy Transmitter | IN-PTD01F1 | 33428131 | IN-PTD01F1: IceSpy transmitter for single PT100 + door alarm sensor (Sensors sold separately) | 2329 | 35% | 313 | 271 | 388 | 302 | 423 | New Description | 94
Thermocouple Transmitters
External Thermocouple
IceSpy Transmitter | IN-TT001F1 | 33428731 | IN-TT001F1: IceSpy transmitter for single Type-T thermocouple sensor. (Sensor sold separately) | 1735 | 35% | 234 | 202 | 289 | 225 | 315 | New Description | 94
IceSpy Transmitter | IN-TT001F2 | 33428732 | IN-TT001F2: IceSpy transmitter for single Type-T thermocouple sensor. (Sensor sold seperately) | 1746 | 35% | 235 | 203 | 291 | 227 | 317 | New Description | 94
Dual External Thermocouple
IceSpy Transmitter | IN-TT002F1 | 33428831 | IN-TT002F1: IceSpy transmitter for dual Type-T thermocouple sensors. (Sensors sold separately) | 1973 | 35% | 266 | 229 | 329 | 256 | 359 | New Description | 94
IceSpy Transmitter | IN-TT002F2 | 33428832 | IN-TT002F2: IceSpy transmitter for dual Type-T thermocouple sensors. (Sensors sold separatley) | 1973 | 35% | 266 | 229 | 329 | 256 | 359 | New Description | 94
External Thermocouple + Door
IceSpy Transmitter | IN-TTD01F1 | 33428331 | IN-TTD01F1: IceSpy transmitter for single Type-T thermocouple + door sensor. Sensors sold separately | 1973 | 35% | 266 | 229 | 329 | 256 | 359 | New Description | 100
IceSpy Transmitter | IN-TTD01F2 | 33428332 | IN-TTD01F2: IceSpy transmitter for single Type-T thermocouple + door sensor. Sensors sold separately | 1973 | 35% | 266 | 229 | 329 | 256 | 359 | New Description | 100
Relative Humidity (RH) Transmitters
IceSpy Transmitter | IN-RH001F1 | 33427131 | IN-RH001F1: IceSpy transmitter for single RH/T sensor (Sensor and extension cable sold separately) | 1735 | 35% | 234 | 202 | 289 | 225 | 315 | New Description | 98
IceSpy Transmitter | IN-RH001F2 | 33427132 | IN-RH001F2: IceSpy transmitter for single RH/T sensor (Sensor and extension cable sold separately) | 1746 | 35% | 235 | 203 | 291 | 227 | 317 | New Description | 98
Differential Pressure
IceSpy Transmitter | IN-DP-62-F1 | 33423731 | IN-DP-62-F1: ICESPY DP TRANSMITTER +/- 62PA | 8219 | 35% | 1106 | 956 | 1370 | 1067 | 1494 | New Description | 43 | IN-DP-62-F1: ICESPY DP TRANSMITTER +/- 62PA
IceSpy Transmitter | IN-DP-62-F2 | 33423762 | IN-DP-62-F2: ICESPY DP TRANSMITTER +/- 62PA | 8219 | 35% | 1106 | 956 | 1370 | 1067 | 1494 | New Description | 43 | IN-DP-62-F2: ICESPY DP TRANSMITTER +/- 62PA
IceSpy Transmitter | IN-DP-125-F1 | 33423732 | IN-DP-125-F1: ICESPY DP TRANSMITTER +/- 125PA | 11855 | 35% | 1596 | 1378 | 1976 | 1540 | 2155 | New Item | 45 | IN-DP-125-F1: ICESPY DP TRANSMITTER +/- 125PA
IceSpy Transmitter | IN-DP-125-F2 | 33423763 | IN-DP-125-F2: ICESPY DP TRANSMITTER +/- 125PA | 11855 | 35% | 1596 | 1378 | 1976 | 1540 | 2155 | New Item | 45 | IN-DP-125-F2: ICESPY DP TRANSMITTER +/- 125PA
Analog Transmitters: Current or Voltage
Dual 4-20mA
IceSpy Transmitter | IN-MA001F1 | 33426231 | IN-MA001F1: IceSpy transmitter for two 4-20mA sensors (Sensors sold separately) | 2097 | 35% | 282 | 244 | 350 | 272 | 381 | New Description | 79
IceSpy Transmitter | IN-MA001F2 | 33426232 | IN-MA001F2: IceSpy transmitter for two 4-20mA sensors (Sensors sold separately) | 2120 | 35% | 285 | 247 | 353 | 275 | 385 | New Description | 79
Dual 0-5V
IceSpy Transmitter | IN-VT002F1 | 33428531 | IN-VT002F1: IceSpy transmitter for dual 0-5V voltage sensors (Sensors sold separately) | 2097 | 35% | 282 | 244 | 350 | 272 | 381 | New Description | 86
IceSpy Transmitter | IN-VT002F2 | 33428535 | IN-VT002F2: IceSpy transmitter for dual 0-5V voltage sensors. (Sensors sold separately) | 2120 | 35% | 285 | 247 | 353 | 275 | 385 | New Description | 87
Dual 0-10V
IceSpy Transmitter | IN-VT003F1 | 33428631 | IN-VT003F1: IceSpy transmitter for dual 0-10V voltage sensors. (Sensors sold separately) | 2097 | 35% | 282 | 244 | 350 | 272 | 381 | New Description | 88
IceSpy Transport
IceSpy Transport Receiver | IN-TB001F4 | 33408234 | IN-TB001F4: IceSpy Transport base. Frequency A | 4465 | 35% | 601 | 519 | 744 | 580 | 812 | New Description | 46
IceSpy Transport Transmitter | IN-TH006FV | 33424639 | IN-TH006FV: IceSpy Transport Transmitter. Internal temperature sensor. 4 day memory | 1108 | 35% | 149 | 129 | 185 | 144 | 201 | New Description | 83
IceSpy Transport Transmitter | IN-TH010FV | 33425039 | IN-TH010FV: IceSpy Transport Transmitter. External thermistor. 4 day memory (Sensor sold Separately) | 1638 | 35% | 220 | 190 | 273 | 213 | 298 | New Description | 100
IceSpy Accessories
IceSpy / HWPro / TVP Accessory | G204 | 33184204 | G204: IceSpy / TVP NIMH 7 AAA cell replacement battery pack | 239 | 35% | 32 | 28 | 40 | 31 | 43 | New Description | 59 | G204: IceSpy / TVP NIMH 7 AAA cell replacement battery pack
IceSpy / HWPro / TVP Accessory | IN-RC | 33484672 | Access Point / Receiver alarm relay cable. Digital Output to 3rd party Digital Input | 895 | 35% | 120 | 104 | 149 | 116 | 163 | New Description | 84
IceSpy Accessory | IN-WBE | 33480923 | IN-WBE: IceSpy Base/ Repeater wall bracket extender kit | 283 | 22% | 38 | 33 | 47 | 37 | 51 | New Description | 55
IceSpy Accessory | N494 | 33485001 | N494: IceSpy Transmitter Replacement Bracket | 54 | 35% | 7 | 6 | 9 | 7 | 10 | New Description | 44
IceSpy / HWPro Accessory | P106 | 33287106 | TVP/IceSpy Differential Pressure Wall Plate | 927 | 22% | 125 | 108 | 155 | 120 | 169 | New Description | 43
IceSpy Alarm Beacons
IceSpy Accessory | IN-ABR12/24 | 33402724 | TVP / IceSpy Alarm beacon kit. Red. External power supply included. | 2120 | 22% | 285 | 247 | 353 | 275 | 385 | New Description | 67
IceSpy Accessory | IN-ABSR9/30 | 33402730 | TVP / IceSpy Alarm beacon kit w/sounder. Red. External power supply included. | 2663 | 22% | 358 | 310 | 444 | 346 | 484 | New Description | 77
IceSpy Sensors
Thermistor
IceSpy Probe | IN-TH | 33468400 | IN-TH: IceSpy Thermistor probe. Air Temperature probe. | 469 | 35% | 63 | 55 | 78 | 61 | 85 | New Description | 55
IceSpy Probe | IN-TH1000 | 33468410 | IN-TH1000: IceSpy Thermistor probe. 100mm x 4mm tip. 10.0 meters of cable. Waterproof | 910 | 35% | 122 | 106 | 152 | 118 | 165 | New Description | 85
IceSpy Probe | IN-TH150 | 33468415 | IN-TH150: IceSpy Thermistor probe. 100mm x 4mm tip. 1.5 meters of cable. | 622 | 35% | 84 | 72 | 104 | 81 | 113 | New Description | 73
IceSpy Probe | IN-TH150-P | 33468150 | IN-TH150-P: IceSpy Thermistor probe. 150mm with pointed tip. 1.5 meters of cable. | 622 | 35% | 84 | 72 | 104 | 81 | 113 | New Description | 82
IceSpy Probe | IN-TH300 | 33468420 | IN-TH300: IceSpy Thermistor probe. 100mm x 4mm tip. 3 meters of cable. | 673 | 35% | 91 | 78 | 112 | 87 | 122 | New Description | 71
IceSpy Probe | IN-TH300-3 | 33463003 | IN-TH300-3: IceSpy thermistor probe. 50mm x 3mm tip. 3 meters of cable. | 673 | 35% | 91 | 78 | 112 | 87 | 122 | New Description | 72
IceSpy Probe | IN-TH500 | 33468405 | IN-TH500: IceSpy Thermistor probe. 100mm x 4mm tip. 5 meters of cable. | 740 | 35% | 100 | 86 | 123 | 96 | 135 | New Description | 71
IceSpy Probe | IN-TH500-3 | 33468505 | IN-TH500-3: IceSpy thermistor probe. 50mm x 3mm tip. 5 meters of cable. | 740 | 35% | 100 | 86 | 123 | 96 | 135 | New Description | 73
IceSpy Probe | IN-TH150-P-WP | 33468150W | IN-TH150-P-WP: IceSpy Thermistor probe. 150mm with pointed tip. 1.5 meters of cable. Waterproof. | 791 | 35% | 106 | 92 | 132 | 103 | 144 | New Description | 96
IceSpy Probe | IN-TH150-WP | 33469701W | IN-TH150-WP: IceSpy Thermistor probe. 100mm x 4mm tip. 1.5 meters of cable. | 791 | 35% | 106 | 92 | 132 | 103 | 144 | New Description | 76
IceSpy Probe | IN-TH300-WP | 33469703W | IN-TH300-WP: IceSpy Thermistor probe. 100mm x 4mm tip. 3.0 meters of cable. Waterproof | 842 | 35% | 113 | 98 | 140 | 109 | 153 | New Description | 87
IceSpy Probe | IN-TH500-WP | 33469705W | IN-TH500-WP: IceSpy Thermistor probe. 100mm x 4mm tip. 5 meters of cable. Waterproof. | 910 | 35% | 122 | 106 | 152 | 118 | 165 | New Description | 86
PT100
IceSpy Probe | IN-PT143 | 33467803 | IN-PT143: IceSpy PT100 probe. 70mm x 4mm tip. 3 meters of cable | 966 | 35% | 130 | 112 | 161 | 125 | 176 | New Description | 63
IceSpy Probe | IN-PT1430 | 33467830 | IN-PT1430: Icespy PT100 probe. 70mm tip. 30 meters of cable. Waterproof. | 1882 | 35% | 253 | 219 | 314 | 244 | 342 | New Description | 72
IceSpy Probe | IN-PT145 | 33467805 | IN-PT145: IceSpy PT100 probe. 100mm x 4mm tip. 5 meters of cable. Waterproof. | 1035 | 35% | 139 | 120 | 173 | 134 | 188 | New Description | 78
IceSpy Probe | IN-PT1415 | 33467815 | IN-PT1415: IceSpy 70MM PT100 Temperature Probe. 15 meters of cable. | 1543 | 35% | 208 | 179 | 257 | 200 | 281 | New Description | 68
IceSpy Probe | IN-PT143-WP | 33467803W | IN-PT143-WP: IceSpy PT100 probe. 100mm x 4mm tip. 3 meters of cable. Waterproof | 1193 | 35% | 161 | 139 | 199 | 155 | 217 | New Description | 79
Thermocouple
FEP coated (Teflon)
IceSpy / HWPro Probe | J043-3-09 | 33465903 | J043-3-09: HWPro / IceSpy TC with mini-TC connector. Ultra Premium 22awg FEP Type T TC. 3m length. | 1307 | 22% | 176 | 152 | 218 | 170 | 238 | New Description | 99
IceSpy / HWPro Probe | J043-5-09 | 33465905 | J043-5-09: HWPro / IceSpy TC with mini-TC connector. Ultra Premium 22awg FEP Type T TC. 5m length. | 1483 | 22% | 200 | 172 | 247 | 193 | 270 | New Description | 98
Mineral Insulated (semi-flex material)
IceSpy / HWPro Probe | J044-3-09 | 33465403 | J044-3-09: HWPro / IceSpy TC with mini-TC connector. Mineral insulated Type T TC. 3mm x 3m length. | 783 | 22% | 105 | 91 | 131 | 102 | 142 | New Description | 99
IceSpy / HWPro Probe | J044-5-09 | 33465405 | J044-5-09: HWPro / IceSpy TC with mini-TC connector. Mineral insulated Type T TC. 3mm x 5m length. | 1033 | 22% | 139 | 120 | 172 | 134 | 188 | New Description | 99 | not available in V16
Relative Humidity
IceSpy Probe | IN-HUM-V2 | 33467401 | IN-HUM-V2: IceSpy Temperature & Humidity sensor V2 | 947 | 35% | 127 | 110 | 158 | 123 | 172 | New Description | 50
IceSpy Accessory | IN-EXT150 | 33483150 | IN-EXT150: 150cm extension cable for IceSpy IN-HUM-V2 RH & T sensor | 582 | 35% | 78 | 68 | 97 | 76 | 106 | New Description | 67
CO2
IceSpy Probe | IN-CO2-10 | 33462210 | IN-CO2-10: IceSpy CO2 10% Assembly with 1.5m cable. W/ Vaisala factory cal certificate | 8199 | 10% | 1103 | 953 | 1367 | 1065 | 1491 | New Description | 86
IceSpy Probe | IN-CO2-10-3 | 33462210A | IN-CO2-10-3: IceSpy CO2 10% Assembly with 3 meters of cable. W/ Vaisala factory cal certificate | 8199 | 10% | 1103 | 953 | 1367 | 1065 | 1491 | New Description | 95
Door
IceSpy Probe | IN-DC001 | 33483213 | IN-DC001: IceSpy light-weight door sensor with 3 meters cable | 627 | 35% | 84 | 73 | 105 | 81 | 114 | New Description | 61
IceSpy Probe | IN-DC002 | 33483223 | IN-DC002: IceSpy medium duty door sensor with 3 meters of cable | 848 | 35% | 114 | 99 | 141 | 110 | 154 | New Description | 63
Analog: Current or Voltage
IceSpy Probe | IN-LSC0.5 | 33485720 | IN-LSC0.5: IceSpy 0.5 meter analogue connection cable | 186 | 35% | 25 | 22 | 31 | 24 | 34 | New Description | 53
IceSpy Probe | IN-LSC3.0 | 33485723 | IN-LSC3.0: IceSpy 3 meter analogue connection cable | 266 | 35% | 36 | 31 | 44 | 35 | 48 | New Description | 51
Airflow Requires IceSpy Transmitter with 0-5V capabilities Requires IceSpy IN-LSC0.5 or IN-LSC3.0 connection cables
IceSpy Probe | IN-AF05MS | 33466705 | IN-AF05MS: Airflow sensor. 0-5m/s, w/external AC/DC power supply | 4226 | 22% | 569 | 491 | 704 | 549 | 768 | Reinstated | 64
IceSpy Probe | IN-AF10MS | 33466710 | IN-AF10MS: IceSpy airflow sensor. 0-10m/s, w/external AC/DC power supply | 4226 | 22% | 569 | 491 | 704 | 549 | 768 | Reinstated | 72
IceSpy Probe | IN-AF20MS | 33466720 | IN-AF20MS: IceSpy airflow sensor. 0-20m/s, w/external AC/DC power supply | 4226 | 22% | 569 | 491 | 704 | 549 | 768 | Reinstated | 72
Other Requires IceSpy Transmitter with 0-5V capabilities Requires IceSpy IN-LSC0.5 or IN-LSC3.0 connection cables
IceSpy / HWPro Probe | J091 | 33265091 | J091: Power Sensor. CT Split Core 3 Range 0-30, 0-60 & 0-120A Sensor | 1086 | 22% | 146 | 126 | 181 | 141 | 197 | New Description | 68
Frequencies*:
* F1 is 433-434MHz- Rest of the World (ROW)
* F2 is 902-928MHz for USA, Canada
Note on E86: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Includes: Mounting bracket. 4m cable to connect to AP. External power supply.
Note on E87: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Includes: Mounting bracket. 4m cable to connect to AP. External power supply.

## HWPro HW Purchase
Ellab Monitoring Solutions
Parts List: HWPro Hardware Purchase
Items continued to be produced by Ellab DK | [5 empty] | EU | DKK/£ | USD | CHF | Japan USD
Effective from 1st January 2025 | [5 empty] | 7.43 | 8.6 | 6 | 7.7 | 5.5
Category | Stock Code | Ellab Order Code | Description | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Character Count
HWPro SSM
HWPro Receiver
HWPro Repeater
IceSpy / HWPro ARB
IceSpy ARB | IN-NA002 | 33406202 | IN-NA002: IceSpy network alarm module | 5810 | 35% | 782 | 676 | 968 | 755 | 1056 |  | 37
IceSpy / HWPro SMS
IceSpy / HWPro SMS | IN-TA002 | 33608200 | IN-TA002: Network Text Alert (SMS module) (Australia only) | 7800 | 35% | 1050 | 907 | 1300 | 1013 | 1418 |  | 58
IceSpy / HWPro SMS | IN-TA003 | 33608203 | IN-TA003: Network Text Alert (SMS module) 4G Version - EU Version | 7800 | 35% | 1050 | 907 | 1300 | 1013 | 1418 |  | 65
IceSpy / HWPro SMS | IN-TA004 | 33608204 | IN-TA004: Network Text Alert (SMS module) 4G North America Version | 7800 | 35% | 1050 | 907 | 1300 | 1013 | 1418 |  | 66
HWPro Transmitters
HWPro Accessories
IceSpy / HWPro / TVP Accessory | G204 | 33184204 | NIMH 7 AAA cell replacement battery pack. TVP Access Point, IceSpy Receiver, SMS Uni | 239 | 35% | 32 | 28 | 40 | 31 | 43 |  | 84
IceSpy Accessory | IN-RC | 33484672 | Access Point / Receiver alarm relay cable. Digital Output to 3rd party Digital Input | 895 | 35% | 120 | 104 | 149 | 116 | 163 |  | 84
IceSpy Accessory | IN-WBE | 33480923 | IN-WBE: IceSpy Base/ Repeater wall bracket extender kit | 283 | 22% | 38 | 33 | 47 | 37 | 51 |  | 55
IceSpy Accessory | N494 | 33485001 | N494: IceSpy Transmitter Replacement Bracket | 54 | 35% | 7 | 6 | 9 | 7 | 10 |  | 44
IceSpy / HWPro Accessory | P106 | 33287106 | TVP/IceSpy Differential Pressure Wall Plate | 927 | 22% | 125 | 108 | 155 | 120 | 169 | New Description | 43
HWPro Sensors
Thermistor
HWPro Probe | Y300 | 33263025 | Y300: Thermistor Probe 25 MM Mounted IN 2 PIN LEMO | 652 | 35% | 88 | 76 | 109 | 85 | 119 |  | 50
HWPro Probe | Y300-80 | 33263080 | Y300-80: Thermistor Probe 80 MM Mounted IN 2 PIN LEMO | 759 | 35% | 102 | 88 | 127 | 99 | 138 |  | 53
HWPro Probe | J095-10-05 | 33269510 | J095-10-05: HWPro Thermistor probe. 100mm X 4mm tip. 10 meters of cable. 2 PIN LEMO connector. | 1531 | 35% | 206 | 178 | 255 | 199 | 278 |  | 95
HWPro Probe | J095-15-05 | 33269515 | J095-15-05: HWPro Thermistor probe. 100mm X 4mm tip. 15 meters of cable. 2 PIN LEMO connector. | 1997 | 35% | 269 | 232 | 333 | 259 | 363 |  | 95
HWPro Probe | J095-3-05 | 33269503 | J095-3-05: HWPro Thermistor probe 100mm X 4mm tip. 3 meters of cable. 2 PIN LEMO connector. | 923 | 35% | 124 | 107 | 154 | 120 | 168 |  | 93
HWPro Probe | J095-5-05 | 33269504 | J095-5-05: HWPro Thermistor probe. 100mm X 4mm. 5 meters of cable. 2 PIN LEMO connector. | 989 | 35% | 133 | 115 | 165 | 128 | 180 |  | 89
HWPro Probe | J254-3-05 | 33262403 | J254-3-05: HWPro Thermistor probe. 50mm X 3mm tip. 3 meters of cable. 2 PIN LEMO connector. | 879 | 35% | 118 | 102 | 147 | 114 | 160 |  | 91
HWPro Probe | J254-5-05 | 33265405 | J254-5-05: HWPro Thermistor probe. 50mm X 5mm tip. 3 meters of cable. 2 PIN LEMO connector. | 942 | 35% | 127 | 110 | 157 | 122 | 171 |  | 92
PT100
HWPro Probe | J094-10-01 | 33269410 | J094-10-01: HWPro PT100 probe. TF Class A PT100 sensor. 70mm X 4mm tip. 10m cable. 5 pin LEMO. | 1670 | 35% | 225 | 194 | 278 | 217 | 304 |  | 95
HWPro Probe | J094-15-01 | 33269415 | J094-15-01: HWPro PT100 probe. TF Class A PT100 sensor. 70mm X 4mm tip. 15m cable. 5 pin LEMO. | 1990 | 35% | 268 | 231 | 332 | 258 | 362 |  | 95
HWPro Probe | J237-3-01 | 33262703 | J237-3-01: HWPro PT100 probe. WW Probe. 70mm X 4mm tip. 3 meters of cable. 5 PIN Lemo connector. | 1306 | 35% | 176 | 152 | 218 | 170 | 237 |  | 97
HWPro Probe | J237-5-01 | 33263705 | J237-5-01: HWPro PT100 probe. WW Probe. 70mm X 4mm tip. 5 meters of cable. 5 PIN LEMO connector. | 1381 | 35% | 186 | 161 | 230 | 179 | 251 |  | 97
HWPro Probe | J237-5-01-WP | 33262705W | J237-5-01-WP: HWPro PT100 probe. WW Probe. 70mm X 4mm. 5 meters of cable. 5 pin LEMO. Waterproof | 1570 | 35% | 211 | 183 | 262 | 204 | 285 |  | 96
PT1000
HWPro Probe | J182-3-03 | 33268233 | J182-3-03: HWPro PT1000 probe. TF Class A 70mm X 4mm tip. 3 meters of cable. Bare ends connector. | 656 | 35% | 88 | 76 | 109 | 85 | 119 |  | 98
Thermocouple
IceSpy / HWPro Probe | J043-3-09 | 33465903 | J043-3-09: HWPro / IceSpy TC with mini-TC connector. Ultra Premium 22awg FEP Type T TC. 3m length. | 1307 | 22% | 176 | 152 | 218 | 170 | 238 |  | 99
IceSpy / HWPro Probe | J043-5-09 | 33465905 | J043-5-09: HWPro / IceSpy TC with mini-TC connector. Ultra Premium 22awg FEP Type T TC. 5m length. | 1483 | 22% | 200 | 172 | 247 | 193 | 270 |  | 98
IceSpy / HWPro Probe | J044-3-09 | 33465403 | J044-3-09: HWPro / IceSpy TC with mini-TC connector. Mineral insulated Type T TC. 3mm x 3m length. | 783 | 22% | 105 | 91 | 131 | 102 | 142 |  | 99
IceSpy / HWPro Probe | J044-5-09 | 33465405 | J044-5-09: HWPro / IceSpy TC with mini-TC connector. Mineral insulated Type T TC. 3mm x 5m length. | 1033 | 22% | 139 | 120 | 172 | 134 | 188 |  | 99
Relative Humidity
HWPro Probe | J223 | 33262230 | J223: HWPro Humdity probe. EE07 RH/T Probe Suitable For Outdoor Use. | 2976 | 22% | 401 | 346 | 496 | 386 | 541 |  | 69
HWPro Probe | J140 | 33261400 | J140: HWPro Humidity probe. EE07 RH/T Probe | 1739 | 22% | 234 | 202 | 290 | 226 | 316 |  | 43
HWPro Probe | Y421-1 | 33284201 | Y421-1: HWPro extension cable for EE07 probes. 1 meter cable length. | 590 | 35% | 79 | 69 | 98 | 77 | 107 |  | 69
HWPro Probe | Y421-3 | 33284203 | Y421-3: HWPro extension cable for EE07 Probe. 3 meters of cable. | 590 | 35% | 79 | 69 | 98 | 77 | 107 |  | 65
HWPro Probe | Y421-5 | 33284205 | Y421-5: HWPro extension cable for EE07 probe. 5 meters of cable. | 590 | 35% | 79 | 69 | 98 | 77 | 107 |  | 65
CO2
HWPro Probe | J247-10-02 | 33262710 | J247-10-02: HWPro CO2 probe. 0-10% 1.5M Cable for use with RL4512 - Includes Calibration Certificate | 8133 | 10% | 1095 | 946 | 1356 | 1056 | 1479 |  | 100
HWPro Accessory | J247-CAB-3 | 33265347 | 3-meter cable for Vaisala CO2 sensor. To be used with Hanwell Pro transmitters. | 2132 | 10% | 287 | 248 | 355 | 277 | 388 |  | 81
HWPro Accessory | J247-CAB-5 | 33265547 | 5-meter cable for Vaisala CO2 sensor. To be used with Hanwell Pro transmitters. | 2341 | 10% | 315 | 272 | 390 | 304 | 426 |  | 81
Door
HWPro Probe | DC001 | 33283213 | DC001: HWPro light-weight door sensor with 3 meters of cable | 798 | 22% | 107 | 93 | 133 | 104 | 145 |  | 60
HWPro Probe | DC002 | 33283223 | DC002: HWPro medium duty door sensor with 3 meters of cable. | 1048 | 22% | 141 | 122 | 175 | 136 | 191 |  | 60
Analog: Current or Voltage
Airflow
Other
IceSpy / HWPro Probe | J091 | 33265091 | J091: Power Sensor. CT Split Core 3 Range 0-30, 0-60 & 0-120A Sensor | 1086 | 22% | 146 | 126 | 181 | 141 | 197 |  | 68
Note on E35: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not suitable for use with LN2

## Calibrations
Ellab Monitoring Solutions
Parts List: In-House Calibrations
IceSpy Calibrations: Performed in Denmark (If accredited, accredited to DANAK)
HWPro Calibrations: Performed in Italy (If accredited, accredited to ACCREDIA)
*Some calibration points may vary depending on where the calibration is taking place. | [5 empty] | EU | DKK/£ | USD | CHF | Japan USD
Effective from 1st January 2025 | [5 empty] | 7.43 | 8.6 | 6 | 7.7 | 5.5
Category | Stock Code | Ellab Order Code | Description | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Character Count
IceSpy Calibrations
Thermistor
Applies To: IN-TH001/IN-THD01
Calibration - IceSpy | CC713 | 33772713 | IceSpy Calibration. Internal Thermistor. Std Points: -25, 0, 45C | 672 | 22% | 90 | 78 | 112 | 87 | 122 | New Description | 65
Calibration - IceSpy | CC813 | 33772813 | IceSpy ISO17025 Calibration. Internal Thermistor. Std Points: -25, 0, 45C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Description | 74
Applies To: IN-TH002
Calibration - IceSpy | CC715 | 33772715 | IceSpy Calibration. Single Thermistor. Std Points: -35, -10, 5, 45, 90C | 672 | 22% | 90 | 78 | 112 | 87 | 122 | New Description | 72
Calibration - IceSpy | CC815 | 33772815 | IceSpy ISO17025 Calibration. Single Thermistor. Std Points: -35, -10, 5, 45, 90C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Description | 81
Applies To: IN-TH003
Calibration - IceSpy | CC717 | 33772717 | IceSpy Cal. Int Temp Std Points: -25, 0, 45C Ext Temp Std Points: -35, -10, 0, 45, 90C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Description | 88
Calibration - IceSpy | CC817 | 33772817 | IceSpy ISO17025 Cal. Int Temp Std Pts: -25, 0, 45C Ext Temp Std Pts: -35, -10, 0, 45, 90C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Description | 90
Applies To: IN-TH004
Calibration - IceSpy | CC727 | 33772727 | IceSpy Calibration. Dual Thermistor. Std Points: -35, -10, 5, 45, 90C | 1023 | 22% | 138 | 119 | 171 | 133 | 186 | New Description | 70
Calibration - IceSpy | CC827 | 33772827 | IceSpy ISO17025 Calibration. Dual Thermistor. Std Points: -35, -10, 5, 45, 90C | 1813 | 22% | 244 | 211 | 302 | 235 | 330 | New Description | 79
PT100
Applies To: IN-PT001 / IN-PTD01
Calibration - IceSpy / HWPro | CC711 | 33772711 | IceSpy / HWPro Calibration. Single PT100. Std Points: -85, -35, 5, 45, 90C | 672 | 22% | 90 | 78 | 112 | 87 | 122 | New Description | 75
Calibration - IceSpy / HWPro | CC811 | 33772811 | IceSpy / HWPro ISO17025 Calibration. Single PT100. Std Points: -85, -35, 5, 45, 90C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Description | 84
Applies To: IN-PT002
Calibration - IceSpy / HWPro | CC721 | 33772721 | IceSpy / HWPro Calibration. Dual PT100. Std Points: -85, -35, 5, 45, 90C | 1023 | 22% | 138 | 119 | 171 | 133 | 186 | New Description | 73
Calibration - IceSpy / HWPro | CC821 | 33772821 | IceSpy/HWPro ISO17025 Calibration. Dual PT100. Std Points: -85, -35, 5, 45, 90C | 1813 | 22% | 244 | 211 | 302 | 235 | 330 | New Description | 80
Thermocouple
Applies To: IN-TT001 / IN-TTD01
Calibration - IceSpy | CC786 | 33772786 | IceSpy Calibration. Single thermocouple process calibration. Std Points: -200, -100, 0, 125, 300C | 661 | 22% | 89 | 77 | 110 | 86 | 120 | New Description | 99
Applies To: IN-TT002
Calibration - IceSpy | CC787 | 33772787 | IceSpy Calibration. Dual thermocouple process calibration. Std Points: -200, -100, 0, 125, 300C | 970 | 22% | 131 | 113 | 162 | 126 | 176 | New Description | 97
Relative Humidity (RH)
Applies To: IN-RH001
Calibration - IceSpy | CC723 | 33772723 | IceSpy Calibration. Temp/RH. Std temp Pts: -25, 10, 45C Sts RH Pts: 10, 50, & 90% (at Ambient) | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Description | 95
Calibration - IceSpy | CC823 | 33772823 | IceSpy ISO17025 Cal. Temp/RH Std temp Pts: -25, 10, 45C Std RH Pts: 10, 50, & 90% (at Ambient) | 2164 | 22% | 291 | 252 | 361 | 281 | 393 | New Description | 94
Differential Pressure
Applies To: IN-DP-62
Calibration - IceSpy / HWPro | CC763 | 33772763 | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -50, 0, +50 Pascal | 853 | 22% | 115 | 99 | 142 | 111 | 155 | New Description | 87
Analog: Current or Voltage
Applies To: IN-MA001
Calibration - IceSpy / HWPro | CC759 | 33772759 | IceSpy / HWPro Calibration. Dual 4-20 Milliamp (mA). Std Points: 4, 12, 20mA | 650 | 22% | 87 | 76 | 108 | 84 | 118 | New Description | 77
Applies To: IN-VT001
Calibration - IceSpy / HWPro | CC760 | 33772760 | IceSpy / HWPro Calibration. Dual 0-1 Volts (V). Std Points: 0, 500, 1000mV | 650 | 22% | 87 | 76 | 108 | 84 | 118 | New Description | 76
Applies To: IN-VT002
Calibration - IceSpy / HWPro | CC761 | 33772761 | IceSpy / HWPro Calibration. Dual 0-5 Volts (V). Std Points: 0, 2500, 5000mV | 650 | 22% | 87 | 76 | 108 | 84 | 118 | New Description | 76
Applies To: IN-VT003
Calibration - IceSpy / HWPro | CC762 | 33772762 | IceSpy / HWPro Calibration. Dual 0-10 Volts (V). Std Points: 0, 5000, 10000mV | 650 | 22% | 87 | 76 | 108 | 84 | 118 | New Description | 78
HWPro Calibrations
Thermistor
Applies To: RL1001 / RL4007
Calibration - HWPro | CC726 | 33771726 | HWPro Calibration. Single Temp Channel. Std Points: -15, 15, 55C | 711 | 22% | 96 | 83 | 119 | 92 | 129 | New Description | 65
Calibration - HWPro | CC826 | 33771826 | HWPro ISO17025 Calibration. RL1001/2 Temp Single Channel. Std Points: -15, 15, 55C | 1353 | 22% | 182 | 157 | 226 | 176 | 246 | New Description | 82
Applies To: RL4001 / RL4012 / RL4116 / RL4413-DU
Calibration - HWPro | CC710 | 33772710 | HWPro Calibration. Single Thermistor. Std Points: -35, -10, 10, 30, 55C | 711 | 22% | 96 | 83 | 119 | 92 | 129 | New Description | 72
Calibration - HWPro | CC810 | 33772810 | HWPro ISO17025 Calibration. Single Thermistor. Std Points: -35, -10, 10, 30, 55C | 1353 | 22% | 182 | 157 | 226 | 176 | 246 | New Description | 81
Applies To: RL4002
Calibration - HWPro | CC720 | 33772720 | HWPro Calibration. Dual Thermistor. Std Points: -35, -10, 10, 30, 55C | 1082 | 22% | 146 | 126 | 180 | 141 | 197 | New Description | 70
Calibration - HWPro | CC820 | 33772820 | HWPro ISO17025 Calibration. Dual Thermistor. Std Points: -35, -10, 10, 30, 55C | 1917 | 22% | 258 | 223 | 320 | 249 | 349 | New Description | 79
PT100
Applies To: RL4021-DU / RL4401 / RL4410 /
Calibration - IceSpy / HWPro | CC711 | 33772711 | IceSpy / HWPro Calibration. Single PT100. Std Points: -85, -35, 5, 45, 90C | 672 | 22% | 90 | 78 | 112 | 87 | 122 | New Description | 75
Calibration - IceSpy / HWPro | CC811 | 33772811 | IceSpy / HWPro ISO17025 Calibration. Single PT100. Std Points: -85, -35, 5, 45, 90C | 1279 | 22% | 172 | 149 | 213 | 166 | 233 | New Description | 83
Applies To: RL4402
Calibration - IceSpy / HWPro | CC721 | 33772721 | IceSpy / HWPro Calibration. Dual PT100. Std Points: -85, -35, 5, 45, 90C | 1023 | 22% | 138 | 119 | 171 | 133 | 186 | New Description | 72
Calibration - IceSpy / HWPro | CC821 | 33772821 | IceSpy/HWPro ISO17025 Calibration. Dual PT100. Std Points: -85, -35, 5, 45, 90C | 1813 | 22% | 244 | 211 | 302 | 235 | 330 | New Description | 79
PT1000
Calibration - HWPro | CC712 | 33772712 | HWPro Calibration. Single PT1000. Std Points: -85, -35, 5, 45, 90C | 711 | 22% | 96 | 83 | 119 | 92 | 129 | New Description | 67
Calibration - HWPro | CC812 | 33772812 | HWPro ISO17025 Calibration. Single PT1000. Std Points: -85, -35, 5, 45, 90C | 1353 | 22% | 182 | 157 | 226 | 176 | 246 | New Description | 76
Calibration - HWPro | CC722 | 33772722 | HWPro Calibration. Dual PT1000. Std Points: -85, -35, 5, 45, 90C | 1082 | 22% | 146 | 126 | 180 | 141 | 197 | New Description | 65
Calibration - HWPro | CC822 | 33772822 | HWPro ISO17025 Calibration. Dual PT1000. Std Points: -85, -35, 5, 45, 90C | 1917 | 22% | 258 | 223 | 320 | 249 | 349 | New Description | 74
Thermocouple
Applies To: RL4901 / RL4902 / RL4904
Calibration - HWPro | CC788 | 33772788 | HWPro Calibration. TC process calibration. Std Points: -200, -100, 0, 50, 200C | 700 | 22% | 94 | 81 | 117 | 91 | 127 | New Description | 79
Applies To: RL4903
Calibration - HWPro | CC789 | 33772789 | HWPro Calibration. High Temp TC process calibration. Std Points: -50, -0, 100, 200, 350C | 700 | 22% | 94 | 81 | 117 | 91 | 127 | New Description | 89
Relative Humidity (RH)
Applies To: RL4007 / RL4106 / RL4107 / RL4108 / ML4007 / ML4106 / ML4108 / ML4109 Integrated and directly attached Temp/RH sensor
Calibration - HWPro | CC725 | 33772725 | HWPro Calibration. Std temp Pts: -15, 15, 55C Std RH Pts: 10, 50 & 90% (at Ambient) | 1353 | 22% | 182 | 157 | 226 | 176 | 246 | New Description | 85
Calibration - HWPro | CC825 | 33772825 | HWPro ISO17025 Cal. Std temp Pts: -15, 15, 55C Std RH Pts: 10, 50 & 90% (at Ambient) | 2289 | 22% | 308 | 266 | 382 | 297 | 416 | New Description | 86
Applies To: Rotronic RH Units (RL4111 / RL4114 / ML4111 / ML4114) and E&E Units (RL4115 / RL4116 / RL4413-DU / ML4115 / ML4116)
Calibration - HWPro | CC714 | 33772714 | HWPro Cal. Temp/RH Std Temp Pts: -35, 10, 55C Std RH Pts: 10, 50 & 90% (at Ambient) | 1353 | 22% | 182 | 157 | 226 | 176 | 246 | New Description | 83
Calibration - HWPro | CC814 | 33772814 | HWPro ISO17025 Cal. Temp/RH Std Temp Pts: -15, 10, 40C Std RH Pts: 10, 50 & 90% (at Ambient) | 2289 | 22% | 308 | 266 | 382 | 297 | 416 | New Description | 93
Applies To: RL4112
Calibration - HWPro | CC716 | 33772716 | HWPro Calibration. Temp/RH Std Temp Pts: -45, 0, 90C Std RH Pts: 10, 50 & 90% (at Ambient) | 1353 | 22% | 182 | 157 | 226 | 176 | 246 | New Description | 91
Calibration - HWPro | CC816 | 33772816 | HWPro ISO17025 Cal. Temp/RH Std Temp Pts: -45, 0, 90C Std RH Pts: 10, 50 & 90% (at Ambient) | 2289 | 22% | 308 | 266 | 382 | 297 | 416 | New Description | 91
Applies To: RL4116. Covers both the Thermistor and the E&E T/RH sensor
Calibration - HWPro | CC736 | 33772736 | HWPro Calibration Std Temp Pts: -35, 5, 55C Std RH Pts: 10, 50 & 90% (at Ambient) | 2816 | 22% | 379 | 327 | 469 | 366 | 512 | New Description | 82
Calibration - HWPro | CC836 | 33772836 | HWPro ISO17025 Calibration Std Temp Pts: -35, 5, 55C Std RH Pts: 10, 50 & 90% (at Ambient) | 3337 | 22% | 449 | 388 | 556 | 433 | 607 | New Description | 90
Carbon Dioxide (CO2)
Applies To: RL4021
Calibration - IceSpy / HWPro | CC782 | 33772782 | IceSpy / HWPro Calibration. Carbon Dioxide (CO2). Std Points: 0, 5, 7.5, 10% CO2 | 1800 | 22% | 242 | 209 | 300 | 234 | 327 | New Description & New price | 81
Calibration - IceSpy / HWPro | CC793 | 33772828 | IceSpy / HWPro Calibration. Carbon Dioxide (CO2). Std Points: 0, 5, 10, 15, 20% CO2 | 1800 | 22% | 242 | 209 | 300 | 234 | 327 | New Description & New price | 85
Differential Pressure
Applies To: RL4509 / RL4509-DU
Calibration - IceSpy / HWPro | CC763 | 33772763 | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -50, 0, +50 Pascal | 853 | 22% | 115 | 99 | 142 | 111 | 155 | New Description | 87
Calibration - IceSpy / HWPro | CC763-IWG | 33772763W | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -0.20, 0, +0.20 IWG | 828 | 22% | 111 | 96 | 138 | 108 | 151 | New Description | 88
Calibration - IceSpy / HWPro | CC764 | 33772764 | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -100, 0, +100 Pascal | 853 | 22% | 115 | 99 | 142 | 111 | 155 | New Description | 89
Calibration - IceSpy / HWPro | CC764-IWG | 33772764W | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -0.40, 0, +0.40 IWG | 828 | 22% | 111 | 96 | 138 | 108 | 151 | New Description | 88
Applies To: RL4502
Calibration - IceSpy / HWPro | CC765 | 33772765 | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -1250, 0, +1250 Pascal | 853 | 22% | 115 | 99 | 142 | 111 | 155 | New Description | 91
Calibration - IceSpy / HWPro | CC765-IWG | 33772765W | IceSpy / HWPro Calibration. Differential Pressure (DP). Std Points: -5.0, 0, +5.0 IWG | 828 | 22% | 111 | 96 | 138 | 108 | 151 | New Description | 86
Analog: Current or Voltage
Applies To: RL4810
Calibration - IceSpy / HWPro | CC761 | 33772761 | IceSpy / HWPro Calibration. Dual 0-5 Volts (V). Std Points: 0, 2500, 5000mV | 650 | 22% | 87 | 76 | 108 | 84 | 118 | New Description | 76
Applies To: RL4809
Calibration - IceSpy / HWPro | CC759 | 33772759 | IceSpy / HWPro Calibration. Dual 4-20 Milliamp (mA). Std Points: 4, 12, 20mA | 650 | 22% | 87 | 76 | 108 | 84 | 118 | New Description | 77
Additional Calibrations
Temperature
Calibration - IceSpy / HWPro | CC718 | 33772718 | IceSpy / HWPro Calibration: Extra Temp Point: Between -90 and +150C | 201 | 22% | 27 | 23 | 34 | 26 | 37 | New Description & New Price | 68
Calibration - IceSpy / HWPro | CC818 | 33772818 | IceSpy / HWPro ISO17025 Calibration. Extra Temp Point: Between -90 and +150C | 278 | 22% | 37 | 32 | 46 | 36 | 51 | New Description & New Price | 77
Relative Humidity
Calibration - IceSpy / HWPro | CC709 | 33772709 | IceSpy / HWPro Calibration. Relative Humidity (RH). Std RH Pts: 10, 50 & 90% (at Ambient) | 842 | 22% | 113 | 98 | 140 | 109 | 153 | New Description | 90
Calibration - IceSpy / HWPro | CC809 | 33772809 | IceSpy / HWPro ISO17025 Calibration. Relative Humidity (RH). Std RH Pts: 10, 50 & 90% (at Ambient) | 1620 | 22% | 218 | 188 | 270 | 210 | 295 | New Description | 98
Calibration - IceSpy / HWPro | CC719 | 33772719 | IceSpy / HWPro Calibration. Extra RH Point: Between 10 and 90% (at Ambient) | 211 | 22% | 28 | 25 | 35 | 27 | 38 | New Description & New Price | 76
Calibration - IceSpy / HWPro | CC819 | 33772819 | IceSpy / HWPro ISO17025 Calibration. Extra RH Point: Between 11 and 85% (at Ambient) | 309 | 22% | 42 | 36 | 52 | 40 | 56 | New Description | 85
Thermocouple
Calibration - IceSpy / HWPro | CC757 | 33771757 | IceSpy / HWPro Calibration. Single Channel Process Calibration. Standard Point: -196C | 650 | 22% | 87 | 76 | 108 | 84 | 118 | New Description | 85
What do you get with Accredited Calibration:
- Calibration is conducted by using ISO 17025 accredited process and qualified personnel
- ISO 17025 is a globally recognized certification
- Provides customer with measurement of uncertainty

## Calibration Points (hidden)
Hanwell Standard Cal Code Date: 3rd April 2022 | Ver 10.0
Part Number | Ellab Part Number | Part Description |  | Bottom |  | Middle |  | Top
CC709 | 33772709 | Humidity 3 points | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC710 | 33772710 | TEMP THERMISTOR 1 CHANNEL 5 POINTS PER CHANNEL | Thermistor Hanwell Pro | -35 | -10 | 10 | 30 | 55
CC715 | 33772715 | TEMP THERMISTOR 1 CHANNEL 5 POINTS PER CHANNEL | Thermistor Icespy | -35 | -10 | 5 | 45 | 90
CC711 | 33772711 | PT100 1 CHANNEL 5 POINTS PER CHANNEL | PT100 Pro/IceSpy | -85 | -35 | 5 | 45 | 90
CC712 | 33772712 | PT1000 1 CHANNEL 5 POINTS PER CHANNEL | PT1000 Pro | -85 | -35 | 5 | 45 | 90
CC713 | 33772713 | IN-TH001xx/IN-THD01 THERM 1 CHANNEL 3 POINTS PER CHANNEL | Icespy IN-TH001 / IN-THD01/ IN-WT001F1 | -25 |  | 0 |  | 45
CC726 | 33772726 | RL1001/2 3 POINT CALIBRATION | RL1001/2 | -15 |  | 15 |  | 55
CC790 | 33772790 | iSense temp calibration 1 channel | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC791 | 33772791 | iSense temp calibration 2 channels | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC792 | 33772792 | iSense temp calibration 2 channels | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC717 | 33772717 | IN-TH003 Themistor IN & Ext | Icespy IN-TH003xx Internal 3 points | -25 |  | 0 |  | 45
|  |  | External 5 points | -35 | -10 | 0 | 45 | 90
CC714 | 33772714 | RL4111/4/5-IS01-BN -TEMP/RH 3 POINTS PER CHANNEL | RL4111/4/5-IS01-BN- Temp | -35 |  | 10 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC716 | 33772716 | RL4112 TEMP/RH 3 POINTS PER CHANNEL | RL4112 Temp - (N.B Cannot Adjust Temp , Humidity Adjustable) | -45 |  | 0 |  | 90
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC725 | 33772725 | RL4106/7/8/9 TEMP/RH 3 POINTS PER CHANNEL | RL4106/7/8/9 | -15 |  | 15 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC718 | 33772718 | TEMP EXTRA POINT Between -90 and +150 ( -200 to +300 for process cal) | Defined by Customer
CC719 | 33772719 | RH EXTRA POINT (Between 11 to 85%, between 0 +60 ) | Defined by Customer Calibrated at 22.5oC +/-2.5
CC720 | 33772720 | TEMP THERMISTOR 2 CHANNEL 5 POINTS PER CHANNEL | Thermistor Hanwell Pro | -35 | -10 | 10 | 30 | 55
CC727 | 33772727 | TEMP THERMISTOR 2 CHANNEL 5 POINTS PER CHANNEL | Thermistor Icespy | -35 | -10 | 5 | 45 | 90
CC721 | 33772721 | PT100 2 CHANNEL 5 POINTS PER CHANNEL | PT100 Pro/IceSpy | -85 | -35 | 5 | 45 | 90
CC722 | 33772722 | PT1000 2 CHANNEL 5 POINTS PER CHANNE | PT1000 Pro | -85 | -35 | 5 | 45 | 90
CC723 | 33772723 | IN-HUM TEMP/RH 3 POINTS | IN-HUM-xx ( IN-RH00x) | -25 |  | 10 |  | 45
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC734 | 33772734 | RF Bug / Humbug THERM 1 CHANNEL 3 POINTS PER CHANNEL | RF Bug /Humbug | -5 |  | 25 |  | 50
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC735 | 33772735 | 43792-H (transport logger int therm) 1 CHANNEL 5 POINTS PER CH' | 43792-TR 43792-H -RL407 RL401 RL410 | -5 | 10 | 25 | 35 | 50
CC736 | 33772736 | RL4116 Themistor IN & Ext | RL4116 External 5 points | -35 |  | 5 |  | 55
|  |  | J140 Humidity Probe External points | -35 |  | 5 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC786 | 33772786 | Thermocuple Process Cal Single Channel | IN-TT001 / IN-TTD01 | -200 | -100 | 0 | 125 | 300
CC787 | 33772787 | Thermocuple Process Cal Dual channel | IN-TT002 | -200 | -100 | 0 | 125 | 300
CC788 | 33772788 | Thermocouple Process cal | RL4901 | -200 | -100 | 0 | 50 | 200
CC789 | 33772789 | Thermocouple Process cal | RL4903 | -50 | 0 | 100 | 200 | 350
CC809 | 33772809 | UKAS Humidity3 Points | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC810 | 33772810 | UKAS TEMP THERM 1 CHANNEL 5 POINTS PER CHANNEL | Thermistor Hanwell Pro | -35 | -10 | 10 | 30 | 55
CC815 | 33772815 | TEMP THERMISTOR 1 CHANNEL 5 POINTS PER CHANNEL | Thermistor Icespy | -35 | -10 | 5 | 45 | 90
CC811 | 33772811 | UKAS PT100 1 CHANNEL 5 POINTS PER CHANNEL | PT100 Pro/IceSpy | -85 | -35 | 5 | 45 | 90
CC812 | 33772812 | UKAS PT1000 1 CHANNEL 5 POINTS PER CHANNEL | PT1000 Pro | -85 | -35 | 5 | 45 | 90
CC813 | 33772813 | UKAS IN-TH001xx THERM 1 CHANNEL 3 POINTS PER CHAN | Icespy IN-TH001 / IN-THD01/ IN-WT001F1 | -25 |  | 0 |  | 45
CC826 | 33772826 | UKAS RL1001/2 3 POINT CALIBRATION | UKAS RL1001/2 | -15 |  | 15 |  | 55
CC890 | 33772890 | UKAS iSense temp calibration 1 channel | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC891 | 33772891 | UKAS iSense temp calibration 2 channels | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC892 | 33772892 | UKAS iSense temp calibration 2 channels | Isense Range any point -90 to +90 cust to select | x |  | x |  | x
CC817 | 33772817 | UKAS IN-TH003 Themistor In & Ext | Icespy IN-TH003xx Internal | -25 |  | 0 |  | 45
|  |  | External | -35 | -10 | 0 | 45 | 90
CC814 | 33772814 | UKAS RL4111/4/5-IS01-BN - T/RH 3 POINTS PER CHANNEL | RL4111/4/5-IS01-BN Temp | -35 |  | 10 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC816 | 33772816 | UKAS RL4112 TEMP/RH 3 POINTS PER CHANNEL | RL4112 Temp - (N.B Cannot Adjust Temp , Humidity Adjustable) | -45 |  | 0 |  | 90
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC825 | 33772825 | UKAS RL4106/7/8/9 TEMP/RH 3 POINTS PER CHANNEL | RL4106/7/8/9 | -15 |  | 15 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC818 | 33772818 | UKAS TEMP EXTRA POINT Between -90 and +140 | Defined by Customer
CC819 | 33772819 | UKAS RH EXTRA POINT (Between 11% and 85% at Ambient) | Defined by Customer Humidity Calibrated at 22.5oC +/-2.5
CC820 | 33772820 | UKAS TEMP THERM 2 CHANNEL 5 POINTS PER CHANNEL | Thermistor Pro/IceSpy | -35 | -10 | 10 | 30 | 55
CC827 | 33772827 | TEMP THERMISTOR 2CHANNEL 5 POINTS PER CHANNEL | Thermistor Icespy | -35 | -10 | 5 | 45 | 90
CC821 | 33772821 | UKAS PT100 2 CHANNEL 5 POINTS PER CHANNEL | PT100 Pro/IceSpy | -85 | -35 | 5 | 45 | 90
CC822 | 33772822 | UKAS PT1000 2 CHANNEL 5 POINTS PER CHANNEL | PT1000 Pro | -85 | -35 | 5 | 45 | 90
CC823 | 33772823 | UKAS IN-HUM TEMP/RH 3 POINTS | IN-HUM-xx ( IN-RH00x) | -25 |  | 10 |  | 45
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC834 | 33772834 | UKAS RF Bug / Humbug THERM 1 CHANNEL 3 POINTS PER CHANNEL | RF Bug / Humbug | -5 |  | 25 |  | 50
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC835 | 33772835 | UKAS 43792-H (transport logger int therm) 1 CHANNEL 5 POINTS PER CHANNEL | 43792-TR 43792-H -RL407 RL401 RL410 | -5 | 10 | 25 | 35 | 50
CC836 | 33772836 | UKAS RL4116 Themistor IN & Ext | RL4116 External 5 points | -35 |  | 5 |  | 55
|  |  | J140 Humidity Probe External points | -35 |  | 5 |  | 55
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC757 | 33772757 | SINGLE POINT TEMP PROCESS CALIBRATION | -196 oC | -196
CC759 | 33772759 | DUAL CHANNEL 4-20MA | 4-20mA | 4mA |  | 12mA |  | 20mA
CC760 | 33772760 | DUAL CHANNEL VOLTAGE 0-1V | 1V | 0mV |  | 500mV |  | 1000mV
CC761 | 33772761 | DUAL CHANNEL VOLTAGE 0-5V | 5V | 0mV |  | 2500mV |  | 5000mV
CC762 | 33772762 | DUAL CHANNEL VOLTAGE 0-10V | 10V | 0mV |  | 5000mV |  | 10000mV
CC763 | 33772763 | TRACEABLE DP CALIBRATION @ -50, 0 & +50pa | Diff presure+/-50Pa | -50 |  | 0 |  | 50
CC764 | 33772764 | TRACEABLE DP CALIBRATION @ -100, 0 & +100pa | Diff Pressure+/-100pa | -100 |  | 0 |  | 100
CC765 | 33772765 | TRACEABLE DP CALIBRATION @ -1250, 0 & +1250pa | Dif Pressure+/-1250Pa | -1250 |  | 0 |  | 1250
CC763-IWG | 33772763W | TRACEABLE DP CALIBRATION @ -0.20 & 0.20 IWG | Diff presure -0.2 & 0.2 IWG | -0.2 |  | 0 |  | 0.2
CC764-IWG | 33772764W | TRACEABLE DP CALIBRATION @ -0.40 & 0.40 IWG | Diff presure -0.4 & 0.4 IWG | -0.4 |  | 0 |  | 0.4
CC765-IWG | 33772765W | TRACEABLE DP CALIBRATION @ -5.0 & 5.0 IWG | Diff presure -5.0 & 5.0 IWG | -5 |  | 0 |  | 5
CC780 | 33772780 | 0-5% CO2 SENSOR CALIBRATION | Co2 5% ( % or PPM) |  |  | Completed by Vaisala
CC781 | 33772781 | 0-5% CO2 SENSOR CALIBRATION PROBE MATCH | Co2 5% Certficate in % or PPM | 0 |  | 2.5% |  | 5%
CC782 | 33772782 | 0-10% CO2 SENSOR CALIBRATION | Co2 10% ( % or PPM) |  |  | Completed by Vaisala
CC783 | 33772783 | 0-10% CO2 SENSOR CALIBRATION PROBE MATCH | Co2 10% Certficate in % or PPM | 0% |  | 5% |  | 10%
CC793 | 33772793 | 0-20% CO2 SENSOR CALIBRATION | Co2 20% ( % or PPM) |  |  | Completed by Vaisala
CC794 | 33772794 | 0-20% CO2 SENSOR CALIBRATION PROBE MATCH | Co2 20% Certficate in % or PPM | 0% |  | 10% |  | 20%
Note: Humidity Calibrated at 22oC +/-3
.
On Site calibration codes using Euroengle Chamber
CC728 | 33772728 | IN-TH001xx/IN-THD01 THERM 1 CHANNEL 3 POINTS PER CHANNEL | IN-TH001 / IN-THD01/ IN-WT001F1-43792 TR-RL401 RL410 RL407 | -5 |  | 0 |  | 35
CC729 | 33772729 | RL1001/2 3 POINT CALIBRATION | RL1001/2 | -15 |  | 15 |  | 35
CC730 | 33772730 | IN-TH003 Themistor IN & Ext | Icespy IN-TH003xx Internal 3 points | -15 |  | 0 |  | 35
|  |  | External 5 points | -35 | -10 | 0 | 45 | 90
CC731 | 33772731 | RL4111/2/4/5 TEMP/RH 3 POINTS PER CHANNEL | RL4111/2/4/5 | -15 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC732 | 33772732 | RF Bug - Humbug ( 43791-H) Temp | Humbug ( 43791-H) Temp | -5 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC733 | 33772733 | IN-HUM TEMP/RH 3 POINTS | IN-HUM-xx ( IN-RH00x) | -15 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC737 | 33772737 | 43792-H (transport logger int therm) 1 CHANNEL 5 POINTS PER CH' | 43792-H -RL407 | -5 |  | 15 |  | 35
CC738 | 33772738 | RL4116 Themistor IN & Ext | RL4116 External 3 points | -15 |  | 0 |  | 50
|  |  | J140 Humidity Probe External points | -15 |  | 5 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC828 | 33772828 | UKAS IN-TH001xx/IN-THD01 THERM 1 CHAN'3 POINTS PER CHAN' | IN-TH001 / IN-THD01/ IN-WT001F1-43792 TR-RL401 RL410 RL407 | -15 |  | 0 |  | 35
CC829 | 33772829 | UKAS RL1001/2 3 POINT CALIBRATION | RL1001/2 | -15 |  | 15 |  | 35
CC830 | 33772830 | UKAS IN-TH003 Themistor IN & Ext | Icespy IN-TH003xx Internal 3 points | -15 |  | 0 |  | 35
|  |  | External 5 points | -35 | -10 | 0 | 45 | 90
CC831 | 33772831 | UKAS RL4111/2/4/5 TEMP/RH 3 POINTS PER CHANNEL | RL4111/2/4/5 | -15 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC832 | 33772832 | UKAS RF Bug- Humbug ( 43791-H) Temp | Humbug ( 43791-H) Temp | -15 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC833 | 33772833 | UKAS IN-HUM TEMP/RH 3 POINTS | IN-HUM-xx ( IN-RH00x) | -15 |  | 10 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%
CC837 | 33772837 | UKAS 43792-H (transport logger int therm) 1 CHANNEL 5 POINTS PER CH' | 43792-H -RL407 | -5 |  | 15 |  | 35
CC838 | 33772838 | UKAS RL4116 Themistor IN & Ext | RL4116 External 3 points | -15 |  | 0 |  | 50
|  |  | J140 Humidity Probe External points | -15 |  | 5 |  | 35
|  |  | Humidity Calibrated at 22.5oC +/-2.5 | 11% |  | 54% |  | 85%