## Version Control
Exchange Rates
Version | Release Date | DKK/€ | DKK/£ | DKK/$ | DKK/CHF | DKK/Japan US
11 | 2024-12-01 | 7.43 | 8.6 | 6 | 7.7 | 5.5

## Explanation
Price list explanation
We operate with three business models:
1 | EMSuite On-Prem: On premise software installation with HW Options Software: Sold to customer to be installed on their own tenant. ►Choose appropriate Software Level: EMSuite, EMSuite Pro. (required) ►Choose appropriate quantity of Measuring Points (required) ►Choose appropriate Standard service plan for either EMSuite or EMSuite Pro. (required) ►Choose appropriate Remote Software Installation (required) ►Choose additional Options as necessary | HW Options: ►HW Purchase
2 | EMSuite SaaS: Software-as-a-Service with HW Options Software: SaaS may be installed on customer tenant, or Ellab's MS Azure Cloud. ►Choose appropriate software level (standard / pro) and then find the maximum quantity of channels needed (required). Standard service plan is included. ►Choose Ellab MS Azure Cloud Hosting (Optional, but very common) ►Choose appropriate Remote Software Installation (required for Client Tenant, not required if Ellab Cloud ►Choose additional Options as necessary *SaaS: After the initial 12 months, the contract will automatically renew annually unless either party provides a minimum notice of 90 days prior to the next renewal date. | HW Options: Often split between Purchase and Lease. Region purchases hardware and then either sells or leases to their customer. ►HW Purchase (50% of the time) ►HW Lease (50% of the time) *HW lease: After the initial 12 months, the contract will automatically renew annually unless either party provides a minimum notice of 90 days prior to the next renewal date.
Pricing structure:
Most of our pricing is based on Channels. Examples: ►Temp sensor = 1 channel ►Temp/RH sensor = 2 channels ►CO2 = 1 channel
Example 1) | On-Prem, new installation
| Software Purchase | Hardware Purchase
| ►Software Level (EMSuite / EMSuite Pro) | They going RF, PoE, RF-DC or Hybrid.
| ►Remote software Installation (Standard, Pro Express, Pro Customer) | Choose appropriate AP, Transmitters, Sensors, and Accessories.
| ►Software Maintenance and Service Agreement (SMSAS / SMSAP), Annual Subscription | Local:
| ►Measuring Point Licenses | Labor
Optional:
Review of pre-requisites
Premium support
Advanced software options: Ellab Communication Hub / OPC-UA
Example 2) | SaaS, Customer Tenant, Purchase Hardware
| SaaS Software, Customer Tenant | Hardware Purchase
| ►Software Level (EMSuite / EMSuite Pro), Annual Subscription, Choose appropriate size | They going RF, PoE, RF-DC or Hybrid.
| ►Remote software Installation (Standard, Pro Express, Pro Customer) | Choose appropriate AP, Transmitters, Sensors, and Accessories.
| Optional: | Local:
| Review of pre-requisites | Labor
Premium support
Advanced software options: Ellab Communication Hub / OPC-UA
Example 3) | SaaS, Ellab Tenant, Lease Hardware
| SaaS Software, Ellab Tenant | Hardware Lease
| ►Software Level (EMSuite / EMSuite Pro), Annual Subscription, Choose appropriate size | They going RF, PoE, RF-DC or Hybrid.
| ►Ellab MS Azure Cloud Hosting | Choose appropriate AP, Transmitters, Sensors, and Accessories.
| Optional: | Local:
| Review of pre-requisites | Labor
Premium support
Advanced software options: Ellab Communication Hub / OPC-UA

## EMSuite On-Prem
Ellab Monitoring Solutions
Parts List: EMSuite
Monitoring Pricing Ver. 11 - December 2024
On-premise SW purchase
|  |  |  | DKK/€ | DKK/£ | DKK/$ | DKK/CHF | DKK/Japan US
|  |  |  | 7.43 | 8.6 | 6 | 7.7 | 5.5
Description | Ellab Ordering Code | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Characters
Ellab EMSuite Monitoring Software | [8 empty] | We are removing the term 'standard' from the basic EMSuite offerings throughout the price list.
Required. One Time Fee. Chose the appropriate level of software for quoting. Then the quantity of measuring point licenses. Installations charges. Next, select the appropriate Standard/Pro Software Maintenance and Support agreement (SMSAS/SMSAP).
EMSuite
►Includes Web API (Rest API). The EMSuite Web Application Program Interface connects to external systems such as LIMS systems. Only allows for data to go from EMSuite to that system. ►Unlimited Users
EMSuite On-premise Software | 33013672 | 15213 | 35% | 2048 | 1769 | 2536 | 1976 | 2766 | New Description | 27
EMSuite Pro
►Unlimited Users ►Includes Web API (Rest API). The EMSuite Web Application Program Interface connects to external systems such as LIMS systems. Only allows for data to go from EMSuite to that system. ►Includes Part 11 functionality, IQ/OQ documentation for both SW & HW ►Allows for use of Mobile APP, but requires service plan to utilize ►Also includes: Audit trail review, MKT Report, Limit Report, Advanced statistics report
EMSuite Pro On-Premise Software | 33013677 | 28866 | 35% | 3885 | 3357 | 4811 | 3749 | 5248 | New Description | 31
Measuring Point Licence: (Blocks of measuring points to be added to the system licence)
Required. One time fee. If expanding a system then you can sell additional licenses later to add to the system.
EMSuite Measuring Point Licenses On-Premise: 10 Channels | 33013561 | 5032 | 35% | 677 | 585 | 839 | 654 | 915 | New Description | 57
EMSuite Measuring Point Licenses On-Premise: 25 Channels | 33013562 | 12365 | 35% | 1664 | 1438 | 2061 | 1606 | 2248 | New Description | 57
EMSuite Measuring Point Licenses On-Premise: 50 Channels | 33013563 | 24302 | 35% | 3271 | 2826 | 4050 | 3156 | 4419 | New Description | 57
EMSuite Measuring Point Licenses On-Premise: 75 Channels | 33013564 | 31908 | 35% | 4294 | 3710 | 5318 | 4144 | 5801 | New Description | 57
EMSuite Measuring Point Licenses On-Premise: 100 Channels | 33013565 | 41621 | 35% | 5602 | 4840 | 6937 | 5405 | 7567 | New Description | 57
EMSuite Measuring Point Licenses On-Premise: 150 Channels | 33013571 | 49944 | 35% | 6722 | 5807 | 8324 | 6486 | 9081 | New Description | 57
EMSuite Measuring Point Licenses On-Premise: 200 Channels | 33013572 | 58214 | 35% | 7835 | 6769 | 9702 | 7560 | 10584 | New Item | 57
EMSuite Measuring Point Licenses On-Premise: 250 Channels | 33013566 | 63270 | 35% | 8515 | 7357 | 10545 | 8217 | 11504 | New Description | 57
EMSuite Measuring Point Licenses On-Premise: 300 Channels | 33013573 | 68325 | 35% | 9196 | 7945 | 11388 | 8873 | 12423 | New Item | 57
EMSuite Measuring Point Licenses On-Premise: 400 Channels | 33013574 | 78436 | 35% | 10557 | 9120 | 13073 | 10186 | 14261 | New Item | 57
EMSuite Measuring Point Licenses On-Premise: 500 Channels | 33013567 | 88547 | 35% | 11917 | 10296 | 14758 | 11500 | 16099 | New Description | 57
EMSuite Measuring Point Licenses On-Premise: 750 Channels | 33013575 | 115170 | 35% | 15501 | 13392 | 19195 | 14957 | 20940 | New Item | 57
EMSuite Measuring Point Licenses On-Premise: 1000 Channels | 33013568 | 141792 | 35% | 19084 | 16487 | 23632 | 18415 | 25780 | New Description | 58
EMSuite Measuring Point Licenses On-Premise: 2500 Channels | 33013569 | 212591 | 35% | 28613 | 24720 | 35432 | 27609 | 38653 | New Description | 58
EMSuite Measuring Point Licenses On-Premise: Unlimited Devices | 33013570 | TBD | 35% | TBD | TBD | TBD | TBD | TBD | New Description | 62
Ellab EMSuite Software Installation services
Required. One time fee. Services to be performed by Ellab A/S Denmark headquarters SW Support Team.
Remote EMSuite Standard Software installation by Ellab DK SW Support Team | 33077120 | 3862 | 35% | 520 | 449 | 644 | 502 | 702 | New description | 73
Remote EMSuite Pro SW installation by DK SW Team, w/ SW IQ execution. SQL Express | 33077130 | 6202 | 35% | 835 | 721 | 1034 | 805 | 1128 | New Description | 81
Remote EMSuite Pro SW installation by DK SW Team, w/ SW IQ execution. Customer provided SQL | 33077150 | 8202 | 35% | 1104 | 954 | 1367 | 1065 | 1491 | New Item | 91
Optional. One time fee. Performed by Ellab A/S Denmark headquarters SW Support Team.
Remote review of customer software prerequisites by Ellab DK SW Support Team | 33077140 | 2926 | 35% | 394 | 340 | 488 | 380 | 532 | New description | 76
Local services are AN UPFRONT COST. They need to be assessed locally. Please use appropriate item numbers, but add you own price levels which suit your profitability requirements.
Mandatory: Software Maintenance and Service Agreement Standard Software - (SMSAS)
Required annual fee: Please ensure to select the appropriate Software Maintenance and Service Agreement. Agreement includes - 1 year of basic software updates (minor updates and bug fixes), and includes standard support during local office hours (application and technical support). Local region is 1st line support. DK is 2nd line support (During DK hours).
EMSuite Standard Annual Service Plan (SMSAS): ≤ 10 Channels | 33017620 | 4049 | 35% | 545 | 471 | 675 | 526 | 736 | New discount & description | 59
EMSuite Standard Annual Service Plan (SMSAS): ≤ 25 Channels | 33017621 | 5516 | 35% | 742 | 641 | 919 | 716 | 1003 | New discount & description | 59
EMSuite Standard Annual Service Plan (SMSAS): ≤ 50 Channels | 33017622 | 7903 | 35% | 1064 | 919 | 1317 | 1026 | 1437 | New discount & description | 59
EMSuite Standard Annual Service Plan (SMSAS): ≤ 75 Channels | 33017623 | 9424 | 35% | 1268 | 1096 | 1571 | 1224 | 1713 | New discount & description | 60
EMSuite Standard Annual Service Plan (SMSAS): ≤ 100 Channels | 33017624 | 10275 | 35% | 1383 | 1195 | 1713 | 1334 | 1868 | New discount & description | 60
EMSuite Standard Annual Service Plan (SMSAS): ≤ 150 Channels | 33017630 | 12082 | 35% | 1626 | 1405 | 2014 | 1569 | 2197 | New discount & description | 60
EMSuite Standard Annual Service Plan (SMSAS): ≤ 200 Channels | 33017631 | 13890 | 35% | 1869 | 1615 | 2315 | 1804 | 2525 | New discount & description | 60
EMSuite Standard Annual Service Plan (SMSAS): ≤ 250 Channels | 33017625 | 15697 | 35% | 2113 | 1825 | 2616 | 2039 | 2854 | New discount | 60
EMSuite Standard Annual Service Plan (SMSAS): ≤ 300 Channels | 33017632 | 16708 | 35% | 2249 | 1943 | 2785 | 2170 | 3038 | New item | 60
EMSuite Standard Annual Service Plan (SMSAS): ≤ 400 Channels | 33017633 | 18730 | 35% | 2521 | 2178 | 3122 | 2432 | 3405 | New item | 60
EMSuite Standard Annual Service Plan (SMSAS): ≤ 500 Channels | 33017626 | 20752 | 35% | 2793 | 2413 | 3459 | 2695 | 3773 | New discount | 60
EMSuite Standard Annual Service Plan (SMSAS): ≤ 750 Channels | 33017634 | 26077 | 35% | 3510 | 3032 | 4346 | 3387 | 4741 | New item | 60
EMSuite Standard Annual Service Plan (SMSAS): ≤ 1000 Channels | 33017627 | 31401 | 35% | 4226 | 3651 | 5234 | 4078 | 5709 | New discount | 61
EMSuite Standard Annual Service Plan (SMSAS): ≤ 2500 Channels | 33017628 | 45561 | 35% | 6132 | 5298 | 7594 | 5917 | 8284 | New discount | 61
EMSuite Standard Annual Service Plan (SMSAS): Unlimited Channels | 33017629 | TBD | 35% | TBD | TBD | TBD | TBD | TBD | New discount | 64
Mandatory: Software Maintenance and Service Agreement Pro Software - (SMSAP)
Required annual fee: Please ensure to select the appropriate Software Maintenance and Service Agreement. Agreement includes - 1 year of software updates (minor updates and bug fixes), IQ of software (if applicable), 1 year subscription to the Mobile App, and standard support during local office hours (application and technical support). Local region is 1st line support. DK is 2nd line support (During DK hours).
EMSuite Pro Annual Service Plan (SMSAP): ≤ 10 Channels | 33017670 | 8474 | 35% | 1141 | 985 | 1412 | 1101 | 1541 | New discount & Description | 54
EMSuite Pro Annual Service Plan (SMSAP): ≤ 25 Channels | 33017671 | 10308 | 35% | 1387 | 1199 | 1718 | 1339 | 1874 | New discount & Description | 54
EMSuite Pro Annual Service Plan (SMSAP): ≤ 50 Channels | 33017672 | 13292 | 35% | 1789 | 1546 | 2215 | 1726 | 2417 | New discount & Description | 54
EMSuite Pro Annual Service Plan (SMSAP): ≤ 75 Channels | 33017673 | 15193 | 35% | 2045 | 1767 | 2532 | 1973 | 2762 | New discount & Description | 54
EMSuite Pro Annual Service Plan (SMSAP): ≤ 100 Channels | 33017674 | 17622 | 35% | 2372 | 2049 | 2937 | 2289 | 3204 | New discount & Description | 55
EMSuite Pro Annual Service Plan (SMSAP): ≤ 150 Channels | 33017680 | 19426 | 35% | 2615 | 2259 | 3238 | 2523 | 3532 | New discount & Description | 55
EMSuite Pro Annual Service Plan (SMSAP): ≤ 200 Channels | 33017681 | 21228 | 35% | 2857 | 2468 | 3538 | 2757 | 3860 | New discount & Description | 55
EMSuite Pro Annual Service Plan (SMSAP): ≤ 250 Channels | 33017675 | 23034 | 35% | 3100 | 2678 | 3839 | 2991 | 4188 | New discount & Description | 55
EMSuite Pro Annual Service Plan (SMSAP): ≤ 300 Channels | 33017682 | 24298 | 35% | 3270 | 2825 | 4050 | 3156 | 4418 | New Item | 55
EMSuite Pro Annual Service Plan (SMSAP): ≤ 400 Channels | 33017683 | 26691 | 35% | 3592 | 3104 | 4449 | 3466 | 4853 | New Item | 55
EMSuite Pro Annual Service Plan (SMSAP): ≤ 500 Channels | 33017676 | 29353 | 35% | 3951 | 3413 | 4892 | 3812 | 5337 | New discount | 55
EMSuite Pro Annual Service Plan (SMSAP): ≤ 750 Channels | 33017684 | 39714 | 35% | 5345 | 4618 | 6619 | 5158 | 7221 | New Item | 55
EMSuite Pro Annual Service Plan (SMSAP): ≤ 1000 Channels | 33017677 | 42664 | 35% | 5742 | 4961 | 7111 | 5541 | 7757 | New discount & Description | 56
EMSuite Pro Annual Service Plan (SMSAP): ≤ 2500 Channels | 33017678 | 60364 | 35% | 8124 | 7019 | 10061 | 7839 | 10975 | New discount & Description | 56
EMSuite Pro Annual Service Plan (SMSAP): Unlimited Channels | 33017679 | TBD | 35% | TBD | TBD | TBD | TBD | TBD | New discount & Description | 59
OPTIONAL SERVICES & LICENSES:
Annual Premium Remote Support in English
Local region is 1st line support. DK is 2nd line support during DK business hours (CET). Customer must always contact their local team as the 1st line of support, which if unresolved can be escallated to 2nd line support (DK). If outside of both local and DK business hours, the customer should reach out to the call center. The call center will screen the call to set priority for when the next team is available to respond.
Add On: EMSuite Premium Service Plan: ≤ 100 Channels | 33014710 | 31500 | 35% | 4240 | 3663 | 5250 | 4091 | 5727 | New discount & description | 52
Add On: EMSuite Premium Service Plan: ≤ 250 Channels | 33014725 | 47250 | 35% | 6359 | 5494 | 7875 | 6136 | 8591 | New discount & description | 52
Add On: EMSuite Premium Service Plan: ≤ 500 Channels | 33014750 | 63000 | 35% | 8479 | 7326 | 10500 | 8182 | 11455 | New discount & description | 52
Add On: EMSuite Premium Service Plan: ≤ 1000 Channels | 33014760 | 84000 | 35% | 11306 | 9767 | 14000 | 10909 | 15273 | New discount & description | 53
Add On: EMSuite Premium Service Plan: ≤ 2500 Channels | 33014770 | 94500 | 35% | 12719 | 10988 | 15750 | 12273 | 17182 | New discount & description | 53
Add On: EMSuite Premium Service Plan: Unlimited Channels | 33014790 | TBD | 35% | TBD | TBD | TBD | TBD | TBD | New discount & description | 57
Ellab Communication Hub which includes OPC-UA licence:
Ellab Communication Hub is an independent software provided by Ellab. It is used to connect to third party software at the customer site. The OPC-UA server License is included in the Ellab Communication Hub. This could be a connection to their existing SCADA and BMS (building management system) or other facility systems which gather and display information for customers. Only allows for data to go from EMSuite to that system.
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 10 Channels | 33016724 | 4005 | 35% | 539 | 466 | 668 | 520 | 728 | New Price & description | 67
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 25 Channels | 33016725 | 9511.875 | 35% | 1280 | 1106 | 1585 | 1235 | 1729 | New Price & description | 67
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 50 Channels | 33016726 | 18022.5 | 35% | 2426 | 2096 | 3004 | 2341 | 3277 | New Price & description | 67
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 75 Channels | 33016732 | 24030 | 35% | 3234 | 2794 | 4005 | 3121 | 4369 | New item | 67
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 100 Channels | 33016727 | 30037.5 | 35% | 4043 | 3493 | 5006 | 3901 | 5461 | New Price & description | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 150 Channels | 33016733 | 33041.25 | 35% | 4447 | 3842 | 5507 | 4291 | 6008 | New item | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 200 Channels | 33016734 | 36045 | 35% | 4851 | 4191 | 6008 | 4681 | 6554 | New item | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 250 Channels | 33016728 | 40050 | 35% | 5390 | 4657 | 6675 | 5201 | 7282 | New Price & description | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 300 Channels | 33016735 | 42052.5 | 35% | 5660 | 4890 | 7009 | 5461 | 7646 | New item | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 400 Channels | 33016736 | 48060 | 35% | 6468 | 5588 | 8010 | 6242 | 8738 | New item | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 500 Channels | 33016729 | 50062.5 | 35% | 6738 | 5821 | 8344 | 6502 | 9102 | New Price & description | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 750 Channels | 33016737 | 66082.5 | 35% | 8894 | 7684 | 11014 | 8582 | 12015 | New item | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 1000 Channels | 33016730 | 80100 | 35% | 10781 | 9314 | 13350 | 10403 | 14564 | New Price & description | 69
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 2500 Channels | 33016731 | 100125 | 35% | 13476 | 11642 | 16688 | 13003 | 18205 | New Price & description | 69

## EMSuite SaaS
Ellab Monitoring Solutions
Parts List: EMSuite as a Service (Software Subscription Option)
Monitoring Pricing Ver. 11 - December 2024
Cloud based: SaaS
All prices are annual fees.
Minimum - 3 year initial agreement
Customer Cloud SaaS - Client Tenant | Software & Support > Installation > Options
Ellab Cloud SaaS - Ellab MS Azure | Software & Support > Ellab MS Azure > Options
Ellab Cloud SaaS and Hardware Lease | Optional: System-as-a-Service. Providing both software and hardware on an annual lease. If offering a hardware lease with software SaaS, your region will need to purchase the hardware directly that you plan on leasing. To create the annual lease price for quoting, multiply your retail price by 0.48. That becomes your annual fee. The calculation creates a 25 month payback on the retail pricing. ►Example. Access Point. Retail of 8,777DKK multiplied by 0.48 would be 4,212.96DKK for the annual lease price.
|  |  |  | DKK/€ | DKK/£ | DKK/$ | DKK/CHF | DKK/Japan US
|  |  |  | 7.43 | 8.6 | 6 | 7.7 | 5.5
Description | Ellab Ordering Code | RRP DKK Per Year | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Characters
Standard Software Annual Subscription based on maximum allowable quantity of Measuring Points (Can be upgraded later) Subscription Includes Software and Standard Software Support | [8 empty] | Combined software and software support into one PN and Price
Unlimited Users Software Maintenance and Service Agreement includes - 1 Year Software updates and standard support during local office hours (application and technical support). Local region is 1st line support. DK is 2nd and 3rd line support. *Ellab MS Azure Tenant is not included in this pricing, please add the appropriate part number if an Ellab MS Azure is required. *Charge installation if on customer tenant, no installation required if on Ellab Azure. When customers need to upgrade from one size to another, give a full credit for the original sale and sell the new part number.
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 10 Channels | 33913561 | 11109 | 35% | 1495 | 1292 | 1852 | 1443 | 2020 | New Item, See above | 76
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 25 Channels | 33913562 | 17301 | 35% | 2329 | 2012 | 2884 | 2247 | 3146 | New Item, See above | 76
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 50 Channels | 33913563 | 27511 | 35% | 3703 | 3199 | 4585 | 3573 | 5002 | New Item, See above | 76
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 75 Channels | 33913564 | 32605 | 35% | 4388 | 3791 | 5434 | 4234 | 5928 | New Item, See above | 76
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 100 Channels | 33913565 | 38471 | 35% | 5178 | 4473 | 6412 | 4996 | 6995 | New Item, See above | 77
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 150 Channels | 33913566 | 47292 | 35% | 6365 | 5499 | 7882 | 6142 | 8599 | New Item, See above | 77
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 200 Channels | 33913567 | 53477 | 35% | 7197 | 6218 | 8913 | 6945 | 9723 | New Item, See above | 77
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 250 Channels | 33913568 | 56230 | 35% | 7568 | 6538 | 9372 | 7303 | 10224 | New Item, See above | 77
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 300 Channels | 33913569 | 59837 | 35% | 8053 | 6958 | 9973 | 7771 | 10879 | New Item, See above | 77
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 400 Channels | 33913570 | 66920 | 35% | 9007 | 7781 | 11153 | 8691 | 12167 | New Item, See above | 77
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 500 Channels | 33913571 | 70873 | 35% | 9539 | 8241 | 11812 | 9204 | 12886 | New Item, See above | 77
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 750 Channels | 33913572 | 81772 | 35% | 11006 | 9508 | 13629 | 10620 | 14868 | New Item, See above | 77
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 1000 Channels | 33913573 | 94718 | 35% | 12748 | 11014 | 15786 | 12301 | 17221 | New Item, See above | 78
SaaS: EMSuite Annual Subscription, w/ Ellab Standard Support: ≤ 2500 Channels | 33913574 | 137197 | 35% | 18465 | 15953 | 22866 | 17818 | 24945 | New Item, See above | 78
Pro Software Annual Subscription based on maximum allowable quantity of Measuring Points (Quantity can be upgraded later) Subsctiption Includes Pro Software and Pro Software Support | [8 empty] | Combined software and software support into one PN and Price
Unlimited users Includes activation of full compliance functionality (CFR Part 11, Annex 11), IQ/OQ Documentation for SW & HW, Mobile App access Software Maintenance and Service Agreement includes - 1 Year Software updates, 1 year subscription to the Mobile App, and standard support during local office hours (application and technical support). Local region is 1st line support. DK is 2nd and 3rd line support. *Ellab MS Azure Tentant is NOT included in this pricing, please ADD the appropriate part number if an Ellab MS Azure is required for Cloud hosting. *Charge installation if on customer tenant, no installation required if on Ellab Azure. When customers need to upgrade from one size to another, give a full credit for the original sale and sell the new part number.
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 10 Channels | 33913591 | 20323 | 35% | 2735 | 2363 | 3387 | 2639 | 3695 | New Item, See above | 80
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 25 Channels | 33913592 | 28124 | 35% | 3785 | 3270 | 4687 | 3652 | 5113 | New Item, See above | 80
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 50 Channels | 33913593 | 39826 | 35% | 5360 | 4631 | 6638 | 5172 | 7241 | New Item, See above | 80
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 75 Channels | 33913594 | 45287 | 35% | 6095 | 5266 | 7548 | 5881 | 8234 | New Item, See above | 80
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 100 Channels | 33913595 | 53089 | 35% | 7145 | 6173 | 8848 | 6895 | 9653 | New Item, See above | 81
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 150 Channels | 33913596 | 62451 | 35% | 8405 | 7262 | 10409 | 8111 | 11355 | New Item, See above | 81
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 200 Channels | 33913597 | 67132 | 35% | 9035 | 7806 | 11189 | 8718 | 12206 | New Item, See above | 81
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 250 Channels | 33913598 | 71032 | 35% | 9560 | 8260 | 11839 | 9225 | 12915 | New Item, See above | 81
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 300 Channels | 33913599 | 74933 | 35% | 10085 | 8713 | 12489 | 9732 | 13624 | New Item, See above | 81
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 400 Channels | 33913600 | 82735 | 35% | 11135 | 9620 | 13789 | 10745 | 15043 | New Item, See above | 81
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 500 Channels | 33913601 | 86635 | 35% | 11660 | 10074 | 14439 | 11251 | 15752 | New Item, See above | 81
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 750 Channels | 33913602 | 98368 | 35% | 13239 | 11438 | 16395 | 12775 | 17885 | New Item, See above | 81
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 1000 Channels | 33913603 | 111902 | 35% | 15061 | 13012 | 18650 | 14533 | 20346 | New Item, See above | 82
SaaS: EMSuite Pro Annual Subscription, w/ Ellab Standard Support: ≤ 2500 Channels | 33913604 | 157921 | 35% | 21255 | 18363 | 26320 | 20509 | 28713 | New Item, See above | 82
Annual Cloud hosting by Ellab in MS Azure add-on fee
Required if quoting full cloud solution with Ellab managing the Azure tenant. Client to choose MS Azure data center.
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 10 Channels | 33912461 | 14745 | 35% | 1985 | 1715 | 2458 | 1915 | 2681 | New description | 82
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 25 Channels | 33912462 | 20697 | 35% | 2786 | 2407 | 3450 | 2688 | 3763 | New description | 82
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 50 Channels | 33912463 | 26650 | 35% | 3587 | 3099 | 4442 | 3461 | 4845 | New description | 82
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 75 Channels | 33912464 | 32602 | 35% | 4388 | 3791 | 5434 | 4234 | 5928 | New description | 82
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 100 Channels | 33912465 | 38555 | 35% | 5189 | 4483 | 6426 | 5007 | 7010 | New description | 83
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 150 Channels | 33912466 | 46115 | 35% | 6207 | 5362 | 7686 | 5989 | 8385 | New description | 83
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 200 Channels | 33912467 | 53682 | 35% | 7225 | 6242 | 8947 | 6972 | 9760 | New description | 83
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 250 Channels | 33912468 | 61250 | 35% | 8244 | 7122 | 10208 | 7955 | 11136 | New description | 83
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 300 Channels | 33912469 | 68809 | 35% | 9261 | 8001 | 11468 | 8936 | 12511 | New description | 83
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 400 Channels | 33912470 | 76377 | 35% | 10280 | 8881 | 12730 | 9919 | 13887 | New description | 83
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 500 Channels | 33912471 | 83913 | 35% | 11294 | 9757 | 13986 | 10898 | 15257 | New description | 83
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 750 Channels | 33912472 | TBD | 35% | TBD | TBD | TBD | TBD | TBD | New description | 83
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 1000 Channels | 33912473 | TBD | 35% | TBD | TBD | TBD | TBD | TBD | New description | 84
Cloud Hosting: Add-on. Ellab MS Azure Cloud tenant for EMSuite SaaS: ≤ 2500 Channels | 33912474 | TBD | 35% | TBD | TBD | TBD | TBD | TBD | New description | 84
Description | Ellab Ordering Code | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Characters
Ellab EMSuite Pro Software Installation services: One Time Fee
Required if installing on customer tenant. One time fee. Services performed by Ellab A/S Denmark headquarters SW Support Team.
Remote installation by Ellab DK SW Support Team of EMSuite Standard Software | 33077120 | 3862 | 35% | 520 | 449 | 644 | 502 | 702 |  | 77
Remote installation by Ellab DK SW Support Team of EMSuite Pro software, w/ software IQ execution | 33077130 | 6202 | 35% | 835 | 721 | 1034 | 805 | 1128 | New Description | 97
Remote EMSuite Pro SW installation by DK SW Team, w/ SW IQ execution. Customer provided SQL | 33077150 | 8202 | 35% | 1104 | 954 | 1367 | 1065 | 1491 | New Item & Description | 91
Optional. One time fee. Performed by Ellab A/S Denmark headquarters SW Support Team.
Remote review of customer software prerequisites by Ellab DK SW Support Team | 33077140 | 2926 | 35% | 394 | 340 | 488 | 380 | 532 |  | 76
Local services are AN UPFRONT COST. They need to be assessed locally. Please use appropriate item numbers, but add you own price levels which suit your profitability requirements.
SaaS OPTIONS: | [8 empty] | Notes | Characters
Description | Ellab Ordering Code | RRP DKK Per Year | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$
Annual Premium Remote Support in English
Local region is 1st line support. DK is 2nd line support during DK business hours (CET). Customer must always contact their local team as the 1st line of support, which if unresolved can be escallated to 2nd line support (DK). If outside of both DK and US business hours, the customer should reach out to the call center. The call center will screen the call to set priority for when the next team is available to respond.
Add On: EMSuite Premium Service Plan: ≤ 100 Channels | 33014710 | 31500 | 35% | 4240 | 3663 | 5250 | 4091 | 5727 | New Description | 52
Add On: EMSuite Premium Service Plan: ≤ 250 Channels | 33014725 | 47250 | 35% | 6359 | 5494 | 7875 | 6136 | 8591 | New Description | 52
Add On: EMSuite Premium Service Plan: ≤ 500 Channels | 33014750 | 63000 | 35% | 8479 | 7326 | 10500 | 8182 | 11455 | New Description | 52
Add On: EMSuite Premium Service Plan: ≤ 1000 Channels | 33014760 | 84000 | 35% | 11306 | 9767 | 14000 | 10909 | 15273 | New Description | 53
Add On: EMSuite Premium Service Plan: ≤ 2500 Channels | 33014770 | 94500 | 35% | 12719 | 10988 | 15750 | 12273 | 17182 | New Description | 53
Add On: EMSuite Premium Service Plan: Unlimited Channels | 33014790 | TBD | 35% | TBD | TBD | TBD | TBD | TBD | New Description | 57
Ellab Communication Hub which includes OPC-UA licence: One-Time Fee
Ellab Communication Hub is and independent software provided by Ellab. It is used to connect to third party software at the customer site. The OPC-UA server License is included in the Ellab Communication Hub. This could be a connection to their existing SCADA and BMS (building managment system) or other facility systems which gather and display information for customers. Only allows for data to go from EMSuite to that system.
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 10 Channels | 33016724 | 4005 | 35% | 539 | 466 | 668 | 520 | 728 |  | 67
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 25 Channels | 33016725 | 9511.875 | 35% | 1280 | 1106 | 1585 | 1235 | 1729 |  | 67
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 50 Channels | 33016726 | 18022.5 | 35% | 2426 | 2096 | 3004 | 2341 | 3277 |  | 67
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 75 Channels | 33016732 | 24030 | 35% | 3234 | 2794 | 4005 | 3121 | 4369 |  | 67
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 100 Channels | 33016727 | 30037.5 | 35% | 4043 | 3493 | 5006 | 3901 | 5461 |  | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 150 Channels | 33016733 | 33041.25 | 35% | 4447 | 3842 | 5507 | 4291 | 6008 |  | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 200 Channels | 33016734 | 36045 | 35% | 4851 | 4191 | 6008 | 4681 | 6554 |  | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 250 Channels | 33016728 | 40050 | 35% | 5390 | 4657 | 6675 | 5201 | 7282 |  | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 300 Channels | 33016735 | 42052.5 | 35% | 5660 | 4890 | 7009 | 5461 | 7646 |  | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 400 Channels | 33016736 | 48060 | 35% | 6468 | 5588 | 8010 | 6242 | 8738 |  | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 500 Channels | 33016729 | 50062.5 | 35% | 6738 | 5821 | 8344 | 6502 | 9102 |  | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 750 Channels | 33016737 | 66082.5 | 35% | 8894 | 7684 | 11014 | 8582 | 12015 |  | 68
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 1000 Channels | 33016730 | 80100 | 35% | 10781 | 9314 | 13350 | 10403 | 14564 |  | 69
Ellab Communication Hub, OPC-UA Server Licence incl.: ≤ 2500 Channels | 33016731 | 100125 | 35% | 13476 | 11642 | 16688 | 13003 | 18205 |  | 69

## TVP HW Purchase
Ellab Monitoring Solutions
Parts List: TrackView Pro and EMSuite
Monitoring Pricing Ver. 11 - December 2024
HW purchase
|  |  |  | DKK/€ | DKK/£ | DKK/$ | DKK/CHF | DKK/Japan US
|  |  |  | 7.43 | 8.6 | 6 | 7.7 | 5.5
Description | Ellab Ordering Code | RRP DKK | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Characters
Ellab TrackView Access Point
Required to communicate with RF transmitters. Please choose matching AP and Transmitter radio frequency for the customer's country. Power source: Option 1 (PoE), Option 2 (AC/DC Power Plug). Includes battery backup. Communication to Software: PoE or Standard Ethernet *See approved countries below
TrackView Pro RF Ethernet Network Access Point, with mounting bracket - 868MHz* | 33002741 | 8777 | 35% | 1181 | 1021 | 1463 | 1140 | 1596 | New Description | 79
TrackView Pro RF Ethernet Network Access Point, with mounting bracket - 915MHz* | 33002742 | 8777 | 35% | 1181 | 1021 | 1463 | 1140 | 1596 | New Description | 79
TrackView Pro RF Ethernet Network Access Point, with mounting bracket - 920MHz* | 33002743 | 8777 | 35% | 1181 | 1021 | 1463 | 1140 | 1596 | New Description | 79
TrackView Pro RF Ethernet Network Access Point, with mounting bracket - 915-928MHz* | 33002744 | 8777 | 35% | 1181 | 1021 | 1463 | 1140 | 1596 | New Description | 83
Ellab TrackView Pro Wireless RF (Radio Frequency) Transmitter
Power source: 2 x AA Batteries * See approved countries below | [9 empty] | 61
TrackView Pro RF Transmitter, with mounting bracket - 868MHz* | 33047341 | 2984 | 35% | 402 | 347 | 497 | 388 | 543 | New Description | 61
TrackView Pro RF Transmitter, with mounting bracket - 915MHz* | 33047342 | 2984 | 35% | 402 | 347 | 497 | 388 | 543 | New Description | 61
TrackView Pro RF Transmitter, with mounting bracket - 920MHz* | 33047343 | 2984 | 35% | 402 | 347 | 497 | 388 | 543 | New Description | 61
TrackView Pro RF Transmitter, with mounting bracket - 915-928MHz* | 33047344 | 2984 | 35% | 402 | 347 | 497 | 388 | 543 | New Description | 65
Ellab TrackView Pro RF-DC (Radio Frequency) Transmitter
Works with V1.4.2 and newer Power source: 12-24V DC with 2 x AA battery backup. AC/DC power plug included * See approved countries below
TrackView Pro RF-DC Transmitter, with mounting bracket - 868MHz* | 33047371 | 3939.7575 | 35% | 530 | 458 | 657 | 512 | 716 | New Item & description | 64
TrackView Pro RF-DC Transmitter, with mounting bracket - 915MHz* | 33047372 | 3939.7575 | 35% | 530 | 458 | 657 | 512 | 716 | New Item & description | 64
TrackView Pro RF-DC Transmitter, with mounting bracket - 920MHz* | 33057373 | 3939.7575 | 35% | 530 | 458 | 657 | 512 | 716 | New Item & description | 64
TrackView Pro RF-DC Transmitter, with mounting bracket - 915-928MHz* | 33057374 | 3939.7575 | 35% | 530 | 458 | 657 | 512 | 716 | New Item & description | 68
Ellab TrackView Pro PoE (Power-over-Ethernet) Transmitter
Power source: 12-24V PoE with 2 x AA battery backup
TrackView Pro PoE Transmitter, with mounting bracket | 33043841 | 4057 | 35% | 546 | 472 | 676 | 527 | 738 | New Description | 53
Ellab TrackView Pro Smart Probes and Accessories
Ellab standard traceable calibration is included.
Temperature - Air
TVP PT1000 Smart USB Sensor: Short Temp sensor for ambient applications, -20C to +60C | 33068700 | 1171 | 35% | 158 | 136 | 195 | 152 | 213 | New Description | 85
Temperature - 2mm cable (Thin Wire)
TVP PT1000 Smart USB Sensor: -200C to +200C, 3m x 2mm wire, tip 70mm x 3mm, WP | 33068803 | 1366 | 35% | 184 | 159 | 228 | 177 | 248 | New description & New part number | 78
TVP PT1000 Smart USB Sensor: -200C to +200C, 5m x 2mm wire, tip 70mm x 3mm, WP | 33068805 | 1459 | 35% | 196 | 170 | 243 | 189 | 265 | New description & New part number | 78
TVP PT1000 Smart USB Sensor: -200C to +200C, 10m x 2mm wire, tip 70mm x 3mm, WP | 33068810 | 1699 | 35% | 229 | 198 | 283 | 221 | 309 | New Item | 79
Temperature - 4mm cable (Standard Wire)
TVP PT1000 Smart USB Sensor: -200C to +250C, 3m x 4mm wire, tip 70mm x 4mm, WP | 33068703 | 1210 | 35% | 163 | 141 | 202 | 157 | 220 | New Description | 79
TVP PT1000 Smart USB Sensor: -200C to +250C, 5m x 4mm wire, tip 70mm x 4mm, WP | 33068705 | 1299 | 35% | 175 | 151 | 217 | 169 | 236 | New Description | 78
TVP PT1000 Smart USB Sensor: -200C to +250C, 30m x 4mm wire, tip 70mm x 4mm, WP | 33068730 | 2412 | 35% | 325 | 280 | 402 | 313 | 439 | New Item & description | 79
TVP PT1000 Smart USB Sensor: -200C to +250C, 50m x 4mm wire, tip 70mm x 4mm, WP | 33068750 | 3302 | 35% | 444 | 384 | 550 | 429 | 600 | New Item & description | 79
Relative Humidity (RH) - Ellab
TVP T/RH Smart USB Sensor: Short T/RH sensor for ambient applications, 0 to 60C, 0 to 90% RH | 33068400 | 1370 | 35% | 184 | 159 | 228 | 178 | 249 | New Description | 92
Relative Humidity (RH) - Rotronic HC2-S
Remember the TVP Rotronic Smart USB connector, and extension cables if required. Rotornic Probe is calibrated and paired with specific TVP Rotronic Smart USB Connector
TVP Rotronic Smart USB Connector: For Rotronic HC2 sensor | 33067474 | 976 | 35% | 131 | 113 | 163 | 127 | 177 | New Description | 57
Rotronic HygroClip2 T/RH Probe. Ellab calibration certificate included. | 33281500 | 2973 | 22% | 400 | 346 | 496 | 386 | 541 | New Description | 71
Rotronic Hygroclip2 Extension Cable: 2M Cable (Extends between Ellab USB and Rotronic Probe) | 33285702 | 1180 | 22% | 159 | 137 | 197 | 153 | 215 | New Description | 92
Rotronic Hygroclip2 Extension Cable: 5M Cable (Extends between Ellab USB and Rotronic Probe) | 33285805 | 1415 | 22% | 190 | 165 | 236 | 184 | 257 | New Description | 92
Carbon Dioxide (CO2) - Vaisala GMP251
Works with V1.4.2 and newer Includes: Vaisala GMP251 CO2 sensor with 0-20% Range, 60C Max Temp Exposure. Ellab calibration included Will only work with PoE Transmitter in V1.4.2 with the appropriate firmware Will work with RF-DC Transmitter in V1.5 with the appropriate firmware CO2 sensor and Cable are paired together. If the cable or CO2 sensor needs to be replaced, a new factory calibration needs to be performed to create a new pairing.
TVP CO2 Kit: Ellab TVP Vaisala Smart USB Connector, 1.5m cable, Vaisala GMP251 sensor, 0-20% | 33066115 | 8708.4244 | 10% | 1172 | 1013 | 1451 | 1131 | 1583 | New Item | 92
TVP CO2 Kit: Ellab TVP Vaisala Smart USB Connector, 3m cable, Vaisala GMP251 sensor, 0-20% | 33066130 | 8805.9431 | 10% | 1185 | 1024 | 1468 | 1144 | 1601 | New Item | 90
Differential Pressure
TVP Differential Pressure Smart USB Sensor ±100PA, 2 x LEMO for 6mmOD/4mmID pneumatic tube | 33063750 | 2653 | 35% | 357 | 308 | 442 | 345 | 482 | New Description | 90
TVP Differential Pressure Smart USB Sensor ±1250PA, 2 x LEMO for 6mmOD/4mmID pneumatic tube | 33063712 | 3550 | 35% | 478 | 413 | 592 | 461 | 645 | New Description | 91
Analog: Current or Voltage
TVP 4-20mA Smart USB Sensor: Current Input | 33062420 | 1326 | 35% | 178 | 154 | 221 | 172 | 241 | New Description | 42
TVP 0-10V Smart USB Sensor: Voltage Input | 33062410 | 1872 | 35% | 252 | 218 | 312 | 243 | 340 | New Description | 41
Digital: Input or Output
TVP Digital Input Smart USB Sensor: (Signal from PLC, etc.) | 33063400 | 1170 | 35% | 157 | 136 | 195 | 152 | 213 | New Description | 59
TVP Digital Output Smart USB Sensor: (Relay for Light & Sound beacon, etc.) | 33063600 | 1287 | 35% | 173 | 150 | 215 | 167 | 234 | New Description | 76
Door
TVP Light Door Smart USB Sensor: 3-meter cable length | 33063303 | 741 | 35% | 100 | 86 | 124 | 96 | 135 | New Description | 53
TVP Heavy Door Smart USB Sensor: 3-meter cable length | 33063313 | 1100 | 35% | 148 | 128 | 183 | 143 | 200 | New Description | 53
Airflow
New with V1.4.2. Select appropriate airflow, and whether or not is requires external power supply *Requires 0-10V Smart USB Sensor for use For use with all transmitters
TVP E&E Airflow sensor: 0-5m/s, with external AC/DC power supply | 33064905 | 4063 | 22% | 547 | 472 | 677 | 528 | 739 | New Item | 64
TVP E&E Airflow sensor: 0-10m/s, with external AC/DC power supply | 33064910 | 4063 | 22% | 547 | 472 | 677 | 528 | 739 | New Item | 65
TVP E&E Airflow sensor: 0-20m/s, with external AC/DC power supply | 33064920 | 4063 | 22% | 547 | 472 | 677 | 528 | 739 | New Item | 65
New with V1.4.2. Select appropriate airflow, and whether or not is requires external power supply *Requires 0-10V Smart USB Sensor for use For use with either PoE, RF-DC transmitters
TVP E&E Airflow sensor: 0-5m/s, for use with either PoE or RF-DC transmitters providing power | 33064805 | 3985 | 22% | 536 | 463 | 664 | 518 | 725 | New Item | 93
TVP E&E Airflow sensor: 0-10m/s, for use with either PoE or RF-DC transmitters providing power | 33064810 | 3985 | 22% | 536 | 463 | 664 | 518 | 725 | New Item | 94
TVP E&E Airflow sensor: 0-20m/s, for use with either PoE or RF-DC transmitters providing power | 33064820 | 3985 | 22% | 536 | 463 | 664 | 518 | 725 | New Item | 95
Accessories
TVP Transmitter Replacement Mounting Bracket | 33080002 | 179 | 35% | 24 | 21 | 30 | 23 | 33 | New Item | 44
TVP Transmitter Replacement Mounting Bracket, with Magnets | 33080001 | 429 | 35% | 58 | 50 | 72 | 56 | 78 | New Description | 58
Access Point / Receiver alarm relay cable. Digital Output to 3rd party Digital Input | 33484672 | 895 | 35% | 120 | 104 | 149 | 116 | 163 | New Price & Description | 84
LEMO DP tube connector for use with Ellab's DP Sensor. Requires 6mm OD and 4mm ID tubing | 33185071 | 259 | 35% | 35 | 30 | 43 | 34 | 47 | New Price & Description | 88
NIMH 7 AAA cell replacement battery pack. TVP Access Point, IceSpy Receiver, SMS Unit | 33184204 | 239 | 35% | 32 | 28 | 40 | 31 | 43 | New Description | 85
TVP/IceSpy Differential Pressure Wall Plate | 33287106 | 927 | 22% | 125 | 108 | 155 | 120 | 169 | New Description | 43
Light Beacons
4m cable to Access Point / Receiver 12/24 Volt Mounting Bracket Included
TVP / IceSpy Alarm beacon kit. Red. External power supply included. | 33402724 | 2120 | 22% | 285 | 247 | 353 | 275 | 385 | New Description | 68
TVP / IceSpy Alarm beacon kit w/sounder. Red. External power supply included. | 33402730 | 2663 | 22% | 358 | 310 | 444 | 346 | 484 | New Description | 78
Firmware Dongle
Works with V1.4.3 Dongle future updating. Option 1) Dongle can be updated via transmitter connected to PC with future versions of firmware. Option 2) Dongle can be purchased for each version with updated firmware.
TVP Smart Firmware Dongle | 33091001 | 1289 | 35% | 173 | 150 | 215 | 167 | 234 | New Item | 26
Internal User Only: Not for resale to End Users
Ellab TrackView Pro - Demo kit
Transportation case with Laptop, 1 x Access Point, 1 x RF Transmitter, 1 x Temperature Sensor (33068803), 1 x Ellab Temp/RH sensor (33068400) *See countries below *For Ellab direct and distributors only | [8 empty] | Change in what is included in demo kit
TrackView Pro Demo Kit - 868MHz* | 33098541 | 12915 | 0% | 1738 | 1502 | 2153 | 1677 | 2348 | Change in price and discount | 32
TrackView Pro Demo Kit, Without laptop - 868MHz* | 33098545 | 8395 | 0% | 1130 | 976 | 1399 | 1090 | 1526 | Change in price and discount | 48
TrackView Pro Demo Kit - 915MHz* | 33098542 | 12915 | 0% | 1738 | 1502 | 2153 | 1677 | 2348 | Change in price and discount | 32
TrackView Pro Demo Kit - 920MHz* | 33098543 | 12915 | 0% | 1738 | 1502 | 2153 | 1677 | 2348 | Change in price and discount | 32
TrackView Pro Demo Kit - 915-928MHz* | 33098544 | 12915 | 0% | 1738 | 1502 | 2153 | 1677 | 2348 | Change in price and discount | 36
Ellab TrackView Pro - Range Tester Kit
Kit contains one Range Test Access Point and one Range Test transmitter, to be used ONLY for range testing purpose. *See countries below *For Ellab direct and distributors only
TrackView Pro Range tester Kit - 868MHz* | 33047401 | 5500 | 0% | 740 | 640 | 917 | 714 | 1000 | New price, new discount level | 40
TrackView Pro Range tester Kit - 915MHz* | 33047402 | 5500 | 0% | 740 | 640 | 917 | 714 | 1000 | New price, new discount level | 41
TrackView Pro Range tester Kit - 920MHz* | 33047403 | 5500 | 0% | 740 | 640 | 917 | 714 | 1000 | New price, new discount level | 41
TrackView Pro Range tester Kit - 915-928MHz* | 33047404 | 5500 | 0% | 740 | 640 | 917 | 714 | 1000 | New price, new discount level | 45
*868MHZ - All EU countries (incl Rep of IRE), UK, Switzerland and United Arab Emirates
*915MHz - USA, Canada
*920MHz - Malaysia, Singapore (Sales to Japan pending radio frequency approval)
*915 - 928MHz - Australia

## TVP HW Lease
Lease Payback | 25
Convert to Annual | 12
Lease Factor: Mulitply the purchase price by this to create annual Lease price | 0.48
Ellab Monitoring Solutions
Parts List: TrackView Pro and EMSuite
Monitoring Pricing Ver. 11 - December 2024
HW Lease - Each region to purchase their own hardware for lease
Minimum - 3 year initial agreement
|  |  |  | DKK/€ | DKK/£ | DKK/$ | DKK/CHF | DKK/Japan US
|  |  |  | 7.43 | 8.6 | 6 | 7.7 | 5.5
Description | Ellab Ordering Code | RRP DKK Per Year | Discount | RRP € | RRP £ | RRP US$ | RRP CHF | Japan US$ | Notes | Characters
Ellab TrackView Access Point
Required to communicate with RF transmitters. Please choose matching AP and Transmitter radio frequency for the customer's country. Power source: Option 1 (PoE), Option 2 (AC/DC Power Plug). Includes battery backup. Communication to Software: PoE or Standard Ethernet *See approved countries below
Lease: TrackView Pro RF Ethernet Network Access Point, with mounting bracket - 868MHz* | 33002741L | 4213 | 35% | 567 | 490 | 702 | 547 | 766 | New Item | 86
Lease: TrackView Pro RF Ethernet Network Access Point, with mounting bracket - 915MHz* | 33002742L | 4213 | 35% | 567 | 490 | 702 | 547 | 766 | New Item | 86
Lease: TrackView Pro RF Ethernet Network Access Point, with mounting bracket - 920MHz* | 33002743L | 4213 | 35% | 567 | 490 | 702 | 547 | 766 | New Item | 86
Lease: TrackView Pro RF Ethernet Network Access Point, with mounting bracket - 915-928MHz* | 33002744L | 4213 | 35% | 567 | 490 | 702 | 547 | 766 | New Item | 90
Ellab TrackView Pro Wireless RF (Radio Frequency) Transmitter
Power source: 2 x AA Batteries * See approved countries below | [9 empty] | 61
Lease: TrackView Pro RF Transmitter, with mounting bracket - 868MHz* | 33047341L | 1432 | 35% | 193 | 167 | 239 | 186 | 260 | New Item | 68
Lease: TrackView Pro RF Transmitter, with mounting bracket - 915MHz* | 33047342L | 1432 | 35% | 193 | 167 | 239 | 186 | 260 | New Item | 68
Lease: TrackView Pro RF Transmitter, with mounting bracket - 920MHz* | 33047343L | 1432 | 35% | 193 | 167 | 239 | 186 | 260 | New Item | 68
Lease: TrackView Pro RF Transmitter, with mounting bracket - 915-928MHz* | 33047344L | 1432 | 35% | 193 | 167 | 239 | 186 | 260 | New Item | 72
Ellab TrackView Pro RF-DC (Radio Frequency-Direct Current) Transmitter
Works with V1.4.2 and newer Power source: 12-24V DC with 2 x AA battery backup. AC/DC power plug included * See approved countries below
Lease: TrackView Pro RF-DC Transmitter, with mounting bracket - 868MHz* | 33047371L | 1891 | 35% | 255 | 220 | 315 | 246 | 344 | New Item | 71
Lease: TrackView Pro RF-DC Transmitter, with mounting bracket - 915MHz* | 33047372L | 1891 | 35% | 255 | 220 | 315 | 246 | 344 | New Item | 71
Lease: TrackView Pro RF-DC Transmitter, with mounting bracket - 920MHz* | 33057373L | 1891 | 35% | 255 | 220 | 315 | 246 | 344 | New Item | 71
Lease: TrackView Pro RF-DC Transmitter, with mounting bracket - 915-928MHz* | 33057374L | 1891 | 35% | 255 | 220 | 315 | 246 | 344 | New Item | 75
Ellab TrackView Pro PoE (Power-over-Ethernet) Transmitter
Power source: 12-24V PoE with 2 x AA battery backup
Lease: TrackView Pro PoE Transmitter, with mounting bracket | 33043841L | 1947 | 35% | 262 | 226 | 325 | 253 | 354 | New Item | 60
Ellab TrackView Pro Smart Probes and Accessories
Ellab standard traceable calibration is included.
Temperature - Air
Lease: TVP PT1000 Smart USB Sensor: Short temp sensor for ambient applications, -20C to +60C | 33068700L | 562 | 35% | 76 | 65 | 94 | 73 | 102 | New Item | 92
Temperature - 2mm cable (Thin Wire)
Lease: TVP PT1000 Smart USB Sensor: -200C to +200C, 3m x 2mm wire, tip 70mm x 3mm, WP | 33068803L | 656 | 35% | 88 | 76 | 109 | 85 | 119 | New Item | 85
Lease: TVP PT1000 Smart USB Sensor: -200C to +200C, 5m x 2mm wire, tip 70mm x 3mm, WP | 33068805L | 700 | 35% | 94 | 81 | 117 | 91 | 127 | New Item | 85
Lease: TVP PT1000 Smart USB Sensor: -200C to +200C, 10m x 2mm wire, tip 70mm x 3mm, WP | 33068810L | 816 | 35% | 110 | 95 | 136 | 106 | 148 | New Item | 86
Temperature - 4mm cable (Standard Wire)
Lease: TVP PT1000 Smart USB Sensor: -200C to +250C, 3m x 4mm wire, tip 70mm x 4mm, WP | 33068703L | 581 | 35% | 78 | 68 | 97 | 75 | 106 | New Item | 86
Lease: TVP PT1000 Smart USB Sensor: -200C to +250C, 5m x 4mm wire, tip 70mm x 4mm, WP | 33068705L | 624 | 35% | 84 | 73 | 104 | 81 | 113 | New Item | 86
Lease: TVP PT1000 Smart USB Sensor: -200C to +250C, 30m x 4mm wire, tip 70mm x 4mm, WP | 33068730L | 1158 | 35% | 156 | 135 | 193 | 150 | 211 | New Item | 86
Lease: TVP PT1000 Smart USB Sensor: -200C to +250C, 50m x 4mm wire, tip 70mm x 4mm, WP | 33068750L | 1585 | 35% | 213 | 184 | 264 | 206 | 288 | New Item | 86
Relative Humidity (RH) - Ellab
Lease: TVP T/RH Smart USB Sensor: Short T/RH sensor for ambient apps, 0 to 60C, 0 to 90% RH | 33068400L | 658 | 35% | 89 | 77 | 110 | 85 | 120 | New Item | 91
Relative Humidity (RH) - Rotronic HC2-S
Remember the TVP Rotronic Smart USB connector, and extension cables if required. Rotornic Probe is calibrated and paired with specific TVP Rotronic Smart USB Connector
Lease: TVP Rotronic Smart USB Connector: For Rotronic HC2 sensor | 33067474L | 468 | 35% | 63 | 54 | 78 | 61 | 85 | New Item | 64
Lease: Rotronic HygroClip2 T/RH Probe. Ellab calibration certificate included. | 33281500L | 1427 | 22% | 192 | 166 | 238 | 185 | 259 | New Item | 78
Lease: Rotronic Hygroclip2 Extension Cable: 2M Cable | 33285702L | 566 | 22% | 76 | 66 | 94 | 74 | 103 | New Item | 53
Lease: Rotronic Hygroclip2 Extension Cable: 5M Cable | 33285805L | 679 | 22% | 91 | 79 | 113 | 88 | 123 | New Item | 53
Carbon Dioxide (CO2) - Vaisala GMP251
Works with V1.4.2 and newer Includes: Vaisala GMP251 CO2 sensor with 0-20% Range, 60C Max Temp Exposure. Ellab calibration included Will only work with PoE Transmitter in V1.4.2 with the appropriate firmware Will work with RF-DC Transmitter in V1.5 with the appropriate firmware CO2 sensor and Cable are paired together. If the cable or CO2 sensor needs to be replaced, a new factory calibration needs to be performed to create a new pairing.
Lease: TVP CO2 Kit: Ellab TVP Vaisala Smart USB Connector, 1.5m cable, Vaisala GMP251, 0-20% | 33066115L | 4180 | 10% | 563 | 486 | 697 | 543 | 760 | New Item | 92
Lease: TVP CO2 Kit: Ellab TVP Vaisala Smart USB Connector, 3m cable, Vaisala GMP251, 0-20% | 33066130L | 4227 | 10% | 569 | 492 | 705 | 549 | 769 | New Item | 90
Differential Pressure
Lease: TVP DP Smart USB Sensor ±100PA, 2 x LEMO for 6mmOD/4mmID pneumatic tube | 33063750L | 1273 | 35% | 171 | 148 | 212 | 165 | 231 | New Item | 78
Lease: TVP DP Smart USB Sensor ±1250PA, 2 x LEMO for 6mmOD/4mmID pneumatic tube | 33063712L | 1704 | 35% | 229 | 198 | 284 | 221 | 310 | New Item | 79
Analog: Current or Voltage
Lease: TVP 4-20mA Smart USB Sensor: Current Input | 33062420L | 636 | 35% | 86 | 74 | 106 | 83 | 116 | New Item | 49
Lease: TVP 0-10V Smart USB Sensor: Voltage Input | 33062410L | 899 | 35% | 121 | 105 | 150 | 117 | 163 | New Item | 48
Digital: Input or Output
Lease: TVP Digital Input Smart USB Sensor: (Signal from PLC, etc.) | 33063400L | 562 | 35% | 76 | 65 | 94 | 73 | 102 | New Item | 66
Lease: TVP Digital Output Smart USB Sensor: (Relay for Light & Sound beacon, etc.) | 33063600L | 618 | 35% | 83 | 72 | 103 | 80 | 112 | New Item | 83
Door
Lease: TVP Light Door Smart USB Sensor: 3-meter cable length | 33063303L | 356 | 35% | 48 | 41 | 59 | 46 | 65 | New Item | 60
Lease: TVP Heavy Door Smart USB Sensor: 3-meter cable length | 33063313L | 528 | 35% | 71 | 61 | 88 | 69 | 96 | New Item | 60
Airflow
New with V1.4.2. Select appropriate airflow, and whether or not is requires external power supply *Requires 0-10V Smart USB Sensor for use For use with all transmitters
Lease: Airflow sensor: 0-5m/s, w/external AC/DC power supply | 33064905L | 1950 | 22% | 262 | 227 | 325 | 253 | 355 | New Item | 60
Lease: Airflow sensor: 0-10m/s, w/external AC/DC power supply | 33064910L | 1950 | 22% | 262 | 227 | 325 | 253 | 355 | New Item | 61
Lease: Airflow sensor: 0-20m/s, w/external AC/DC power supply | 33064920L | 1950 | 22% | 262 | 227 | 325 | 253 | 355 | New Item | 61
New with V1.4.2. Select appropriate airflow, and whether or not is requires external power supply *Requires 0-10V Smart USB Sensor for use For use with either PoE, RF-DC transmitters
Lease: Airflow sensor: 0-5m/s, for use with either PoE or RF-DC transmitters providing power | 33064805L | 1913 | 22% | 257 | 222 | 319 | 248 | 348 | New Item | 92
Lease: Airflow sensor: 0-10m/s, for use with either PoE or RF-DC transmitters providing power | 33064810L | 1913 | 22% | 257 | 222 | 319 | 248 | 348 | New Item | 93
Lease: Airflow sensor: 0-20m/s, for use with either PoE or RF-DC transmitters providing power | 33064820L | 1913 | 22% | 257 | 222 | 319 | 248 | 348 | New Item | 94
Accessories: See HW Purchase
Light Beacons
4m cable to Access Point / Receiver 12/24 Volt Mounting Bracket Included
Lease: TVP / IceSpy Alarm beacon kit. Red. External power supply included. | 33402724L | 1018 | 22% | 137 | 118 | 170 | 132 | 185 | New Item | 75
Lease: TVP / IceSpy Alarm beacon kit w/sounder. Red. External power supply included. | 33402730L | 1278 | 22% | 172 | 149 | 213 | 166 | 232 | New Item | 85
Firmware Dongle: See HW Purchase
*868MHZ - All EU countries (incl Rep of IRE), UK, Switzerland and United Arab Emirates
*915MHz - USA, Canada
*920MHz - Malaysia, Singapore (Sales to Japan pending radio frequency approval)
*915 - 928MHz - Australia

## Calibration
Ellab Monitoring Solutions
Parts List: EMSuite
Monitoring Pricing Ver. 11 - December 2024
Calibrations - *Only for re-calibration
TrackView Pro Annual Calibrations
|  |  |  | DKK/€ | DKK/£ | Dkk/$ | DKK/CHF | DKK/Japan US
|  |  |  | 7.43 | 8.6 | 6 | 7.7 | 5.5
Description | Ellab Ordering Code | RRP DKK | Discount | RRP € | RRP £ | RRP US $ | RRP CHF | Japan US$ | Notes | Characters
Traceable Calibrations
To be used when sending equipment in for annual calibrations, or for extra points on newly purchased equipment.
Temperature
TVP Traceable Calibration: Integrated PT1000 Temperature probe -20°C to +60°C, 5pt | 33078000 | 617 | 35% | 83.0417 | 71.7442 | 102.8333 | 80.1299 | 112.1818 | New Description | 82
TVP Traceable Calibration: PT1000 -200°C to +250°C, Standard Wire 4mm, 5pt | 33078001 | 617 | 35% | 83.0417 | 71.7442 | 102.8333 | 80.1299 | 112.1818 | New Description | 74
TVP Traceable Calibration: PT1000 -200°C to +200°C, Thin Wire 2mm, 5pt | 33078002 | 617 | 35% | 83.0417 | 71.7442 | 102.8333 | 80.1299 | 112.1818 | New Description | 70
Temperature: Extra Points
TVP Traceable Calibration: Temperature Extra Point (-196C) | 33078003 | 403 | 35% | 54.2396 | 46.8605 | 67.1667 | 52.3377 | 73.2727 | New Description | 58
TVP Traceable Calibration: Temperature Extra Point (-90C to 150C) | 33078015 | 193 | 35% | 25.9758 | 22.4419 | 32.1667 | 25.0649 | 35.0909 | New Description
TVP Traceable Calibration: Temperature Extra Point (+200C) | 33078014 | 193 | 35% | 25.9758 | 22.4419 | 32.1667 | 25.0649 | 35.0909 | New Item | 58
TVP Traceable Calibration: Temperature Extra Point (+250C) | 33078012 | 193 | 35% | 25.9758 | 22.4419 | 32.1667 | 25.0649 | 35.0909 | New Item | 58
Temperature & Relative Humidity
TVP Traceable Calibration: Integrated Temperature & Humidity probe, 5pt temp, 5pt RH @ ambient | 33078004 | 1174 | 35% | 158.0081 | 136.5116 | 195.6667 | 152.4675 | 213.4545 | New Description | 94
TVP Traceable Calibration: Ellab Rotronic USB connector w/ Rotronic HC2, 5pt temp, 5pt RH @ ambient | 33078005 | 1174 | 35% | 158.0081 | 136.5116 | 195.6667 | 152.4675 | 213.4545 | New Description | 99
Temperature & Relative Humidity: Extra Points
TVP Traceable Calibration: Humidity Extra Point (Between 10% & 90% @ ambient) | 33078013 | 203 | 35% | 27.3217 | 23.6047 | 33.8333 | 26.3636 | 36.9091 | New Item | 78
Differential Pressure
TVP Traceable Calibration: Differential Pressure ±100PA, 5pt | 33078006 | 780 | 35% | 104.9798 | 90.6977 | 130 | 101.2987 | 141.8182 | New Description | 60
TVP Traceable Calibration: Differential Pressure ±1250PA, 9pt | 33078007 | 780 | 35% | 104.9798 | 90.6977 | 130 | 101.2987 | 141.8182 | New Description | 61
Analog: Current or Voltage
TVP Traceable Calibration: Analog Input 4-20mA, 5pt | 33078008 | 594 | 35% | 79.9462 | 69.0698 | 99 | 77.1429 | 108 | New Description | 51
TVP Traceable Calibration: Analog Input 0-10V, 5pt | 33078009 | 594 | 35% | 79.9462 | 69.0698 | 99 | 77.1429 | 108 | New Description | 50
Carbon Dioxide: CO2
TVP Traceable Calibration: Ellab Vaisala USB connector Paired with Vaisala 0~20% sensor, 4pt | 33078010 | 1731 | 35% | 232.9744 | 201.2791 | 288.5 | 224.8052 | 314.7273 | New Description | 92
TrackView Pro Accredited Calibrations
ISO 17025 Accredited Calibration
To be used when sending equipment in for annual calibrations
What do you get with Accredited Calibrations: ►ISO 17025 is globally recognized ►Provides customer with measurement of uncertainty ►Calibration conducted by using ISO 17025 accredited process and qualified personnel
Temperature
TVP ISO 17025 Calibration: Integrated PT1000 Temperature probe -20°C to +60°C, 5pt | 33078100 | 1174 | 35% | 158.0081 | 136.5116 | 195.6667 | 152.4675 | 213.4545 | New Description | 82
TVP ISO 17025 Calibration: PT1000 -200°C to +250°C, Standard Wire 4mm, 5pt | 33078101 | 1174 | 35% | 158.0081 | 136.5116 | 195.6667 | 152.4675 | 213.4545 | New Description | 74
TVP ISO 17025 Calibration: PT1000 -200°C to +200°C, Thin Wire 2mm, 5pt | 33078102 | 1174 | 35% | 158.0081 | 136.5116 | 195.6667 | 152.4675 | 213.4545 | New Description | 70
Temperature: Extra Points
TVP ISO 17025 Calibration: Temperature Extra Point (-196C) | 33078104 | 557 | 35% | 74.9664 | 64.7674 | 92.8333 | 72.3377 | 101.2727 | New Description | 58
TVP ISO 17025 Calibration: Temperature Extra Point (Between -90 & +150C) | 33078103 | 267 | 35% | 35.9354 | 31.0465 | 44.5 | 34.6753 | 48.5455 | New Description | 72
TVP ISO 17025 Calibration: Temperature Extra Point (+200C) | 33078108 | 267 | 35% | 35.9354 | 31.0465 | 44.5 | 34.6753 | 48.5455 | New Item | 58
TVP ISO 17025 Calibration: Temperature Extra Point (+250C) | 33078109 | 267 | 35% | 35.9354 | 31.0465 | 44.5 | 34.6753 | 48.5455 | New Item | 58
Temperature & Relative Humidity
TVP ISO 17025 Calibration: Integrated Temperature & Humidity probe, 5pt temp, 5pt RH @ ambient | 33078105 | 1984 | 35% | 267.0256 | 230.6977 | 330.6667 | 257.6623 | 360.7273 | New Description | 94
TVP ISO 17025 Calibration: Ellab Rotronic USB connector w/ Rotronic HC2, 5pt temp, 5pt RH @ ambient | 33078107 | 1984 | 35% | 267.0256 | 230.6977 | 330.6667 | 257.6623 | 360.7273 | New Description | 99
Temperature & Relative Humidity: Extra Points
TVP ISO 17025 Calibration: Humidity Extra Point (Between 10% & 90% @ ambient) | 33078106 | 282 | 35% | 37.9542 | 32.7907 | 47 | 36.6234 | 51.2727 | New Description | 78
Differential Pressure - Not Available
Analog: Current or Voltage - Not Available
Carbon Dioxide: CO2 - Not Available
Upgrade for newly purchased probes to ISO 17025 Accredited Calibration
To be used when selling new sensors. New sensors come with standard Traceable Calibration. If your customer would like ISO 17025, use these codes when ordering new sensors to get the standard calibration upgraded to ISO 17025 calibration.
What do you get with Accredited Calibrations: ►ISO 17025 is globally recognized ►Provides customer with measurement of uncertainty ►Calibration conducted by using ISO 17025 accredited process and qualified personnel
Temperature
TVP ISO 17025 Cal Upgrade: Integrated PT1000 Temperature Probe -20C to +60C, 5pt | 33078200 | 557.25 | 35% | 75 | 64.7965 | 92.875 | 72.3701 | 101.3182 | New Description | 80
TVP ISO 17025 Cal Upgrade: PT1000 -200°C to +250°C, Standard Wire 4mm, 5pt | 33078201 | 557 | 35% | 75 | 64.7674 | 92.8333 | 72.3377 | 101.2727 | New Description | 74
TVP ISO 17025 Cal Upgrade: PT1000 -200°C to +200°C, Thin Wire 2mm, 5pt | 33078202 | 557 | 35% | 75 | 64.7674 | 92.8333 | 72.3377 | 101.2727 | New Description | 70
Temperature: Extra Point
TVP ISO 17025 Cal Upgrade: Temprature Extra Point (-196C) | 33078203 | 557 | 35% | 75 | 64.7674 | 92.8333 | 72.3377 | 101.2727 | New Description | 57
TVP ISO 17025 Cal Upgrade: Temprature Extra Point (Between -90 & +150C) | 33078205 | 267 | 35% | 35.9354 | 31.0465 | 44.5 | 34.6753 | 48.5455 | New item | 71
TVP ISO 17025 Cal Upgrade: Temprature Extra Point (+200C) | 33078206 | 267 | 35% | 75 | 31.0465 | 44.5 | 34.6753 | 48.5455 | New Item | 57
TVP ISO 17025 Cal Upgrade: Temprature Extra Point (+250C) | 33078207 | 267 | 35% | 75 | 31.0465 | 44.5 | 34.6753 | 48.5455 | New Item | 57
Temperature & Relative Humidity
TVP ISO 17025 Cal Upgrade: Integrated Temperature & Humidity probe, 5pt temp, 5pt RH @ ambient | 33078204 | 810 | 35% | 109 | 94.186 | 135 | 105.1948 | 147.2727 | New Description | 94
TVP ISO 17025 Cal Upgrade: Ellab Rotronic USB connector w/ Rotronic HC2, 5pt temp, 5pt RH @ ambient | 33078208 | 810 | 35% | 109.0175 | 94.186 | 135 | 105.1948 | 147.2727 | New item | 99
Temperature & Relative Humidity: Extra Point
TVP ISO 17025 Cal Upgrade: Humidity Extra Point (Between 10% & 90% @ ambient) | 33078209 | 282 | 35% | 37.9542 | 32.7907 | 47 | 36.6234 | 51.2727 | New item | 78
Differential Pressure - Not Available
Analog: Current or Voltage - Not Available
Carbon Dioxide: CO2 - Not Available

## Calibration points
Ellab TrackView Pro Smart Probes - Calibration points
Description | Text | adjust. Point | (check point) | adjust. Point | (check point) | adjust. Point (check point) | (check point) | adjust. Point | (check point) | adjust. Point
Temperature
Traceable Calibration for Integrated PT1000 Temperature probe -20°C to +60°C, with 3 Adjustment Points | (only one 2nd order polynomial) | -20 |  |  | (0) | 20 | (40) |  |  | 60
Traceable Calibration for PT1000 -200°C to +250°C, X meter, tip 100mm x ø4mm, Waterproof, with 5 Adjustment Points |  | -85 |  | -40 |  | 0 |  | 75 |  | 150
Traceable Calibration for PT1000 -200°C to +200°C, X meter, tip 70mm x ø3mm, Thin Wire 2mm, Waterproof, with 5 Adjustment Points |  | -85 |  | -40 |  | 0 |  | 75 |  | 150
Temperature and Relative Humidity
Traceable Calibration for Ellab Integrated Temperature & Humidity probe | Temperature (only one 2nd order polynomial) | 5 |  |  | (15) | 23 | (30) |  |  | 40
| Humidity Calibrated at Ambient +/-2.5 °C | 10% |  |  | (30%) | 50% | (70%) |  |  | 90%
Traceable Calibration for RH connector with Rotronic HygroClip2 Sensor and Smart Connector are paired | Temperature | 5 |  |  | (15) | 23 | (30) |  |  | 40
| Humidity Calibrated at Ambient +/-2.5 °C |  | (10%) |  | (30%) | (50%) | (70%) |  | (90%)
Differential Pressure | [10 empty] | D
Traceable Calibration for Differential Pressure ±100PA, with 3 Adjustment Points | (only one 2nd order polynomial) | -100PA | -50PA |  |  | 0 | (50PA) |  |  | 100PA
Traceable Calibration for Differential Pressure ±1250PA, with 3 Adjustment Points | (two 2nd order polynomial) | -1250PA | (-950PA) | -625PA | (-300PA) | 0 | (300PA) | 625PA | (950PA) | 1250PA
Analog Input: Current or Voltage
Traceable Calibration for Analog Input 4-20mA | one 1st order polynomial (linear) | 4 | 8 |  | 12 |  |  |  | 16 | 20
Traceable Calibration for Analog Input 0-10V | one 1st order polynomial (linear) | 0 | 2.5 |  | 5 |  |  |  | 7.5 | 10
Digital
Digital Input | Non Calibrated Sensor
Digital Output | Non Calibrated Sensor
Door Sensor
Light digitial door sensor | Non Calibrated Sensor
Heavy digital door sensor | Non Calibrated Sensor
Carbon Dioxide - CO2
Traceable Calibration for CO2 connector for Vaisala 0 - 20% - Sensor and Smart Connector are paired |  | 0 |  | 5 |  |  |  | 10 |  | 20